- ERCOT Operations Bulletin 314

ERCOT has revised the Shift Supervisor section of the Operating Procedure Manual.

Changes include updating section 2.2.8, revising existing steps

### Initiate Request for Public Appeals. ###### Step #; ###### Procedural Steps. NOTE:; See Appendix 1 for Emergency Communication/Notification Guidelines.. NOTE:; See Phone Book at Shift Supervisor’s Desk.. NOTE:; A request for Public Appeals is a last-resort measure governed by the Emergency Electric Curtailment Plan (EECP) described in the ERCOT Operating Guides. The EECP procedures are coordinated between the system operators on the Transmission and Security desk and Frequency Control Desk.. CAUTION; Public appeal for voluntary energy conservation prior to entering STEP 2 of EECP requires approval from the ERCOT Chief Executive Officer or designee.. 1; WHEN the EECP procedures are invoked , at your discretion or in no case later than STEP 2 of the EECP, INITIATE a request for a public appeal for voluntary load reduction by calling the person on the Emergency Communication/Notification Guideline.. 2; As part of Restoration STEP 2 of the EECP procedure you may RECALL the request for a public appeal for voluntary load reduction by calling the person on the Emergency Communication/Notification Guideline..

A copy of the procedure is available at http://www.ercot.com/mktrules/guides/procedures/index.html.