ERCOT Operations Bulletin 315

ERCOT has revised the Shift Supervisor section of the Operating Procedure Manual.

Changes include updating section 2.2.12, adding second NOTE, revise steps 2 and 3

| 2.2.12 PUC Daily Report |
| --- |
| Step # | Procedural Steps |
| NOTE: | The PUC reports are to be generated twice per day as outlined below at 0100 and 0500. |
| 1 | Complete the PUCT_Daily Report template at the appropriate times. E-mail the report to the distribution list entitled “PUC-Available Generating Resources.” Do not add editorial comments to this report that reveal market sensitive data. General comments that convey overall system conditions are allowed. |
| 2 | Use the following guidelines to determine the potential for EECP when completing the PUCT_Daily Report: Low Sufficient capacity to cover peak demand Medium An Advisory is in effect for Adjusted Responsive Reserves Loss or delay of generation availability during peak demand that may diminish Adjusted Responsive Reserves Higher than expected load that may impact reserves Projected Fuel curtailments Load forecast indicates a new record peak High An Alert is in effect for Adjusted Responsive Reserves Critical EECP Step is in effect |
| NOTE: | Indicate the expected impact (i.e. Low, Med, High, or Critical) for each of the EECP Steps on the PUCT Daily Report. |
| 3 | Revise the last report sent and resend it if: The probability of an EECP event increases. Give reason(s) for escalation, OR Conditions change that required new notices to be issued, such as, an OCN, Advisory, Alert, or Emergency Notice OR A shortage of generation capacity develops, OR Local reliability concerns arise which include actual overloads and/or loss of load, especially the Laredo area, OR The Gibbons Creek Bryan East/Green Prairie 138 kV double circuit transmission line trips, or if there are unplanned outages of the generation units in the area. |
| NOTE: | Reporting unexpected generation outages is no longer required. However, be able to provide a list of unplanned generation outages for the day if requested by the PUC. |

A copy of the procedure is available at

http://www.ercot.com/mktrules/guides/procedures/index.html.