ERCOT Operations Bulletin 321

ERCOT has revised the Shift Supervisor Desk section of the Operating Procedure Manual.

This change updates sections 2.2.8 and 3.2

A copy of the procedure is available at

http://www.ercot.com/mktrules/guides/procedures/index.html

| ### 2.2.8 Initiate Request for Public Appeals |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| CAUTION | Prior to entering EECP, ERCOT may issue an appeal through the public news media for voluntary load reduction if authorized by the ERCOT Chief Executive Officer or its designee based on an evaluation of existing and expected system conditions. |
| NOTE: | See Appendix 2 “Media Appeals for Voluntary Load Curtailments”. |
| NOTE: | See Phone Book at Shift Supervisor’s Desk. |
| NOTE: | The EECP procedures are coordinated between the system operators on the Transmission and Security desk and Frequency Control Desk. |
| 1 | WHEN the EECP procedures are invoked , at your discretion or in no case later than STEP 2 of the EECP, INITIATE a request for a public appeal for voluntary load reduction. See Appendix 2 “Media Appeals for Voluntary Load Curtailments” for notification guidelines. |
| 2 | As part of Restoration STEP 2 of the EECP procedure you may RECALL the request for a public appeal for voluntary load reduction. When the decision is made to RECALL the voluntary load reduction, See Appendix 2 “Media Appeals for Voluntary Load Curtailments” for notification guidelines. |

| ### NERC and DOE Disturbance Reporting |  |
| --- | --- |

| ### Determine Resolution |  |
| --- | --- |

| ### QSE’s Notifying ERCOT of Inability to Comply |  |
| --- | --- |

| ### Inform All Involved Parties of Resolution |  |
| --- | --- |

## Monitoring Real-Time Performance of QSEs

Monitoring of real-time performance of QSEs for system security purposes is a primary duty of the Frequency Control Desk

| ### Log Information on QSEs that are Under Performing |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | RECORD in the shift log an entry for QSE Non Performance. |
| 2 | INCLUDE in this entry the following information: - QSE name - Date and Time period of non performance - Type(s) of Ancillary Service |

| ### Procedure for Notice of Possible Protocols Violation |  |
| --- | --- |

## Preparing Required Operating Reports

| ### Prepare Daily |  |
| --- | --- |

| ### Preparing Operating Reports for Alerts and Notices |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |

| ### Forward All Operations Reports to Operations Analysis & Chief System Operator |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | SEND copies of all Operations reports to the Chief System Operator and Operations Analysis staff. |

## Monitoring POS/MOS/Interface Systems Availability

The ERCOT Information Technology (IT) department has a Help Desk office that operates 24 hours a day every day.

If POS, MOS, and interface systems with

| ### Emergency Generator |  |
| --- | --- |

## Administrative & Supervisory Duties

| ### Receive Exiting Shift Supervisor Oral Shift Report |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | PAY close attention to exiting Shift Supervisor |

| ### Review Outages List |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | NAVIGATE to the daily operation plan in the MOS. Reference Displays: “DAILY OPERATIONS PLAN” display (MOS) |
| 2 | ENTER |

| ### Review Planned Reserves |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | NAVIGATE to the generation reserves display in the POS. Reference Displays: “GENERATION RESERVE STATUS” display (POS) |
| 2 | LOCATE the “System Summary” radio button |

| ### Review Load Forecast for the Shift |  |
| --- | --- |

| ### Review |  |
| --- | --- |

| ### Review Operating Manual for New Operating Bulletins, Memos, and Instructions |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |

## Transferring Shifts

| ### Verify Completed Daily Shift Reports |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | VERIFY completed shift log. |
| 2 | VERIFY completed reports and log entries resulting from “Shift Supervisor Procedures |

## Formulating Recommendations for Operating Procedure Changes

| ### Communicate |  |
| --- | --- |

## Conducting Supervisory Responsibilities

| ### Monitor Performance of On-Shift System Operators, Advise and Coach or Assist System Operators as Required |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | SELECT at least one week per month to make observations and take notes on the performance of |

| ### Provide On-The-Job Performance Evaluation Input During Scheduled Performance Reviews |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | COLLECT observations and notes on each |

| ### Identify Training Needs of System Operators |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |

## Representing System Operators in Staff Meetings and Special Projects

On a periodic basis, the Shift Supervisor will participate in ERCOT Operations staff meetings and serve as Subject Matter Expert on ERCOT Special projects as designated by the Chief System Operator.

These duties may require the Shift Supervisor to physically leave the

.

# APPENDICES/ATTACHMENTS

## Appendix 1:  Emergency Communication/Notification Guidelines

- 3.2   Appendix 2:  Media Appeals for Voluntary Load Curtailments

Section 5.6.7 of the ERCOT Protocols specifies steps in the Emergency Electric Curtailment Plan (EECP).  Step 2 of the EECP states:

Unless such a media appeal is already in effect, ERCOT staff shall issue an appeal through the public news media for voluntary energy conservation.

In addition to measures listed above, Section 5.6.6.1 of the ERCOT Protocols specifies:

ERCOT, at management’s discretion, may at any time issue an appeal through the public news media for voluntary energy conservation.

Decision to Make Media Appeals

- Medial appeal is required in EECP Step 2.

- Prior to entering EECP, the decision to make medial appeals must be authorized by the ERCOT Chief Executive Officer or designee. The Manager, System Operations or the Director, Grid Operations will promptly notify the Operations Shift Supervisor of the decision on initiating media appeals for voluntary load curtailment.

Procedure for Media Appeals

Operations Shift Supervisor

The Operations Shift Supervisor will notify the Manager, System Operations or the Director, Grid Operations that an appeal for voluntary load curtailment is necessary.

Administrative

The Manager, System Operations or the Director, Grid Operations will contact the Manager of Communications or designee and notify them that a media appeal for voluntary load curtailment is necessary.

Termination of Media Appeal

When System Operations has determined that the voluntary load curtailment is no longer necessary:

Operations Shift Supervisor

The Operations Shift Supervisor will notify the Manager, System Operations or the Director of Grid Operations the appeal for voluntary load curtailment is no longer necessary.

Administrative

The Manager, System Operations or the Director, Grid Operations will contact the Manager of Communications or designee and notify them that the media appeal for voluntary Load curtailment is no longer necessary.