ERCOT Operations Bulletin 329

ERCOT has revised the Transmission & Security Desk sections of the Operating Procedure Manual.

This change update:

Extending Temporary Change CN#391

A copy of the procedure is available at

http://www.ercot.com/mktrules/guides/procedures/index.html

VDI – JOU

CN# 461

## Effective Date:  May 1, 2007

## Expiration Date:  October 31, 2007

Renewing CN#391

# Desk:  Transmission & Security Desk

Procedure

When the output of a jointly owned unit needs to be at a specific MW level, issue a paper VDI instead of using the OOME tool.

Discussion

A SIR is being written to correct this problem.