ERCOT Operations Bulletin 335

ERCOT has revised the Shift Supervisor Desk.  Changes include adding Section 2.8.6 Quarterly testing of Satellite Phone System

Adding Section 3.6 Attachment C: Quarterly Satellite Testing Form

A copy of the procedure is at:

http://www.ercot.com/mktrules/guides/procedures/index.html.

| 2.8.6 Quarterly Testing of Satellite Phone System |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | Each year on the first Monday of January, April, July, and October test the Satellite Phone System with Transmission Operators to determine whether or not ERCOT has communication capability via the Satellite Phone System. |
| 2 | Use the ERCOT Satellite Phone User Guide located in the Operating Procedure Manual for instructions on how to place a satellite phone call. |
| 3 | Refer to Attachment A of the ERCOT Satellite Phone User Guide for a list of Transmission Operators and Satellite phone numbers. |
| 4 | When testing is completed, fill out Quarterly Satellite Testing form located in Attachment C: Quarterly Satellite Testing. |
| 5 | Email a copy to Manager, System Operations; All Shift Supervisors, and file a hard copy in the control room. |
| 6 | Log the test date and results in the Shift Supervisors Operations Log. |
| NOTE: | Notify the Help Desk of any Satellite phone problems during the test. |
| NOTE: | Not all Transmission Operators have satellite phones, so the call will be coming in on their regular landlines. You may verify whether or not they are communicating via satellite phone or regular landlines while testing. |

3.6	Attachment C:  Quarterly Satellite Testing Form

| Transmission Service Provider | Call Connected YES/NO |  | Satellite Phone YES/NO |  |  | Problems Identified |
| --- | --- | --- | --- | --- | --- | --- |
| AEN |  |  |  |  |  |  |
| AEP |  |  |  |  |  |  |
| BEPC |  |  |  |  |  |  |
| BYRAN |  |  |  |  |  |  |
| CENTERPOINT |  |  |  |  |  |  |
| CITY of DENTON |  |  |  |  |  |  |
| COLLEGE STATION |  |  |  |  |  |  |
| CPSB |  |  |  |  |  |  |
| GARLAND |  |  |  |  |  |  |
| LCRA |  |  |  |  |  |  |
| MAGIC VALLEY |  |  |  |  |  |  |
| ONCOR |  |  |  |  |  |  |
| PUB |  |  |  |  |  |  |
| RAYBURN COUNTRY |  |  |  |  |  |  |
| STEC |  |  |  |  |  |  |
| TNMP |  |  |  |  |  |  |