ERCOT Power Operations Bulletin #345

ERCOT has revised the Frequency Control Desk Procedure Manual.

The specific changes are shown below.

A copy of the procedure is available at:

http://www.ercot.com/mktrules/guides/procedures/index.html

| ### 2.5.3 Monitor and Control Time Error Correction Schedule |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| PURPOSE: | This procedure will establish the standard for implementing time error correction in ERCOT. Load pick-up and drop will influence the time error; consider this when deciding to initiate a time error correction. |
| General Requirements | Start a time correction whenever the time error is greater than +/- 3 seconds. However, at no time should the accumulated time error be allowed to exceed +/- 5 seconds. Time error corrections shall start and end on the hour or half-hour. Time error corrections for fast time should not be initiated between 0400 and 1100. Time error correction notifications shall be labeled alphabetically on a monthly basis (A-Z). The first time error correction for any given month will be “A”. If a second time error correction is needed during the same month it will be “B”. The third will be “C” etc. In the succeeding month, the first time error correction will revert back to “A”. The second will be “B”. etc. |
| 1 | DISPLAY the Generation Area Status display. Reference Display: Generation Area Status – Time Error – “Correction Schedule” |
| 2 | Select Time Error – Correction Schedule. |
| 3 | ENTER the appropriate Time error ID letter. |
| 4 | ENTER the frequency offset using – 0.02 for fast time correction (59.98 Hz) or +0.02 for slow time correction (60.02 Hz). |
| 5 | ENTER a Start Time later than the current time AND ENTER a Stop Time later than the scheduled start time. |
| NOTE: | The following notice is to allow QSEs time to incorporate the changed frequency in their Ancillary Service Performance Monitor. |
| 6 | ERCOT will notify all QSEs using a hotline call if available at least 60 minutes before starting time correction, of start time and frequency. Print Hotline Log, ensure printout has date and time, and forward to Shift Supervisor. |
| 7 | VERIFY the Manual radio button to be selected. Time correction will start at selected date and time. Reference Display: Generation Area Status – “Time Error” – Correction Schedule |
| 8 | Monitor the time error on the Generation Area Status Display until it reaches an acceptable value (+/- 0.5 seconds). Time error correction may be terminated after five hours, or after any hour it has reached an acceptable value of +/- 0.5 seconds. |
| 9 | If a manual time error correction is prematurely terminated, wait at least one hour between sending the termination and re-initiation notices. Also: Frequency must be at or above 60 Hz for at least 10 minutes before reinstating a “slow” time error correction. Frequency must be at or below 60 Hz for at least 10 minutes before reinstating a “fast” time error correction. |
| NOTE: | The following notice is to allow QSEs time to incorporate the changed frequency in their Ancillary Service Performance Monitor. |
| 10 | ERCOT will notify all QSEs using a hotline call if available at least 60 minutes before ending time correction. Print Hotline Log, ensure printout has date and time, and forward to Shift Supervisor. |
| 11 | LOG in the Operator’s Log start time, stop time, time error, and frequency offset. |

| ### 2.6.10 Diminishing Reserve Notice Cancellation Guidelines |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | System conditions may dictate operating beyond the scope of this procedure. The System Operator has the authority to issue and/or keep a notification in effect as he/she deems necessary. Adjusted Responsive Reserve (ARR) Reference Display: EMS, Generation Area Status, ADJ_RESPONS. |
|  | IF Non-Spin has been deployed, work in conjunction with the Operating Period Desk Operator to recall Non-spin Reserve Services as system conditions permit. |
|  | As system conditions permit, recall/release incrementally, any additional generation that was brought online to recover ARR. |
|  | Cancel an Alert or Advisory when: - All related OOM and Non-spin deployments have ended, AND - ARR is >= 3200 MWs, AND - Load is trending down, OR - The MAI shows the “Max Cap Room” increasing over the next two hours |
|  | IF an alert has been canceled, - NOTIFY QSEs that all RMRs may return to normal operation, AND - Performance testing may be resumed. Typical scripts: Cancel Advisory - “This is [operator’s first and last name]. ERCOT is canceling the Advisory for notice of Adjusted Responsive Reserve. Adjusted Responsive Reserves are now <amount>MWs.” Cancel Alert - “This is [operator’s first and last name]. ERCOT is canceling the Alert for Adjusted Responsive Reserves. Adjusted Responsive Reserves are now <amount>MWs. At this time, all RMRs should continue normal operation. Performance testing may resume.” |