ERCOT Operations Bulletin 352

ERCOT has extended Temporary Change CN#461

A copy of the Temporary Change is available at

http://www.ercot.com/services/comm/mkt_notices/pobs/index.html

VDI – JOU

CN# 496

## Effective Date:  November 1, 2007

## Expiration Date:  April 30, 2008

Renewing CN#461

# Desk:  Transmission & Security Desk

Procedure

When the output of a jointly owned unit need to be at a specific MW level, issue a paper VDI instead of using the OOME tool.

Discussion

A SIR is being written to correct this problem.