ERCOT Power Operations Bulletin # 353

ERCOT has revised the Operating Period Desk Procedure Manual

The changes include:

Section 2.1.2 – Added the term MOI to step 8.

Section 2.4.2 – Added step 3 to incorporate PRR650 which requires notification when NSRS is deployed/recalled.

Section 2.4.3 – same addition as 2.4.2

A copy of the procedure is at:

http://www.ercot.com/mktrules/guides/procedures/index.html

| ### 2.1.2 Respond To Hour-Ahead Study Results |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | REVIEW HA details of the study. |
| 2 | VERIFY URS margin is acceptable (not indicated in red) and proceed. IF in red:  Identify the QSE where deficiency exists, and wait until the Real Time Balancing Market has solved. - If deficiency still exists, operators may contact the QSE to request an updated Resource plan. |
| NOTE: | Discrepancies of less than 10 MWs may be due to rounding errors and may be ignored at the discretion of the operator. |
| 3 | VERIFY DRS margin is acceptable (not indicated in red) and proceed. IF in red:  Identify the QSE where deficiency exists, and wait until the Real Time Balancing Market has solved. - If deficiency still exists, operators may contact the QSE to request an updated Resource plan. |
| 4 | VERIFY RRS margin is acceptable (not indicated in red) proceed. IF in red:  Identify the QSE where deficiency exists, and wait until the Real Time Balancing Market has solved - If deficiency still exists, operators may contact the QSE to request an updated Resource Plan. |
| NOTE: | Discrepancies of less than 10 MWs may be due to rounding errors and may be ignored at the discretion of the operator. If a Market Participant is using LAAR for Responsive Reserve, this calculation may be in error and no action is required. |
| NOTE: | If the QSE agrees to correct the deficiency, log and take no further immediate action. If they are unable to correct the deficiency (i.e. Insufficient resources are available to provide agreed upon services), then notify the Shift Supervisor of possible protocol violation(s). |
| NOTE: | Once the maximum procurement level has been reached, increasing the offset will not lead to additional balancing deployment. The maximum procurement level is reached once “Net Gen” and “Net Load” no longer matches in the Real-Time Balancing Market window. Should Balancing Energy become depleted, over compensating with excessive offsets can potentially cause unexpected deployments when more balancing becomes available. |
| 5 | Verify UBES Remaining. - If >20% of available UBES remains undeployed, no further action is necessary. - If <20% of available UBES remains undeployed, verify that UBES is available in real-time before entering the offset. - If >5% of available UBES remains undeployed, no further action is necessary. - If <5% remaining proceed. |
| 6 | DETERMINE if NSRS deployment is necessary for balancing support or shortage of physical responsive reserve. IF NSRS is scheduled and available, deploy for a minimum of one hour and continue as needed. If NSRS is necessary and is scheduled and available, communicate with the Shift Supervisor to ensure an active constraint won’t be negatively impacted, then deploy NSRS as scheduled and needed to resolve UBES deficiency. |
| 7 | IF NSRS is unscheduled or unavailable, communicate with the Frequency Control Desk and/or Shift Supervisor. |
| 8 | ERCOT will provide notice via the MOI ENS to all QSEs at the beginning of the interval when NSRS is deployed and at the end of the interval when NSRS deployment ends. Typical Script: “NSRS deployed ________________” OR “NSRS deployment ended ____________”. |
| NOTE: | Discrepancies of less than 10 MWs may be due to rounding errors and may be ignored at the discretion of the operator. If a Market Participant is using LAARs for Non-Spin, this calculation may be in error and no action is required. |
| 9 | Allow NSRS to expire when the percent UBES used plus NSRS deployed >/= 10%. |
| NOTE: | Deployment of NSRS is based on the Hour Ahead Study along with a reasonable load forecast. Recall is based on real-time UBES availability or other reliability conditions. |

| ### 2.4.2 Deploying Non-Spin Reserve Service for Diminishing Responsive Reserve |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| PURPOSE: | The need to deploy Non-Spin Reserve Service for diminishing Responsive Reserves. |
| 1 | IF Adjusted Responsive Reserve is less than 2500 MW, check with the Frequency Control Desk to see if an Alert was issued. |
| 2 | Utilize Non-Spin Reserve Services that can be deployed to increase Responsive reserves. |
| 3 | ERCOT will provide notice via the MOI ENS to all QSEs at the beginning of the interval when NSRS is deployed and at the end of the interval when NSRS deployment ends. Typical Script: “NSRS deployed ________________” OR “NSRS deployment ended ____________”. |

| ### 2.4.3 Non-Spin Reserve Service for Diminishing Responsive Reserve Termination |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| PURPOSE: | To provide a guideline to terminate Non-Spin Reserve Service for diminishing Responsive Reserves. |
| 1 | IF Adjusted Responsive Reserve is greater than 2500 MW, check with the Frequency Control Desk and see if the Alert has been cancelled. |
| 2 | As system conditions permit, stop the Non-Spin Reserve deployments. |
| 3 | ERCOT will provide notice via the MOI ENS to all QSEs at the beginning of the interval when NSRS is deployed and at the end of the interval when NSRS deployment ends. Typical Script: “NSRS deployed ________________” OR “NSRS deployment ended ____________”. |