# ERCOT Operations Bulletin 369

VDI – JOU

CN# 525

## Effective Date:  April 30, 2008

## Expiration Date:  April 30, 2009

Renewing CN#495

# Desk:  Frequency Control Desk

Procedure

When the output of a jointly owned unit directed to a specific MW level, ERCOT shall issue a paper VDI instead of using the OOME tool.