## Power Operations Bulletin # 393

ERCOT has revised the Frequency Control Desk Procedure Manual.

The specific changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

1. Introduction

## 1.1	Purpose

This Procedure provides the System Operator assigned to the Frequency Control Desk with detailed procedures required for performing duties assigned to that position.  The ERCOT Frequency Control Desk is responsible for ensuring that sufficient generation is available and on-line to cover load and meet reserve requirements, such that the frequency within the ERCOT System remains within the tolerances specified by the Protocols and NERC, for the current Operating Day.

The ERCOT Frequency Control Desk monitors load and generation for the current operating hour.

## 1.2	Scope

The instructions contained in this procedure are limited to those required for the ERCOT Frequency Control Desk.  Instructions for other ERCOT control room positions are contained in separate procedures, one for each position.  This procedure does not imply that the duties contained herein are the only duties to be performed by this position.  The individual assigned to this position will be required to follow any other instructions and to perform any other duties as required or requested by appropriate ERCOT supervision.

## 1.3	Roles/Responsibilities

ERCOT Shift Supervisor

The ERCOT Shift Supervisor is responsible for supervision of the ERCOT Frequency Control Desk position and may at times be responsible for performing the procedures contained in this manual.

ERCOT System Operator, Frequency Control Desk

The ERCOT System Operator – Frequency Control Desk position

represents the following NERC functional entities collectively for the ERCOT ISO at any time:

  - Reliability Coordinator.

  - Balancing Authority

  - Transmission Operator

This representation includes the responsibility and clear decision making authority during normal and emergency conditions to direct and implement real-time actions to ensure the stable and reliable operation of the ERCOT electric system.  These actions shall include shedding of firm load without obtaining approval from higher-level personnel.

## 1.4	General Duties

1.	a.  Respond to Market Participant Questions and Issues.

b. Receive questions and issues from Market Participants as they are    submitted.

c. Respond to Market Participant questions and issues when appropriate information is available.

Refer any questions or issues for which information is not available to the Shift Supervisor and request that appropriate information is provided.

2.	Generally, all notices that require posting in this procedure are referred to the Transmission and Security Desk Operator for posting.  If the Transmission and Security Desk Operator is unable to timely post a notice, then any other Operator or Shift Supervisor may post it.