## Power Operations Bulletin # 400

ERCOT has revised the Shift Supervisor Desk Procedure Manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

### 1.3.2	ERCOT System Operator Responsibility and Authority

English shall be used as the language for all communications between and among operating personnel responsible for the real-time generation control and operation of the interconnected Bulk Electric System.

The System Operator (SO) shall, in accordance with NERC Reliability Standard PER-001, have the responsibility and authority to implement real-time actions to ensure the stable and reliable operation of the Bulk Electric System during both normal and emergency conditions.  These actions shall include shedding of firm load without obtaining approval from higher-level personnel.  The ERCOT System Operator represents the following NERC functional entities collectively for the ERCOT ISO at any time:

- Reliability Coordinator.

- Balancing Authority

- Transmission Operator

The SO on duty is, in accordance with the ERCOT Protocols, Operating Guides, and NERC Reliability Standards, the Balancing Authority, Transmission Operator, and Regional Reliability Coordinator shall request and receive information required to continually monitor the operating conditions and request that individual Market Participants (MPs) make changes, which will assure security and reliability of the ERCOT system.

The SO shall, on an ERCOT-wide basis, coordinate the ERCOT System Restoration (Black Start) Plan.  The SO shall implement the Black Start Plan and shall direct the reconnection efforts of the islands, established by restoration activities.  The SO shall coordinate the mutual assistance activities of the ERCOT participants during system restoration activities.

The SO shall review the ERCOT Daily Operations Plan (DOP) and calculate and post the Allocated Responsive Reserve and other Ancillary Services Obligations.  The SO shall ensure compliance with the ERCOT Protocols and Operating Guides on identified transfer limits.  The SO receives all specified notifications for the MPs with regard to energy transactions (Balanced Schedules), AGC control modes, routine adjustments, and equipment limitations or outages.

The SO processes all Balanced Schedules and Resource Plans. The SO performs security analyses on a Day Ahead and real-time basis and ensures all Forced Outages are entered into the Outage Scheduler. The SO shall obtain or arrange to provide Emergency Assistance over the DC Tie(s) on behalf of ERCOT.

The SO shall issue appropriate advisories and alerts, emergency notices, and coordinate the reduction or cancellation of clearances, redispatch of generation, and request, order, or take other action(s) that the SO determines is necessary to maintain safe and reliable operating conditions on the ERCOT system in accordance with ERCOT Protocols, Operating Guides, and NERC Reliability Standards.  The SO will implement and terminate ERCOT Time Corrections, and will determine the need for and implement the operation of a Qualified Scheduling Entity (QSE) on Constant Frequency Control for loss of ERCOT’s frequency control system.

As the Reliability Coordinator, ERCOT shall comply with its regional reliability plan that has been approved by the NERC Operating Committee.

The North DC-Tie processes, procedures, or plans that support or affect SPP shall be reviewed at least once every 3 years and updated if needed.  These would include any DC-Tie procedures, inadvertent procedures and emergency procedures.

### 1.3.3	ERCOT Hot line Conference Call Instructions (to trigger SSRG calls)

ERCOT will initiate a hot line conference call with Qualified Scheduling Entities (QSEs) and Transmission Operators (TOs) using the ERCOT conference bridge for the following reasons:

- The Manager, System Operations, or designee, will provide an SSRG conference call number, and the associated date and time of the SSRG conference call, to the Shift Supervisor.

- The Shift Supervisor is responsible for notifying all QSEs and TOs via a hotline call and requesting that they notify their SSRG designee of the scheduled SSRG conference call, and providing them the information needed to participate.

Threats and emergencies can be classified as, but are not limited to, the following four SSRG event-types:

1.   Internal to ERCOT:

a. Physical Security:

Verifiable attacks or sabotage, or threats of attacks or sabotage that could jeopardize the operation of physical equipment within the electrical boundaries of the ERCOT grid that have a direct affect on the reliability of the ERCOT grid.  This could be, but is not limited to, generation equipment, transmission equipment, and communication equipment.

b. Cyber Security:

Verifiable loss of control of the ERCOT EMS or MMS that is identified by EMMS Production Support as an actual or probable act of sabotage or the loss of control by any of the market participants EMS Systems that is reported to ERCOT as an act of sabotage.

2.   External to ERCOT:

a. Physical Security:

Verifiable attacks or sabotage, or threats of attacks or sabotage that could jeopardize the operation of physical equipment in any electrical sector outside of the boundaries of ERCOT.

b. Cyber Security:

Verifiable loss of control over the EMS System of any participant in the electrical sector outside of the boundaries of ERCOT that is identified as an actual or probable act of sabotage.

3.   Pandemic

4. Other unforeseen business continuity events (not to include grid instability)

When there is a change in the Threatcon Level or other emergency events occur and an SSRG conference call is required the Shift Supervisor will:

Notify the ERCOT Manager, System Operations or designee.

Notify the ERCOT Director of Security or designee.

See Phone Book on Shift Supervisors Desk for contact information.

The SSRG conference call may be used for System Security Response Group Notifications and as warranted by the Manager, System Operations.

- when there is a change in the Threatcon Level as identified on the Electric Sector Information Sharing and Analysis Center (ESISAC) website, www.esisac.com;

- to disseminate information and develop plans related to system emergencies and business continuity threats,

- to conduct a quarterly test with the minimum objective of reviewing and updating the contact list. (test to be conducted in February, May, August and November)

Instructions on how to utilize the ReadyConferencePlus system:

- The Manager, System Operations, or designee, will moderate the conference call by dialing 1-866-642-1665. The moderator pass code is [code]

- All other participants will dial 1-866-642-1665. Participants pass code is [code]

| ### 1.3.4 System Security Response Group (SSRG) Conference Call |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | Hot line call should allow time for all SSRG members to be notified and participate in SSRG conference call. |
| NOTE: | It is no longer necessary to have two separate conference calls (QSEs and TOs), our bridge capacity can now hold both groups. |
| 1 | Using the Hotline: - Notify QSEs of the SSRG conference call. - Provide the time and phone number for the SSRG conference call. - Request they notify their SSRG representative of the SSRG conference call. Typical Script: “This is [Shift Supervisor or System Operator’s name] at ERCOT. There will be an SSRG conference call at [time]. The topic will be [quarterly test call, physical security, cyber security, pandemic or other topic]. Please notify your SSRG representative. The conference call number is 1-866-642-1665. Participants pass code is [code]. Any questions, thank you.” |
| 2 | Using the Hotline: - Notify Transmission Operators of the conference call. - Provide the time and phone number for the conference call. - Request they notify their SSRG representative of the conference call. Typical Script: “This is [Shift Supervisor or System Operator’s name] at ERCOT. There will be an SSRG conference call at [time]. The topic will be [quarterly test call, physical security, cyber security, pandemic or other topic]. Please notify your SSRG representative. The conference call number is 1-866-642-1665. Participants pass code is [code]. Any questions, thank you.” |
| 3 | Send an e-mail to “1 SSRG” to make notification of the SSRG conference call. Typical Script for e-mail: An SSRG conference call has been schedule for today at [time]. The topic will be [quarterly test call, physical security, cyber security, pandemic or other topic]. The conference call number is 1-866-642-1665. Participant pass code is [insert code]. Participation is mandatory. Include signature on email. |
| 4 | If changing the Threat Level: After the SSRG conference call is complete: - Call QSEs and TOs using the Hotline and announce the new Threat Level or other pertinent information. EXAMPLE: “ERCOT is going to Threat Level Orange.” EXAMPLE issuing a modified Threat Level: “ERCOT is modifying Threat Level Orange due to pandemic threat.” |
| 5 | Log actions taken. |

# 2	Control Center Supervision Duties

## 2.1	Providing Technical & Operational Support

The Shift Supervisor is responsible for ensuring operations are in compliance with ERCOT Protocols, NERC Reliability Standards, Operating Guides, and Operating Procedures.  The Shift Supervisor must have a very good understanding of the ERCOT Protocols, Operating Guides, and NERC Reliability Standards.

The Shift Supervisor may consult with Operations Support, Operations Planning, Market Operations, or any resource he deems necessary to resolve and clarify market related issues.  He/She will assist the System Operators in resolving market issues.

The Shift Supervisor as the Reliability Coordinator has the authority to veto any planned outages to analysis tools, including final approval for planned maintenance such as database loads, site failovers, etc.

The Shift Supervisor also monitors and ensures that adequate coordination between the ERCOT Region, SPP and CFE is maintained.  To this effect the Shift Supervisor monitors the communications and coordination between the DC-Tie Desk and SPP and CFE.

The Shift Supervisor is responsible for running primary operations from the Backup Control Center once per month.  This is to ensure all desks are functional in the case of an emergency.

The Shift Supervisor has the authority to coordinate additional support to assist during emergencies, system and weather related disturbances, and high demand periods as deemed necessary.  Support may be required from Operations Support, Operations Planning, Market Operations, Outage Coordinators, and System Operators assigned to the Backup Control Center.  The Shift Supervisor also has the authority to assign temporary duties to this additional support staff.

Finally, other Shift Supervisor duties may require the on-shift Shift Supervisor to leave the Control Center from time to time.  On these occasions, the Shift Supervisor may delegate his duties to another system operator on a temporary basis.  The Shift Supervisor shall remain in contact and accessible to the control center via available communication means.

| ### 2.1.5 In Service Approval Procedure |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | - Energization Request – A verbal request from a Market Participant to energize equipment - ‘Approval to Energize Notification’ – A form for written documentation of an Energization Request - Operations Support Engineer (OSE) - Operations Planning Engineer (OPE) |
| 1 | If a Market Participant makes a request to energize new or relocated equipment, the Shift Supervisor will review the “Approved List” provided by OSE. |
| 2 | If the equipment is not on the “Approved List,” the Shift Supervisor will delay the request and notify the OPE. |
| 3 | If the equipment is on the “Approved List,” the Shift supervisor shall confirm that the equipment is in the model (SCADA one lines) |
| 4 | If the equipment is not in the model, the Shift Supervisor will delay the request and notify the OPE. |
| 5 | If the equipment is in the model, the Shift Supervisor will approve the request and notify the OPE as to when the equipment will be energized. |
| 6 | If it is discovered that new or relocated equipment is energized without ERCOT’s approval, AND the equipment is in the model, the Shift Supervisor will ask the Market Participant to submit an “Approval to Energize Notification” and then notify the OPE. |
| 7 | If it is discovered that new or relocated equipment is energized without ERCOT’s approval, AND the equipment does not exist in the model, the Shift Supervisor shall: - Request the Market Participant to submit a “Service Request” to the Network Modeling Group as soon as possible - Request the Market Participant to submit an “Approval to Energize Notification” - Notify the OPE |

| ### 2.1.6 Notification of a Protective Relay or Equipment Failure Report |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | NERC Reliability Standard PRC-001-1 R2.2 states “If a protective relay or equipment failure reduces system reliability, the Transmission Operator shall notify its Reliability Coordinator and affected Transmission Operators and Balancing Authorities. The Transmission Operator shall take corrective action as soon as possible.” |
| 1 | Notify the on-call engineer as soon as possible when notified that a protective relay or equipment failure reduces system reliability and there is no back-up protective relay available. |
| 2 | After notification from a TO or QSE, NOTIFY by e-mail: - OPS Support Engineering - OPS Planning - Shift Supervisors The subject line of the e-mail should read “Protective Relay or Equipment Failure.” Include in the e-mail: - Entity Name - Brief description - Contact information - Any significant information |
| 3 | The TO or QSE may e-mail a “Mis-Operation Relay form”, forward to the above identified e-mail address. |
| 4 | Log information available in the Log as time permits. |

| ### 2.1.12 Monitoring CSC & W-N Stability Limits |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | NERC Reliability Standard TOP-004-0 states to ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies. |
| 1 | Monitor CSCs and the W-N stability limit during the shift. If necessary: - Open PI Process Book - Select Transmission Limit & Flow Summary for the ERCOT Top Page tab. - Check each CSC flow during the desired date range - Select Calendar to change the date range (The display will graph the CSC limit and line flow for that date range) - Deselect first flow and check next flow - Continue until all flows have been selected and all data has been collected. |
| 2 | If any CSC exceeds the limit for more than 30 consecutive minutes: - Log it under log type “Exceeding Limits”. - Include the date and time of the violation - The system conditions that caused the violation. - Run a System Security Analysis (Real Time Snapshot) Study near the highest flow. - Save the study in the STNET directory. If the W-N stability limit or N-H VSAT limit is exceeded for more than 30 consecutive minutes, notify the Manager, System Operations immediately. |
| 3 | Notify by e-mail (including data from Step 2) - Shift Supervisors - Ops Support Engineering - Isabel Flores |

| ### 2.2.7 Initiate Request for Public Appeals |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| CAUTION | Prior to entering EECP, ERCOT, at management’s discretion may issue an appeal through the public news media for voluntary energy conservation. |
| NOTE: | See Appendix 2 “Media Appeals for Voluntary Energy Conservation”. |
| NOTE: | See Phone Book at Shift Supervisor’s Desk. |
| 1 | WHEN the EECP procedures are invoked, at management’s discretion or in no case later than STEP 3 of the EECP, INITIATE a request for a public appeal for voluntary energy conservation. See Appendix 2 “Media Appeals for Voluntary Energy Conservation” for notification guidelines. |
| 2 | As part of Restoration STEP 2 of the EECP procedure you may RECALL the request for a public appeal for voluntary energy conservation. When the decision is made to RECALL the voluntary energy conservaiton, See Appendix 2 “Media Appeals for Voluntary Energy Conservation” for notification guidelines. |

| ### 2.2.8 Texas RE Event Analysis |  |
| --- | --- |
|  | ###### Procedural Steps |
|  | WHEN a significant event (see NOTE: below) occurs, within one hour - complete the form located in Attachment B “Texas RE Event Analysis Form” - E-mail to distribution group entitled “TRE Event.” - The subject line of the e-mail should read “TRE Event.” |
| NOTE: | For purposes of this event analysis process, significant events include, but are not limited to, the following: - Emergency Electric Curtailment Plan (EECP) implementation - Emergency Notice issued - Deployment of LaaRs - Simultaneous loss of any combination of three generating units, transmission lines, and autotransformers (138 kV and above) - Special Protection System (SPS) activation - Remedial Action Plan (RAP) or Mitigation Plan (MP) implementation requiring load shedding - Under frequency relay operations (or frequency deviations greater than 0.3 Hz from scheduled frequency) - Sustained voltage deviations greater than 5% on 345 kV system - First contingency security violations for significant transmission elements - Failure of computer systems at ERCOT, QSE, or TO (failover to backup systems is not a reportable event) - Voltage collapse on portions of 138 kV or 345 kV system - Loss of an ERCOT, QSE, or TO control center - Black Start Plan initiation - Uncontrollable loss of 150 MW or more of firm load shed for more than 15 minutes from a single incident - ERCOT failure to meet NERC Performance Standards related to frequency control or transmission security |
| NOTE: | There are also DOE and several NERC reportable events that could trigger an investigation. To report such an event, see section 2.2.9. |

| ### 2.2.9 NERC and DOE Disturbance Reporting |  |
| --- | --- |
|  | ###### Procedural Steps |
|  | When Disturbance reporting is required: |
| NOTE: | NERC E-mail address: esisac@nerc.com, fax (609) 452-9550 DOE E-mail address: doehqeoc@oem.doe.gov, fax (202) 586-8485 DOE Operation Center voice phone: (202) 586-8100 |
| NOTE: | Disturbance Reporting requirements can be found in NERC Reliability Standard EOP-004-1. The DOE EIA-417 Schedule 1 report and NERC Preliminary report are to be filed within 1 hour after the start of the incident or disturbance. The Operations Support Engineering group will follow-up with the DOE EIA-417 Schedule 2 report and NERC Final report. |
| 1 | Forward the TSP(s) report or the Director of Security’s report to NERC, DOE, and the “NERC and DOE Disturbance Reporting” e-mail list. Ensure all three entities receive the report. (e.g. If TSP or Director, Cyber Security sends a report to only one entity; make sure the other two entities receive the report as well.) |
| 2 | ERCOT is required to issue a report to NERC and DOE even when the disturbance does not require a report from a TSP (e.g. The disturbance involves two or more TSP areas that meets the requirements for reporting.) or if a report is received from the Director, Cyber Security, then do the following: - Complete required NERC report per Attachment 1-EOP-004 and/or - Complete required DOE OE-417 Schedule 1 report - Forward reports to NERC, DOE, and the internal ERCOT “NERC and DOE Disturbance Reporting” e-mail list. - esisac@nerc.com - doehqeoc@oem.doe.gov - NERC and DOE Disturbance Reporting |
| 3 | In the body of the e-mail, type the following: "Contains Privileged Information and/or Critical Energy Infrastructure Information - Do Not Release." |
| NOTE: | NERC report forms can be downloaded at http://www.nerc.com/page.php?cid=5¦66 DOE OE-417 report forms can be downloaded at ftp://ftp.eia.doe.gov/pub/electricity/eiafor417.doc |
| NOTE: | A guideline on “Threat and Incident Reporting” can be found at http://www.esisac.com/ |

| ### 2.2.14 EECP/EEA (Energy Emergency Alert) Reporting |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | There are four levels of EEA’s, as ERCOT enters each level; postings must be made on the NERC Reliability Coordinator Information System (RCIS). EEA 0: All previous alerts have been terminated and the entity can supply all energy requirements. EEA 0 is comparable to the termination of EECP Step 1. EEA 1 – All available resources in use. The entity foresees or is experiencing conditions where all available resources are committed to meet firm load, AND is concerned about maintaining its required Operating Reserves. EEA 1 is comparable to EECP Step 1. EEA 2 - Load management procedures in effect. The entity can no longer provide expected energy requirements and foresees or has implemented procedures up to, but excluding, shedding firm load. EEA 2 is comparable to part of EECP Step 2 and Step 3. EEA 3 – Firm load interruption imminent or in progress. The entity foresees or has implemented firm load shed. EEA 3 is comparable to EECP Step 4. You may declare whatever alert level is necessary, and need not proceed through the alerts sequentially. Reference NERC Reliability Standard EOP-002-2 Capacity and Energy Emergencies for detailed information. http://www.nerc.com/files/EOP-002-2.pdf |
| 1 | If EECP step 1 is implemented, post following message to RCIS: “ERCOT is in EEA 1.” |
| 2 | If EECP step 2 or step 3 is implemented, post following message to RCIS: “ERCOT is in EEA 2.” |
| 3 | If EECP step 4 is implemented, post following message to RCIS: “ERCOT is in EEA 3.” |
| 4 | When recalling EECP/EEA, reverse the order and make the appropriate RCIS postings. When the emergency condition has been terminated, post EEA 0 (zero), as shown below:. “ERCOT is in EEA 0.” |
| NOTE: | Progression to EEA 3 requires filing a report with NERC. The report (Energy Emergency Alert 3 Report) can be obtained from the following link: http://www.nerc.com/fileUploads/File/Energy_Emergency_Alerts/Energy_Emergency_Alert_3_Report_Form.doc |
| NOTE: | Refer to Appendix 3: ERCOT EECP and NERC EEA Notification Requirements. |

| ### 2.4.1 Monitor QSEs Which Under Perform in Supplying Ancillary Services |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | Monitoring of real-time performance of QSEs for system security purposes is a primary duty of the Frequency Control Desk operator. The Shift Supervisor assists the Frequency Control Desk operator to perform this monitoring duty when a QSE(s) continually under perform during the same shift or Operating Period causing ERCOT’s overall performance to deviate from NERC Reliability Standards. |
| 1 | REVIEW the QSEs real time performance summary display periodically or when ERCOT ACE deviation is significant. Reference Displays: “ERCOT Responsive, Regulation, and SCE” display (EMS) |
| 2 | CONSULT with the Frequency Control Desk operator when abnormal real time performance by one or more QSEs is detected. |
| 3 | VERIFY if the Frequency Control Desk operator has established communication with the QSE(s) and the cause for the under performance is known. |
| 4 | VERIFY that the Transmission & Security Desk and Operation Period Desk operator is informed of the situation. |
| 5 | ALLOW the Transmission & Security and Frequency Control Desk operators to RESOLVE the problem and RESTORE ERCOT ACE performance to normal. |
| 6 | If a QSE(s) continues to under perform in real time, and ERCOT’s NERC performance requirements are not being met, ASSIGN a system operator to collect performance data on the QSE(s) affecting ERCOT’s NERC performance. |

| ### 2.5.2 Root Cause Analysis |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | ###### The following events will trigger an investigation: - Possible violation of DCS Criteria - Frequency deviation of +/- .05 from scheduled frequency for greater than 30 minutes - High frequency events greater than 60.175 Hz. - Incorrect procurement/deployment of NSRS - OC1 constraint operation that depletes the Balancing Market (for more then one interval). - Operating actions outside of the ERCOT Protocols, Guides, Operating Procedures or NERC Reliability Standards - Over constraining - A constraint that remains active with no corresponding congestion - Anytime an OC1 remains active for more than two intervals, it was below 90% of the limit and no action was taken - An OOME or VDI with no corresponding congestion, import, or voltage concerns The Manager, System Operations may direct the investigation of other events not listed above. |
| NOTE: | ###### The “rule of thumb” is to ask why until the most basic cause of the problem is revealed. |
| 1 | ###### When an event occurs, notify the Manager, System Operations via e-mail that an investigation has been initiated. Include the event, time, duration, and a summary of what occurred. |
| 2 | Preserve all data relevant to the event: - EMMS data - Operational logs - Applicable graphs and charts |
| 3 | Evaluate the following conditions: - Resources - Software performance - Man – Machine interface - Procedures - Management directives - Training - Computer (hardware) performance - External Distracters - Control Room conditions - Market conditions - System conditions - Human Performance - QSE input and communication - TO input and communication - ERCOT internal support and communication - Shift communication and team work |
| 4 | A preliminary report is due within three days. The report should include: - A summary - The chain of events and/or decisions that produced the outcome - The most basic root cause - Recommended steps to prevent future events from occurring. |
| 5 | Forward the report and related information to the Manager, System Operations; keep one for the later discussion. |
| 6 | The Manager, System Operations will review the report with the appropriate ERCOT staff and Shift Supervisor to identify the cause and recommend corrective action.. |

| ### 2.6.1 Report Critical EMMS Failures to ERCOT IT Help Desk |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | ACKNOWLEDGE computer system alarms, events, failures, or incidents that affect normal operations. |
| 2 | CONTACT the ERCOT Help Desk immediately from the Supervisor Help Desk button on the Shift Supervisor Turret Phone or extension 6804. If necessary, contact the on-call IT person first then contact the Help Desk. |
| 3 | DISCUSS alarms, events, failures, or incident with the Help Desk or IT staff. |
| 4 | DETERMINE criticality and impact of the system alarms, events, failures, or incident jointly with the Help Desk or IT staff. |
| 5 | IF the criticality and impact of the system alarms, events, failures, or incident is such that Grid Reliability or Market Operations will be affected before the problem can be resolved, Notify market participants of the problem and expected duration via HOTLINE and REQUEST additional assistance from other support staff. For a complete EMMS failure, see Transmission and Security Procedure Section 2.1.3, Analysis Tool Outages and/or Frequency Desk Procedure Section 2.6.12, Loss of Primary Control Center Functionality. |
| 6 | RECORD the following in the shift log: - Description of system alarms, events, failures, or incident - Actions taken and resolution - Time of system or function restoration |
| 7 | When a critical problem affecting market participants is resolved, NOTIFY all participants via HOTLINE of the problem resolution. |

| ### Loss of Primary Control Center Functionality |  |  |  |
| --- | --- | --- | --- |
| ###### Step # |  | ###### Procedural Steps |  |
| 1 |  | It will be the responsibility of the Shift Supervisor to determine the risk and ensure the safety of Control Center personnel. |  |
| 2 |  | Upon confirmation of imminent danger to Control Center personnel immediately evacuate the Control Center to a secure area, taking the Control Center cell phone and a copy of this procedure with you. |  |
| NOTE: |  | - After the Control Center has been evacuated the Shift Supervisor may: - Re-locate the entire shift to the Backup Control Center (BCC). - Send a partial shift or contact extra personnel to report to the BCC. - Remain in the secure area in anticipation of a quick return to the Primary Control Center (PCC). - The Shift Supervisor may choose another course of action that will best maintain grid security depending on the circumstances causing the evacuation. |  |
| 3 |  | - The Shift Supervisor is responsible for the following notifications in the event of a Control Center evacuation. Information and instructions conveyed will be based on the Shift Supervisor’s decision regarding relocation to the BCC. - Frequency Desk Operator at the BCC - ERCOT Security TCC1 – Ext. 3000 - ERCOT Security TCC2 – Ext. 6400 - ERCOT Security ACC – Ext. 7000 - Help Desk (to notify EMMS Support, Telecommunications) - Manager of System Operations - Engineering Support - NERC These phone numbers have been programmed into the control room cell phone. |  |
| NOTE: |  | - The Frequency Desk Operator at the BCC will be responsible for all notifications if there is a loss of the PCC and he/she has not been contacted by the Shift Supervisor. |  |
| NOTE: |  | Once additional staff members have arrived, including a Shift Supervisor at the BCC: - Refer to Frequency Desk Procedure: 2.6.13 Restoration of Primary Control Center Functionality |  |

## Appendix 2:  Media Appeals for Voluntary Energy Conservation

Section 5.6.7 of the ERCOT Protocols specifies steps in the Emergency Electric Curtailment Plan (EECP).  Step 3 of the EECP states:

Unless such a media appeal is already in effect, ERCOT shall issue an appeal through the public news media for voluntary energy conservation.

In addition to measures listed above, Section 5.6.6.1 of the ERCOT Protocols specifies:

ERCOT, at management’s discretion, may at any time issue an ERCOT-wide appeal through the public news media for voluntary energy conservation.

Decision to Make Media Appeals

- Medial appeal is required in EECP Step 3.

- Prior to entering EECP, the decision to make medial appeals must be authorized by the ERCOT Chief Executive Officer or designee. The Manager, System Operations or designee will promptly notify the Shift Supervisor of the decision on initiating media appeals for voluntary energy conservation.

Procedure for Media Appeals

Shift Supervisor

The Shift Supervisor will notify the Manager, System Operations or designee that an appeal for voluntary energy conservation is necessary.

Administrative

The Manager, System Operations or designee will contact the Manager of Communications or designee and notify them that a media appeal for voluntary energy conservation is necessary.

Termination of Media Appeal

When System Operations has determined that the voluntary energy conservation is no longer necessary:

Shift Supervisor

The Shift Supervisor will notify the Manager, System Operations or designee the appeal for voluntary energy conservation is no longer necessary.

Administrative

The Manager, System Operations or designee will contact the Manager of Communications or designee and notify them that the media appeal for voluntary energy conservation is no longer necessary.