## Power Operations Bulletin # 408

ERCOT has revised the Operating Period Desk Procedure Manual.

The specific changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

## 2.1	Manage Loads and Resources

## 2.1.1	Execute the Hour-Ahead Study

Procedure Purpose: To provide information on the depth of the Balancing Energy Service bid or offer stack for the Real-Time Market, so ERCOT can determine if additional Non-Spinning Reserve Service (NSRS) needs to be deployed or whether Out Of Merit order (OOM) or Reliability Must-Run (RMR) resources need to be requested to resolve problems.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| NOTE: | Determination is made as to whether NSRS resources need to be manually deployed if there are insufficient bids to resolve capacity insufficiency or congestion. |
| 1 | Before executing the Hour-Ahead Study, verify the Balancing Energy Market has cleared for the top of the hour’s interval. (For example, before executing the Hour-Ahead Study at 0737, ensure the 0800 interval has cleared). Reference Displays: ERCOT MOI Real-Time Balancing Window If the market for the interval has cleared, the top line will state “Approved” |
| EXECUTE CASE |  |
| 2 | EXECUTE a case. |
| NOTE: | If study fails to execute, FOLLOW steps 4 through 6. |
| 3 | If case is slow to complete, SELECT “MESSAGES” to verify process is running and REVIEW any relevant information or messages generated by the study process. |
| ABORT CASE |  |
| 4 | SELECT “STOP.” |
| 5 | MAKE any corrections needed. Select SFT as appropriate. Ensure the start and end times are correct. |
| 6 | CONTINUE the study by selecting “EXECUTE.” When the study indicates it has finished processing, “complete” will appear on the Studies display. |
| NOTE: | There is no point in attempting a study more than two times. If a second failure occurs, contact the Shift Supervisor. Use energy scheduled for generation scheduled for that interval when calculating the Offset Calculation Spreadsheet value. |
| ARCHIVE |  |
| 7 | CLICK on “ARCHIVE.” |

## 2.1.2	Respond To Hour-Ahead Study Results

Procedure Purpose:

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| 1 | REVIEW HA details of the study. |
| NOTE: | Discrepancies of less than 10 MWs (URS and/or DRS) may be due to rounding errors and may be ignored at the discretion of the operator. |
| 2 | VERIFY URS margin is acceptable (not indicated in red) and proceed. IF in red: - Select interval with largest deficiency, right click and select “show output for this interval”  Identify the QSE where deficiency exists, and wait until the Real Time Balancing Market has solved. - If deficiency still exists, operators may contact the QSE to request an updated - Resource plan. |
| 3 | VERIFY DRS margin is acceptable (not indicated in red) and proceed. IF in red: - Select interval with largest deficiency, right click and select “show output for this interval” - Identify the QSE where deficiency exists, and wait until the Real Time Balancing - Market has solved. - If deficiency still exists, operators may contact the QSE to request an updated - Resource plan. |
| NOTE: | Discrepancies of less than 10 MWs (RRS and/or NSRS) may be due to rounding errors and may be ignored at the discretion of the operator. If a Market Participant is using LAAR for Responsive Reserve or Non-Spin Reserve Service, this calculation may be in error and no action is required. |
| 4 | VERIFY RRS margin is acceptable (not indicated in red) proceed. IF in red: - Select interval with largest deficiency, right click and select “show output for this interval”  Identify the QSE where deficiency exists, and wait until the Real Time Balancing Market has solved - If deficiency still exists, operators may contact the QSE to request an updated - Resource Plan. |
| 5 | VERIFY NSRS margin is acceptable (not indicated in red) proceed. IF in red: - Select interval with largest deficiency, right click and select “show output for this interval”  Identify the QSE where deficiency exists, and wait until the Real Time Balancing Market has solved - If deficiency still exists, operators may contact the QSE to request an updated - Resource Plan. |
| NOTE: | If the QSE agrees to correct the deficiency, log and take no further immediate action. If they are unable to correct the deficiency (i.e. Insufficient resources are available to provide agreed upon services), then notify the Shift Supervisor of possible protocol violation(s). |
| NOTE: | Once the maximum procurement level has been reached, increasing the offset will not lead to additional balancing deployment. The maximum procurement level is reached once “Net Gen” and “Net Load” no longer matches in the Real-Time Balancing Market window. Should Balancing Energy become depleted, over compensating with excessive offsets can potentially cause unexpected deployments when more balancing becomes available. |
| NOTE: | Deployment of NSRS is based on the Excel MAI along with a reasonable load forecast. Recall is based on real-time UBES availability or other reliability conditions. |

| 6 | Using the Excel MAI, verify UBES Remaining. - If >20% of available UBES remains undeployed, no further action is necessary. - If <20% of available UBES remains undeployed, verify that UBES is available in real-time before entering the offset. - If >5% of available UBES remains undeployed, no further action is necessary. - If <5% remaining proceed. |
| --- | --- |
| 7 | DETERMINE if NSRS deployment is necessary for balancing support or shortage of physical responsive reserve. IF NSRS is scheduled and available, deploy for a minimum of one hour and continue as needed. If NSRS is necessary and is scheduled and available, communicate with the Shift Supervisor to ensure an active constraint won’t be negatively impacted, then deploy NSRS as scheduled and needed to resolve UBES deficiency. |
| 8 | When NSRS is deployed, ERCOT will provide notice via the ENS with the following information: Typical Posting: “NSRS was deployed in [all zones or specify zone] starting with IE [interval]” The termination time of the ENS message must be set to the end of the day, i.e. 23:59. |
| 9 | Allow NSRS to expire when the percent UBES remaining exceeds the amount of NSRS deployed by 10% or greater. |
| 10 | When NSRS is terminated, EROCT will provide notice via the ENS with the following information: Typical Posting: “At IE [interval], NSRS in [all zones or specify zone] ended. The termination time of the message must be set to the end of the day, i.e. 23:59. |

## 2.1.3	Three Part Communication

Procedure Purpose: To ensure that three part communication is used for all directives.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. | COM-002-2 |  |  |  |
|  | R2 |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| NERC: | Each Reliability Coordinator, Transmission Operator, and Balancing Authority shall issue directives in a clear, concise, and definitive manner, shall ensure the recipient of the directive repeats the information back correctly; and shall acknowledge the response as correct or repeat the original statement to resolve any misunderstandings. |
| NOTE: | A directive is an authoritative instruction or direction; specific order. |
| 1 | ERCOT ISO is the Reliability Coordinator, Transmission Operator, and Balancing Authority. When issuing a directive you shall follow the three-part communication: - Issue the directive - Receive a correct repeat back - Give an acknowledgement Failing to do any one of the three parts is a NERC Reliability Standard violation. |
| 2 | Many scripts have been placed throughout the procedures as a reminder for the three-part communication. However, a script can not be provided for every scenario. Effective three-part communication skills are mandatory. |

## 2.2	Off Set Calculation

## 2.2.1	Enter Offset Value

Procedure Purpose:  Enter the final calculated BES Offset value from the BES Offset Calculation Spreadsheet into the MOI for deployment.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| 1 | In the Day Ahead Market Management page, enter final BES offset value. |

## 2.3	Balancing Energy Clearing

## 2.3.1	Manage the Real Time Balancing Market

Procedure Purpose:  Verify that the RTBM cleared successfully and that all data and deployments that cleared are valid.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| NOTE: | Ref Display: Real Time Balancing Market Typically go to “windows” on the tool bar and left click Real Time Balancing Market. |
| 1 | CONFIRM that the real-time balancing energy calculation has completed for the periods ending hh:15, hh:30, hh:45, or hh:00 as needed to assure system is functioning properly. |
| 2 | REVIEW the real-time balancing results. If Ldr = Success, and Net Gen = Net Load 50 MW, go to Step 4. |
| 3 | IF the following conditions apply: - Ldr = Failed or - Real Time Balancing Market does not approve, or - If the difference between Net Gen and Net Load is >50 MW Notify the Shift Supervisor and Frequency Control Desk to take action as necessary to maintain system reliability. |
| 4 | The operator may verify the generation scheduled in real time balancing matches the generation from the Hour Ahead Study. If the difference is less than +/-100 MWs, determine if new study needs to be run. |
| 5 | IF the ‘Price Admin’ box is checked notify Market Participants and the Shift Supervisor. Typical Message: Under the Emergency Notifications tab, post the following message: e.g., “The MCPE for interval <interval> on <day and date> has been deemed by ERCOT to be questionable. Appropriate ERCOT personnel will review the posted value.” |

## 2.4	Emergency Operations

## 2.4.1	Deploying Non-Spin Reserve Service for Diminishing Responsive Reserve

Procedure Purpose: The need to deploy Non-Spin Reserve Service for diminishing Responsive Reserves.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| 1 | IF Adjusted Responsive Reserve is less than 2500 MW, check with the Frequency Control Desk to see if a Watch was issued. |
| 2 | Utilize Non-Spin Reserve Services that can be deployed to increase Responsive reserves. |
| 3 | ERCOT will provide notice via the ENS with the following information when NSRS is deployed: Typical Posting: “NSRS was deployed in [all zones or specify zone] starting with IE [interval]”. |

## 2.4.2	Non-Spin Reserve Service for Diminishing Responsive Reserve Termination

Procedure Purpose: To provide a guideline to terminate Non-Spin Reserve Service for diminishing Responsive Reserves.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| 1 | IF Adjusted Responsive Reserve is greater than 2500 MW, check with the Frequency Control Desk and see if the Watch has been cancelled. |
| 2 | As system conditions permit, stop the Non-Spin Reserve deployments. |
| 3 | When NSRS is terminated, EROCT will provide notice via the ENS with the following information: Typical Posting: “At IE [interval], NSRS in [all zones or specify zone] ended. The termination time of the message must be set to the end of the day, i.e. 23:59 |

## 2.5	Monthly Testing of Satellite Phone System

Procedure Purpose: On the first weekend of each month, between the hours of 0000 Saturday and 0500 Monday, the Satellite Phone System Conference Bridge will be tested with Transmission Service Providers to ensure ERCOT maintains communication capability via the Satellite Phone System. As the Shift Supervisor makes the calls to the individual Transmission Service Provider, they will set a time that the ERCOT Operator will call the Satellite Phone System Conference Bridge and establish communication with the appropriate Transmission Service Providers.

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 01, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 3.0 | Revision: | 0 |  |

| Step | Action |
| --- | --- |
| NOTE: | Use the ERCOT Satellite Phone User Guide located in the Operating Procedure Manual for a list of the Transmission Service Providers that will be contacted by the ERCOT Operator and instructions on how to place a Satellite Phone System Conference Bridge Call. |
| 1 | - On page 11 of the MX Turret phone select the appropriate line that applies to the ERCOT Operations Desk that is making the call. These numbers are located in the bottom right of the page 11 screen. BKST Day- Day Ahead Desk BKST Freq.- Frequency Desk BKST OPD – Operating Period Desk BKST TS #1 – Transmission Desk #1 BKST TS#2 – Transmission Desk #2 - If the preprogrammed number does not function correctly, refer to Attachment B of the ERCOT Satellite Phone User Guide for the appropriate conference number. - When prompted enter the Moderator Pass Code. - If necessary wait on the line for approx. five minutes for the Participants to dial into the Conference Bridge. - As each participant connects to the Conference Bridge record the name of the individual from the Transmission Service Provider making the call and any problems identified with the connection process. |
| 2 | - If one or more of the Transmission Service Providers fails to connect to the Satellite Phone System Conference Bridge Call investigate the cause and log the following: - Reason for inability to connect - Actions taken by ERCOT - Establish a time for a retest of the Transmission Service Providers not able to connect in the initial test. |
| 3 | When testing is completed, fill out the portion of the Monthly Satellite Phone Conference Bridge Testing Form (SEE Attachment 1). An electronic copy of this form is located in P:\ SYSTEM OPERATIONS\ ”Satellite Bridge Testing forms” folder. |
| 4 | When the applicable portion of the Monthly Satellite Phone Conference Bridge Testing Form is completed, save the form and close the file. Notify the Shift Supervisor that the Conference Bridge Call is complete and that the applicable portion of the Monthly Satellite Phone Conference Bridge Testing Form is complete. |
| 5 | Log the test date and results in the ERCOT Operations Log. |
| NOTE: | Verify with the Shift Supervisor that the following personnel are notified for any Satellite phone problems during the test by e-mail: - 1 ERCOT Training Department - 1 ERCOT Shift Supervisors |