Power Operations Bulletin #414

ERCOT has revised the Shift Supervisor Desk Procedure Manual.

The specific changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

## 2.1.10	Supervise Coordination with SPP and CFE

Procedure Purpose:

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. | IRO-014-1 |  |  |  |
|  | R1.1 |  |  |  |

| Approved by: |  |  | Effective Date: May 20, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 1 |  |

| Step | Action |
| --- | --- |
| NOTE: | The ERCOT ISO is only connected to another RC through asynchronous ties. The coordination and communication that must take place with SPP and CFE is outlined below. It is the responsibility of the Shift Supervisor to ensure this coordination takes place. - DC-Tie Tagging Activities - EEA Levels - Outages on DC-Ties - BLT’s - Arming of the Monticello SPS - ERCOT System Blackout Communications with CFE will be coordinated through AEP Corpus. |
| 1 | Confirm that the DC Tie schedules and E-Tags were properly verified. Ensure that the “after-the-fact checkout” is performed each night and e-mailed to the appropriate entities as outlined in the DC-Tie Procedures. |
| 2 | ERCOT’s EEA status must be communicated to the SPP Reliability Coordinator as outlined in the DC-Tie procedures. |
| 3 | All planned and forced outages that affect the DC-Ties shall be coordinated with the Tie Operator(s) and SPP (if SPP DC-Ties affected). A message must also be posted on the MIS for planned outages on any commercial DC-Ties. |
| 4 | Notify the SPP Reliability Coordinator when a BLT is initiated between ERCOT and SPP, as outlined in the Transmission & Security procedures. |
| 5 | Notify the SPP Reliability Coordinator when the Monticello SPS arms. If the SPS activates, the DC-E will trip. |

## 2.2.2	Capacity and Reserve Monitoring

Procedure Purpose:  To monitor reserve capacity and balancing energy bid shortages

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. | IRO-002-1 | IRO-005-1 |  |  |
|  | R5 | R1.4 & R1.5 |  |  |

| Approved by: |  |  | Effective Date: May 20, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 1 |  |

| Step | Action |
| --- | --- |
| Note: | 30-Minute Non-Spinning Reserve Service (30MNSRS) is a service that is provided by off-line generation capacity capable of being synchronized and ramped to a specified output level within thirty (30) minutes or Load that is capable of being interrupted within thirty (30) minutes. |
| Note: | Virtual Resources (V1) providing BESCNSRS shall bid into the BES market and follow the scheduling requirements for BESCNSRS. |
| Note: | Balancing Energy Service-Capable Non-Spinning Reserve Service (BESCNSRS) can be off-line or on-line. - Off-Line BESCNSRS - a service that is provided by generation capable of being synchronized and ramped to a specific output level within fifteen (15) minutes that is also capable of providing Balancing Energy Service (BES) or Load that is capable of providing Balancing Energy Service, and that is not participating in any other activity, including ERCOT markets, self-generation and other energy transactions. On-Line BESCNSRS - a service that is provided by a virtual portion of an on-line Resource (indicated by a _V1 suffix) capable of being synchronized and ramped to a specific output level within fifteen (15) minutes that is also capable of providing Balancing Energy Service (BES). |
| NOTE: | For NSRS calculations units must also be available, off line and have NSRS checked in the resource plan to be counted in the Excel MAI. |
| 1 | It will be necessary to make the decision to deploy Non-Spin from the Excel MAI and not the hour-ahead study. IF the load forecast is reasonable, DETERMINE if the “Adj. Bal up needed” can be covered with the balancing bids. |
| 2 | IF the load forecast is reasonable AND the “Adj. Max Capacity Room” on the Excel “Market Analyst Interface” (MAI) shows insufficient capacity: ISSUE an OCN stating that ERCOT is projecting a reserve capacity shortage AND REQUEST the QSEs to update their Resource Plans, specifically for the time frame which shows the reserve capacity insufficiency. |
| 3 | IF the Excel MAI still shows a projected reserve capacity shortage, ISSUE a Watch stating that ERCOT is projecting a reserve capacity shortage for the hours in question. |
| 4 | IF the MOI MAI is also showing the reserve shortage: - RUN an RPRS study (not a market) early enough to EVALUATE if an adjustment period RPRS market would solve the capacity reserve shortage. - IF the load forecast being used by the RPRS study does not appear to be reasonable, CONSIDER adjusting the load forecast. - IF an RPRS market provides a solution, THEN refer to the Day Ahead Desk procedure. - IF an RPRS market does not present a solution, THEN continue. |
| 5 | Depending on the amount of capacity reserve shortage and unit start up times, OOMC enough capacity to cover the projected reserve shortage based on a reasonable load forecast from the Excel MAI. |
| 6 | IF a capacity reserve shortage actually occurs, THEN refer to the Frequency Control Desk operating procedures. |
| 7 | WHEN the Excel MAI shows sufficient generation capacity to cover the load forecast, DISCONTINUE the Watch. |

## 2.2.5	Gas Restriction Notifications

Procedure Purpose

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 20, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 1 |  |

| Step | Action |
| --- | --- |
| 1 | Once notified by a QSE of gas restrictions, send an e-mail to: - Gas Company Notifications This will notify all appropriate ERCOT staff. |
| 2 | Ensure gas restriction will not cause ERCOT reliability issues. Follow the necessary procedures. See 2.2.10 for additional information if needed. |

## 2.2.8	Texas RE Event Report

Procedure Purpose

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 20, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 1 |  |

| Step | Action |
| --- | --- |
| 1 | WHEN a significant event (see NOTE: below) occurs, within one hour - Complete the form located in Section 2 of the Desktop Reference Guide: “Texas RE Event Form” - E-mail to distribution group entitled “TRE Event.” - The subject line of the e-mail should read “TRE Event.” |
| NOTE: | For the purposes of event analysis, significant events include the following: - Energy Emergency Alert (EEA) implementation - Emergency Notice issued - Deployment of LaaRs - Simultaneous loss of any combination of three generating units, transmission lines, and autotransformers (138 kV and above) - Special Protection System (SPS) activation - Remedial Action Plan (RAP) or Mitigation Plan (MP) implementation requiring load shedding - Under frequency relay operations (or frequency deviations greater than 0.3 Hz from scheduled frequency) - Sustained voltage deviations greater than 5% on 345 kV system - First contingency security violations for significant transmission elements - Failure of computer systems at ERCOT, QSE, or TO (failover to backup systems is not a reportable event) - Voltage collapse on portions of 138 kV or 345 kV system - Loss of an ERCOT, QSE, or TO control center - Black Start Plan initiation - Uncontrollable loss of 150 MW or more of firm load shed for more than 15 minutes from a single incident - ERCOT failure to meet NERC Performance Standards related to frequency control or transmission security |
| NOTE: | There are also DOE and several NERC reportable events that could trigger an investigation. To report such an event, see section 2.2.9. |

## 2.2.10		PUCT Daily Report

Procedure Purpose: To provide ERCOT system transparency to the PUCT staff and Market Participants

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: May 20, 2009 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 1 |  |

| Step | Action |
| --- | --- |
| NOTE: | The PUC reports are to be generated twice per day: In winter months at 0100 and 0500 In summer months at 1100 and 1500 The timing change will be determined by the Manager, System Operations. |
| NOTE: | Be able to provide a list of unplanned generation outages for the day if requested by the PUC. |
| 1 | Complete the PUCT Daily Report template at the appropriate times. E-mail the report to the distribution list entitled “PUC-Available Generating Resources.” Do not add editorial comments to this report that reveal market sensitive data. General comments that convey overall system conditions are allowed. |
| 2 | Revise the last report sent and resend it if: - The probability of an EEA event increases. Give reason(s) for escalation - Conditions change that required new notices to be issued or cancelled, such as, an OCN , Advisory, Watch, or Emergency Notice - A projected reserve capacity shortage develops - Local reliability concerns arise which include actual overloads and/or loss of load, especially the Laredo area - The Gibbons Creek Bryan East/Green Prairie 138 kV double circuit transmission line trips, or if there are unplanned outages of the generation units in the area. - Localized gas restrictions, not expected to cause reliability issues. - DCS event occurs - “ERCOT only” NERC and/or DOE event occurs. These events are market sensitive so provide a brief description without the market sensitive information. When issuing Transmission Watches or Emergency Notices use the following language: “At [time], ERCOT issued a Transmission [Watch or Emergency] due to the outage of [facility that is out]. The post contingency of [name of contingency] would overload [name of overloaded element].” Remember, if the facility out is a generator, use “a generating unit”. |
| 3 | Use the following guidelines to determine the potential for EEA when completing the PUCT Daily Report: Potential for EEA Level 1 - Low - Sufficient capacity to cover peak demand - An Advisory is in effect for Adjusted Responsive Reserves. - Medium - A Watch is in effect for Adjusted Responsive Reserves and/or - Loss or delay of generation availability during peak demand that may diminish Physical Responsive Reserves and/or - Excel MAI shows multiple hours of insufficient reserves and there is belief it is a significant threat - High - A Watch is in effect for Adjusted Responsive Reserves and trending downward after procuring quick-start capacity and/or - Excel MAI shows multiple hours of insufficient reserves and ERCOT has been unable to correct the capacity insufficiency over several hours and ERCOT believes it is a significant threat - Critical - EEA Level 1 in effect |
| 4 | Potential for EEA Level 2A - Low - Sufficient capacity to cover peak demand - An Advisory is in effect for Adjusted Responsive Reserves - Medium - EEA Level 1 in effect - High - Adjusted Responsive Reserve ≤ 2000 MW and trending downward - Critical - EEA Level 2A in effect |
| 5 | Potential for EEA Level 2B - Low - Sufficient capacity to cover peak demand - Medium - EEA Level 2A in effect - High - Adjusted Responsive Reserve < 1000 MW and trending downward, OR - Unable to maintain frequency ≥ 59.9 Hz - Critical EEA Level 2B in effect |
| 6 | Potential for EEA Level 3 - Low - Sufficient capacity to cover peak demand - Medium - EEA Level 2A in effect - High - EEA Level 2B (if available) in effect - Adjusted Responsive Reserve < 1000 MW and trending downward, OR - Unable to maintain frequency ≥ 59.9 Hz - Critical - EEA Level 3 in effect |
| NOTE: | When conditions have returned to normal, update report and e-mail. |