## Power Operations Bulletin # 438

ERCOT has revised the Desktop Reference Guide.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

## 2.2	ERCOT/NERC EEA Notification Requirements

- Send out a Communicator! NXT message in each EEA step

| Condition | Notified Entity | Notification Type | Time | How Notified | Update Requirements |
| --- | --- | --- | --- | --- | --- |
| EEA 1 | NERC | RCIS | ASAP | Via web link | As changes occur, minimum of 1 hour. |
| EEA 1 | TRE, NERC & DOE | Event Investigation Form RCIS | ≤ 1 Hour ASAP | E-mail Via web link | As changes occur, minimum of 1 hour. |
| EEA 2A | TRE, NERC & DOE | Event Investigation Form RCIS EIA-417 - Schedule 1 EIA-417 – Schedule 2 | ≤ 1 Hour ASAP 1 Hour 48 Hours | E-mail Via web link DOE web link DOE web link | As changes occur, minimum of 1 hour. |
| EEA 2B | TRE, NERC & DOE | Event Investigation Form RCIS EIA-417 - Schedule 1 EIA-417 – Schedule 2 | ≤ 1 Hour ASAP 1 Hour 48 Hours | E-mail Via web link DOE web link DOE web link | As changes occur, minimum of 1 hour. |
| EEA 3 IROL | TRE, NERC & DOE NERC | Event Investigation Form RCIS EIA-417 - Schedule 1 EIA-417 – Schedule 2 NERC Prelim. Report Final Report NERC Prelim. Report | ≤ 1 Hour ASAP 1 Hour 48 Hours 24 Hours 60 Days 72 Hours | E-mail Via web link DOE web link DOE web link | As changes occur, minimum of 1 hour. |
| Alert 0 | NERC | RCIS | ASAP | Via web link | Upon termination of EEA |

NOTE:  RCIS - Reliability Coordinator Information System

EEA – Energy Emergency Alert

LINKS:

RCIS - https://scis.nerc.net/scis.asp

NERC Standard EOP-004-1 System Disturbance - http://www.nerc.com/fileUploads/File/Disturbance%20Reports/NERC_EOP-004-1_Form.doc

DOE OE-417 - ftp://ftp.eia.doe.gov/pub/electricity/eiafor417.doc

Texas RE Analysis Form – Attachment B

## 2.3	Conducting Primary Operations from the Back-Up Control Center

Primary operations will be conducted from the back-up Control Center no less than once per month.  Each month, the Manager of System Operations will notify the shift assigned to work from the back-up.

When conducting primary operations from the back-up Control Center, the following notification will be made:

Hotline call to TSP – Typical Script:

“This is ERCOT operator [first and last name], at [time], ERCOT will be conducting primary operations from the back-up Control Center.  The long distance number to the Transmission and Security desk is 512.225.7130.  Another hotline call will be made when ERCOT transfers back to the primary Control Center”.

Hotline call to QSE’s – Typical Script:

“This is ERCOT operator [first and last name], at [time], ERCOT will be conducting primary operations from the back-up Control Center.  The long distance number to the Frequency desk is 512.225.7100.  Another hotline call will be made when ERCOT transfers back to the primary Control Center”.

Post a message on the MIS and ENS:

ERCOT is conducting primary operations from the back-up Control Center.

While in Austin verify the Satellite phones are functioning from each the Operator turret.  Although it is not necessary to complete a full monthly test, make a call from the satellite phone to verify functionality.   Log the results.

When operations returns to the primary Control Center, the following notifications will be made:

Hotline call to TSP – Typical Script:

“This is ERCOT operator [first and last name], at [time], ERCOT will be transferring back to the primary Control Center”.

Hotline call to QSE’s – Typical Script:

“This is ERCOT operator [first and last name], at [time], ERCOT will be transferring back to the primary Control Center”.

Terminate the messages that were posted on the MIS and ENS.

## 2.4	Requests for Unit Testing

I _______________________ representing _________________ company do verify that

(company representative)

Generating unit _________________ located in ________________ county must be

(registered name)

Tested to _______________________ MW for the following reason(s):

(MW value or Maximum)

_________________________________________________________________________

_________________________________________________________________________

_______________ proposes ____________________________ as the time period of this test

(company name)     		       (proposed date/time range)

and request that during this test period ERCOT avoid deploying this unit with unit specific instructions.

E-mail address and fax number for response: ____________________________________

## 2.5	Texas RE Event Form

Operator:

Event:

Brief Explanation of what occurred:

Operational Impact:

Date/Time:

Contact Information:

Company:

Person:

Was this event DOE or NERC Reportable?

## 2.6	Monthly Satellite Testing Form

| Transmission Service Provider | Call Connected? |  | Satellite Phone? |  | Problems Identified? |
| --- | --- | --- | --- | --- | --- |
|  | Yes | No | Yes | No |  |
| AEN |  |  |  |  |  |
| AEP |  |  |  |  |  |
| BEPC |  |  |  |  |  |
| BRYAN |  |  |  |  |  |
| CENTERPOINT |  |  |  |  |  |
| CITY of DENTON |  |  |  |  |  |
| COLLEGE STATION |  |  |  |  |  |
| CPSB |  |  |  |  |  |
| GARLAND |  |  |  |  |  |
| GREENVILLE |  |  |  |  |  |
| LCRA |  |  |  |  |  |
| ONCOR |  |  |  |  |  |
| PUB |  |  |  |  |  |
| RAYBURN COUNTRY |  |  |  |  |  |
| STEC |  |  |  |  |  |
| TNMP |  |  |  |  |  |

## 6.2	Suggested Methods for Task Performance

Operators may refer to these guides to perform certain tasks in the procedure.

Steps to scale load forecast

- Select “Load Forecast Results and History” display

- Select Scaling button

- Enter forecast Area

- Enter Start and End times (values need to be entered as hour beginning)

- Decide on method (load, peak and min, or factor)

- Enter appropriate data

- Click on button for desired method

- Click on “OK”

Steps to manually override a forecast value

- Select either “Load Forecast Results and History” display

- Enter desired load value in the appropriate override field.

Steps to publish Ancillary Service Requirements

- In the MOI, go to the Ancillary Service Market display.

- Enter tomorrow’s date and press F8. (Alternatively, click in the date field and press the “up arrow” key.)

- To continue the current month’s obligations, right click and select “to copy from the previous day”.

- Make or modify entries as needed.

- If it is time to enter the new Ancillary Service Obligations for a new month, manually enter the values provided by Operations Engineering.

- PUBLISH.

- Verify obligations were sent out by looking at the MOI Market Notifications display, selecting the “A/S Obligations” tab, and checking the information with tomorrow’s date.

Steps to post message on MOI Emergency Notifications Display

- Click on “Insert Record” (either on drop down menu or toolbar icon)

- Enter effective date and time

- Enter termination date and time (operator discretion)

- Enter message

- Press F10 or click on “save” icon