## Power Operations Bulletin # 454

ERCOT has revised the Day-Ahead Desk Procedure Manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

## 2.2	Review Load Forecast Information

Procedure Purpose:  To ensure reasonability of load forecast

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. | TOP-002 R1, R5 |  |  |  |

| Approved by: |  |  | Effective Date: January 6, 2010 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 2 |  |

| Step | Action |
| --- | --- |
| NOTE: | This procedure is performed prior to the 0600 system conditions forecast posting. |
| 1 | REVIEW the hourly load forecast for the operating day and next day in the EMS. |
| 2 | If adjustments need to be made, ADJUST using one of the following: (Refer to Section 6 of the Desktop Reference Guide: Suggested Method for Task Performance) - Load Forecast - Similar Day function - Load Forecast Scaling functions - Perform load scaling or - Perform peak scaling or - Perform factor scaling - Manually override a forecast value(s) |
| NOTE: | The Net Error Subtracted from Load Forecast is scheduled based on the 2010 AS methodology. If ERCOT subtracts a MW value from the load forecast during the month additional NSRS will be procured. |