## Power Operations Bulletin # 479

ERCOT has revised the Shift Supervisor Desk Procedure Manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html

2.2.6	MIS Posting

Procedure Purpose: Outlines process for posting a message on MIS

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. |  |  |  |  |

| Approved by: |  |  | Effective Date: July 1, 2010 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 1 |  |

| Step | Action |
| --- | --- |
| POSTING MESSAGE |  |
| 1 | In Internet Explorer, go to Notice Builder: https://mis.ercot.com/noticebuilderZonal/frame.jsp |
| Note | Defaults to the New Notice Tab |
| 2 | Select “Preformatted Notice or Create Freeform Notice” - If Preformatted Notice is selected choose the correct notice and select create - If a Create Freeform Notice message is selected choose the proper Notice Type and enter message into the Notice Text box then select continue |
| 3 | Select “Submit” to post the message to the public messages area on the portal. |
| CANCELING MESSAGE |  |
| 1 | Select “Active Notices Tab” - Choose the desired message - Select “Cancel Notice” |
| Note | Select “Delete From This Page” only when an error has occurred. This function will permanently remove the record from the posting. |
| SENT NOTICES |  |
| 1 | Select “Sent Notices Tab” |
| 2 | View all messages sent to the public (New and Cancelled) or go to http://ercot.com/services/comm/mkt_notices/opsmessages/index |

2.2.8	Texas RE Event Report

Procedure Purpose: Outlines the reporting requirements required by the Texas RE

| Protocol Ref. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Guide Ref. |  |  |  |  |
| NERC Std. | EOP-004 R1, R3.1 |  |  |  |

| Approved by: |  |  | Effective Date: July 1, 2010 |  |
| --- | --- | --- | --- | --- |
| Version: | 4.0 | Revision: | 3 |  |

| Step | Action |
| --- | --- |
| 1 | WHEN a significant event (see NOTE: below) occurs, within one hour - Complete the form located in Section 2 of the Desktop Reference Guide: “Texas RE Event Form” - E-mail to distribution group entitled “TRE Event.” - The subject line of the e-mail should read “TRE Event.” |
| NOTE: | For the purposes of event analysis, significant events include the following: - Energy Emergency Alert (EEA) implementation - Emergency Notice issued - Deployment of LaaRs - Simultaneous loss of any combination of three generating units, transmission lines, and autotransformers (138 kV and above) - Special Protection System (SPS) activation (unit runbacks are not activations) - Remedial Action Plan (RAP) or Mitigation Plan (MP) implementation requiring load shedding - Under frequency relay operations (or frequency deviations greater than 0.3 Hz from scheduled frequency) - Sustained voltage deviations greater than 5% on 345 kV system - First contingency security violations for significant transmission elements - Failure of computer systems at ERCOT, QSE, or TO (failover to backup systems is not a reportable event) - Voltage collapse on portions of 138 kV or 345 kV system - Loss of an ERCOT, QSE, or TO control center - Black Start Plan initiation - Uncontrollable loss of 150 MW or more of firm load shed for more than 15 minutes from a single incident - ERCOT failure to meet NERC Performance Standards related to frequency control or transmission security |
| NOTE: | There are also DOE and several NERC reportable events that could trigger an investigation. To report such an event, see section 2.2.9. |