- Power Operations Bulletin # 1116

ERCOT has posted/revised the Scripts manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

- http://www.ercot.com/mktrules/guides/procedures/index.html

Contents

1.	Introduction	8

1.1	Purpose	8

1.2	Roles/Responsibilities	8

2.	Typical Scripts for QSEs	9

Q#1 Watchfor PRC <3000 MW Deployed ERS-30 / ERS-10 / both ERS-30 and ERS-10 / Weather Sensitive:	9

Q#2 Cancel Watchfor PRC <3000 MW Recalling ERS-10 / ERS-30 / both  ERS-10 and ERS-30 / Weather Sensitive:	9

Q#3Blank:	9

Q#4Blank:	9

Q#5 TCEQ Notice of Enforcement Discretion:	10

Q#6 EEA1:	10

Q#7 EEA2:	10

Q#8 EEA2 deployed Load Resources:	10

Q#9 Advisory/Watch/EEA deployed ERS-10 / ERS-30 / both ERS-10 and ERS-30 / ERS-10, ERS-30 including Weather Sensitive New Time Period Script:	10

Q#10 Media Appeal:	11

Q#11 EEA3 With Firm Load Shed:	11

Q#12 EEA3 deployed ERS-10 / ERS-30 / both ERS-10 and ERS-30 / ERS-10, ERS-30 including Weather Sensitive:	11

Q#13 Restoring Firm Load:	11

Q#14 Moving from EEA3 to EEA2 recall Load Resource:	11

Q#15 Moving from EEA2 to EEA1:	11

Q#16 Terminate EEA:	12

Q#17 Cancel Watch for PRC below <2500:	12

Q#18 EMS Changes:	12

Q#19 MMS Changes:	12

Q#20 Site Failover:	12

Q#21 Site Failover Complete:	12

Q#22 Watch and Emergency Basepoints Needed until Site Failover complete:	12

Q#23 Cancel Watch and Emergency Basepoints, Site Failover Complete:	13

Q#24 Working from Alternate Site:	13

Q#25 Working from Primary Site:	13

Q#26 EEA1 deploying ERS for New Time Period Script	13

Q#27 Watch for SCED Failure:	13

Q#28 Cancel Watch for SCED is Solving:	14

Q#29 Watch for SCED Data Input Failure:	14

Q#30 Watch for RLC Failure:	14

Q#31 Cancel Watch for RLC is Restored:	14

Q#32 Emergency Notice for a QSE on Constant Frequency for LFC/EMS Failure:	14

Q#33 Cancel Emergency Notice for QSE on Constant Frequency for LFC/EMS Functioning:	15

Q#34 Emergency Notice for a QSE on Constant Frequency for LFC/EMS and SCED failure:	15

Q#35 Cancel Emergency Notice with LFC/EMS Functioning, SCED valid:	15

Q#36 Recall Load Resources After a Frequency Event:	15

Q#37 Time Error Correction:	15

Q#38 End Time Error Correction:	15

Q#39 Watch for N-H Interface / Deploy ECRS and Non-Spin:	16

Q#40 Emergency Notice for N-H Interface / Deploy Load Resources:	16

Q#41 Cancel Emergency Notice for N-H Interface / Recall Load Resources:	16

Q#42 Cancel Watch for N-H Interface / Recall ECRS and Non-Spin:	16

Q#43 Advisory for GMD Alert:	16

Q#44 GMD K-Level Increase/Decrease:	17

Q#45 Cancel Advisory for GMD:	17

Q#46 Operating Condition Script:	17

Q#47 Cancel Operating Condition Script:	17

Q#48 Advisory for State Estimator / RTCA Not Solved in 30 Min:	17

Q#49 Cancel Advisory for State Estimator/RTCA Now Solving:	18

Q#50 Advisory for VSAT not solved in 30 Min:	18

Q#51 Cancel Advisory for VSAT Now Solving :	18

Q#52 Emergency Notice for instructing Qualifying Facility to operate offline/below LSL:	18

Q#53 Cancel Emergency Notice for instructing Qualifying Facility to operate offline/below LSL:	18

Q#54 OCN for a New Generic Transmission Constraint:	19

Q#55 Transmission Watch for Post-Contingency Overload:	19

Q#56 Cancel Transmission Watch for Post-Contingency Overload:	19

Q#57 Cancel Emergency Notice and Restore Primary Control Center:	19

Q#58 OCN for Hurricane/Tropical Storm:	19

Q#59 Advisory for Hurricane/Tropical Storm:	20

Q#60 Watch for Hurricane/Tropical Storm:	20

Q#61 Emergency Notice for Hurricane/Tropical Storm:	20

Q#62 OCN for Extreme Cold Weather:	21

Q#63 Advisory for Extreme Cold Weather:	21

Q#64 Watch for Extreme Cold Weather:	22

Q#65 Emergency Notice for Extreme Cold Weather:	22

Q#66 OCN for Extreme Hot Weather:	23

Q#67 Advisory for Extreme Hot Weather:	23

Q#68 Watch for Extreme Hot Weather:	24

Q#69 Emergency Notice for Extreme Hot Weather:	24

Q#70 OCN/Advisory/Watch for other Weather Events:	24

Q#71 Transmission Emergency for the Rio Grande Valley Area:	25

Q#72 Execute a SASM for Failure to Provide/Infeasibility:	25

Q#73 Watch to Increase A/S and open SASM:	25

Q#74 Cancel Watch to Increase A/S and SASM complete:	25

Q#75 Weekly QSE Hotline test:	26

Q#76 Application issues:	26

Q#77 Watch for projected reserve capacity shortage and RMR Resources have been committed:	26

Q#78 Cancel Watch for projected reserve capacity shortage:	26

Q#79 Watch for HRUC failure/timeline deviation:	26

Q#80 Cancel Watch for HRUC failure/timeline deviation:	27

Q#81 Watch for insufficient A/S:	27

Q#82 Cancel Watch for insufficient A/S:	27

Q#83 Watch for projected reserve capacity shortage with no market solution:	27

Q#84 Cancel Watch for projected reserve capacity shortage with no market solution:	27

Q#85 Watch for A/S insufficiency in DAM, procuring in DRUC:	27

Q#86 Cancel Watch for A/S insufficiency in DAM:	28

Q#87 OCN for Excess Capacity:	28

Q#88 Cancel OCN for Excess Capacity:	28

Q#89 OCN for committing capacity in DRUC:	28

Q#90 Cancellation for OCN for committing capacity in DRUC:	28

Q#91 Advisory for DAM Timeline Deviation:	28

Q#92 Cancel Advisory for DAM Timeline Deviation:	29

Q#93 Advisory for DRUC Delay:	29

Q#94 Cancel Advisory for DRUC Delay:	29

Q#95 Watch for DRUC not complete by 18:00:	29

Q#96 Cancel Watch for DRUC not complete by 18:00:	29

Q#97 Watch for Insufficient A/S in DAM, requesting Additional Offers:	30

Q#98 Cancel Watch, DAM completed with A/S:	30

Q#99 Cancel Watch for Insufficient A/S:	30

Q#100 Watch for DAM Failure:	30

Q#101 Cancel Watch for DAM Failure:	30

Q#102 Deploying ERS-10 / ERS -30 including Weather Sensitive for New Time Period Script:	31

Q#103 EEA 3 PRC <1430 Without Firm Load Shed:	31

Q#104 Transmission Watch for the Rio Grande Valley Import:	31

Q#105 Cancel Transmission Watch for Rio Grande Valley Import:	31

Q#106 Emergency Notice Loss of Primary Control Center (Systems are Functional):	31

Q#107 Emergency Notice Loss of Primary Control Center (Systems are NOT Functional):	32

Q#108 ERCOT’s ICCP, ERCOT Website, or the Outage Scheduler Planned or Unplanned Outage:	32

Q#109 ERCOT’s ICCP, ERCOT Website or Outage Scheduler back to Normal:	32

Q#110 ERCOT Large Load Voluntary Curtailment Program:	32

Q#111 ERCOT Large Load Voluntary Curtailment Program Ended:	32

Q#112 Instruct a QSE on Constant Frequency for LFC Failure:	33

Q#113 Instruct QSE to End  Constant Frequency for LFC Functioning:	33

Q#114 Instruct a QSE on Constant Frequency for LFC/SCED Failure:	33

Q#115 Instruct a QSE to end Constant Frequency for LFC/SCED Functioning:	33

Q#116 Start Constant Frequency Control Test:	33

Q#117 End Constant Frequency Control Test:	33

Q#118 QSE on Constant Frequency Control for Unannounced Constant Frequency Control Test:	34

Q#119 Cancel QSE on Constant Frequency Control for Unannounced Constant Frequency Control Test:	34

Q#120 Perform Unannounced Unit Test:	34

Q#121 End Unannounced Unit Test:	34

Q#122 ERCOT requests SWGR:	34

Q#123 SPP or MISO requests SWGR:	35

Q#124 Notification to QSE of  Release:	35

Q#125 SWGR Requested by ERCOT released back to SPP or MISO:	35

Q#126 Advance Action Notice (AAN):	35

Q#127 Update Advance Action Notice (AAN):	36

Q#128 Cancel Advance Action Notice (AAN):	36

Q#129 Instructing Generation Resources Planned Outages Return Early:	36

Q#130 Outage Scheduler Adjustment (OSA):	36

Q#131 Deployment of Load Resources to Maintain a Minimum 500 MW of Generation RRS:	37

Q#132 Unannounced ESR Non-Spin Capability Test:	37

Q#133 End Unannounced ESR Non-Spin Capability Test:	37

3.	Typical Scripts for TOs	38

T#1 Watch for PRC <3000 MW:	38

T#2 Cancel Watch for PRC <3000 MW:	38

T#3Blank:	38

T#4 Blank:	38

T#5 EEA1:	38

T#6 EEA2 Deploy Load Management Program:	38

T#7 EEA2 Media Appeal and Voltage Reduction:	39

T#8 EEA3 Firm Load Shed:	39

T#9 EEA3 Restore a Portion of Firm Load:	39

T#10 EEA3/BAAL Restore All Firm Load:	39

T#11 Moving from EEA3 to EEA2:	39

T#12 Moving from EEA2 to EEA1:	39

T#13 Terminate EEA1:	40

T#14 Cancel Watch for PRC<2500 MW:	40

T#15 EMS Changes:	40

T#16 MMS Changes:	40

T#17 Site Failover:	40

T#18 Site Failover Complete:	40

T#19 Working from Alternate Site:	40

T#20 Working from Primary Site:	41

T#21 Advisory for State Estimator/RTCA Not Solved:	41

T#22 Cancel Advisory for State Estimator/RTCA:	41

T#23 Advisory for VSAT Tool Not Solved:	41

T#24 Cancel Advisory for VSAT Tool:	41

T#25 Advisory for GMD Alert:	42

T#26 GMD K-Index Level Increase/Decrease:	42

T#27 Cancel Advisory for GMD:	42

T#28 Emergency Notice for instructing Qualifying Facility to operate offline/below LSL:	43

T#29 Transmission Emergency for the Rio Grande Valley Area:	43

T#30 Transmission Emergency for Cascading Condition:	43

T#31 Watch for North to Houston Interface:	43

T#32 Emergency Notice for North to Houston Interface:	43

T#33 Emergency Notice for North to Houston Interface, Firm Load Shed:	43

T#34 Transmission Watch for Post-Contingency Overload:	44

T#35 Cancel Transmission Watch for Post-Contingency Overload:	44

T#36 OCN for Generic Transmission Constraint:	44

T#37 Operating Condition [OCN/Advisory/Watch/Emergency]:	44

T#38 Cancel Operating Condition [OCN/Advisory/Watch/Emergency]:	44

T#39 Media Appeal:	44

T#40 Deployment of Load Resources to Maintain a Minimum 500 MW of Generation RRS:	45

T#41 Watch for SCED/RLC Failure:	45

T#42 Cancel Watch for SCED/RLC Failure:	45

T#43 Emergency Notice for LFC/EMS and SCED Failure:	45

T#44 Cancel Emergency Notice for LFC Functioning, SCED valid:	45

T#45 Watch to Increase Ancillary Services and Open SASM:	46

T#46 Cancel Watch to Increase Ancillary Services:	46

T#47 Watch for Insufficient A/S Offers in DAM:	46

T#48 Cancel Watch for Insufficient A/S Offers in DAM:	46

T#49 Watch for insufficiency of A/S in DAM:	47

T#50 – Cancel Watch for insufficiency of A/S in DAM:	47

T#51 Watch for Insufficient A/S Offers:	47

T#52 Cancel Watch for Insufficient A/S Offers:	47

T#53 Advisory for DAM Timeline Deviation:	47

T#54 Cancel Advisory for DAM Timeline Deviation:	47

T#55 Watch for DAM Failure:	48

T#56 Cancel Watch for DAM Failure:	48

T#57 Advisory for DRUC Timeline Deviation:	48

T#58 Cancel Advisory for DRUC Timeline Deviation:	48

T#59 Watch for DRUC not completing by 18:00:	48

T#60 Cancel Watch for DRUC not completing by 18:00:	49

T#61 Watch for HRUC Failure / Timeline Deviation:	49

T#62 Cancel Watch for HRUC Failure / Timeline Deviation:	49

T#63 ERCOT Large Load Voluntary Curtailment Program:	49

T#64 ERCOT Large Load Voluntary Curtailment Program Ended:	49

T#65 OCN for Projected Excess Reserve Capacity:	49

T#66 Cancel OCN for Projected Excess Reserve Capacity:	50

T#67 Watch for Projected Reserve Capacity Shortage with No Market Solution:	50

T#68 Cancel Watch for Projected Reserve Capacity Shortage with No Market Solution:	50

T#69 Watch for Projected Reserve Capacity Shortage with No Market Solution, RMR recommended:	50

T#70 Cancel Watch for Projected Reserve Capacity Shortage with No Market Solution, RMR recommended:	50

T#71 Cancel Emergency Notice and Restore Primary Control Center:	51

T#72 OCN for Hurricane / Tropical Storm:	51

T#73 Advisory for Hurricane / Tropical Storm:	51

T#74 Watch for Hurricane / Tropical Storm:	51

T#75 Emergency for Hurricane / Tropical Storm:	52

T#76 OCN for Extreme Cold Weather:	52

T#77 Advisory for Extreme Cold Weather:	52

T#78 Watch for Extreme Cold Weather:	53

T#79 Emergency for Extreme Cold Weather:	53

T#80 OCN for Extreme Hot Weather:	53

T#81 Advisory for Extreme Hot Weather:	54

T#82 Watch for Extreme Hot Weather:	54

T#84 OCN/Advisory/Watch for other Weather Events:	55

T#85 – Weekly TO Hotline Test:	55

T#86 Execute a SASM for Failure to Provide/Infeasibility:	55

T#87 TCEQ Notice of Enforcement Discretion:	55

T#88 Outage Scheduler Adjustment (OSA):	55

T#89 Transmission Watch for the Rio Grande Valley Import:	56

T#90 Cancel Transmission Watch for Rio Grande Valley Import:	56

T#91 Emergency Notice Loss of Primary Control Center (Systems are Functional):	56

T#92 Emergency Notice Loss of Primary Control Center (Systems are NOT Functional):	56

T#93 Rio Grande Valley Reliability Margin ≤350 MW:	57

T#94 Rio Grande Valley Reliability Margin returned to normal:	57

T#95 North – Houston Reliability Margin ≤500 MW:	57

T#96 North – Houston  Reliability Margin returned to normal:	57

T#97 ERCOT’s ICCP, ERCOT Website, or the Outage Scheduler Planned or Unplanned  Outage:	57

T#98 ERCOT’s ICCP, ERCOT Website, or the Outage Scheduler back to Normal:	58

T#99 QSE on Constant Frequency Control for Unannounced Constant Frequency Control Test:	58

T#100 Cancel QSE on Constant Frequency Control for Unannounced Constant Frequency Control Test:	58

T#101 Advance Action Notice (AAN):	58

T#102 Update Advance Action Notice (AAN):	58

T#103 Cancel Advance Action Notice (AAN):	59

Q#1 Watch for PRC <3000 MW Deployed ERS-30 / ERS-10 / both ERS-30 and ERS-10 / Weather Sensitive:

“This call requires everyone to remain on the line until it is complete.  [QSE] I will be asking you for the repeat back.  This is ERCOT Operator [first and last name].  At [xx:xx], ERCOT is issuing an Watch due to Physical Responsive Capability falling below 3000 MW. [All 10 min / 30 min / both 10 min and 30 min including Weather Sensitive ERS Resources with an obligation have been deployed. Distribution voltage reduction has been requested.] Suspend all Resource testing and update telemetered Resource Status Codes.  ERCOT is reminding you, that you can schedule available interchange into ERCOT across the DC Ties. [QSE] please repeat this back to me.”

If repeat back is CORRECT, “That is correct, thank you.”

If INCORRECT, repeat the process until the repeat back is correct.

## Q#2 Cancel Watch for PRC <3000 MW Recalling ERS-10 / ERS-30 / both  ERS-10 and ERS-30 / Weather Sensitive:

“This is ERCOT Operator [first and last name].  At [xx:xx], ERCOT is canceling the Watch for Physical Responsive Capability.  Physical Responsive Capability is now above 3000 MW. [ERCOT is recalling all 10 min / 30 min / both 10 min and 30 min including Weather Sensitive.  Distribution voltage reduction has returned to normal operation.] Approved Resource testing may resume as scheduled. [QSE] please repeat this back to me.”

If repeat back is CORRECT, “That is correct, thank you.”

If INCORRECT, repeat the process until the repeat back is correct.

Q#3 Blank:

Q#4 Blank:

## T#1 Watch for PRC <3000 MW:

“This call requires everyone to remain on the line until it is complete.  [TO] I will be asking you for the repeat back.  This is ERCOT Operator [first and last name].  At [xx:xx], ERCOT is issuing an Watch due to Physical Responsive Capability falling below 3000 MW. TO’s are instructed to reduce customer loads by using distribution voltage reduction measures if available. ERS has been deployed. [TO] please repeat this back to me.”

If repeat back is CORRECT, “That is correct, thank you.”

If INCORRECT, repeat the process until the repeat back is correct.

## T#2 Cancel Watch for PRC <3000 MW:

“This is ERCOT Operator [first and last name].  At [xx:xx], ERCOT is canceling the Watch for Physical Responsive Capability.  Physical Responsive Capability is now above 3000 MW and all ERS has been recalled. TO’s that utilized distribution voltage reduction measures can return to normal operation.  [TO] please repeat this back to me.”

If repeat back is CORRECT, “That is correct, thank you.”

If INCORRECT, repeat the process until the repeat back is correct.

## T#3 Blank :

## T#4 Blank :

## T#88 Outage Scheduler Adjustment (OSA)

“This call requires everyone to remain on the line until it is complete.  [TO] I will be asking you for the repeat back. This is ERCOT Operator [first and last name]. ERCOT has executed the OSA process due to a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] projected for OSA Period [date HE XX] until [date HE XX].  Outages not moved voluntarily prior to [date] at [time] will be considered an OSA.

[TO] please repeat this back to me.”

If repeat back is CORRECT, “That is correct, thank you.”

If INCORRECT, repeat the process until the repeat back is correct.

Preparation

| Prepared by |  | Role |  | Date Completed |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Frosch and Hartmann |  | Prepares |  | April 23,2015 |  |  |
| Frosch, Hartmann, and Gaddy |  | Procedure writers and editors |  | July 13, 2015 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | September 25, 2015 |  |  |
| Hartmann, Gaddy, and Drummond-Bunner |  | Procedure writers and editors |  | December 22, 2015 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | January 22, 2016 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | February 23, 2016 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | April 22, 2016 |  |  |
| Frosch, Hartmann, and Gaddy |  | Procedure writers and editors |  | June 24, 2016 |  |  |
| Frosch, Hartmann, and Gaddy |  | Procedure writers and editors |  | September 26, 2016 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | October 31, 2016 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | December 22, 2016 |  |  |
| Hartmann, Gaddy, and Frosch |  | Procedure writers and editors |  | March 27, 2017 |  |  |
| Hartmann and Gaddy |  | Procedure writers and editors |  | April 5, 2017 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | May 26, 2017 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | June 23, 2017 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | August 30, 2017 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | September 27, 2017 |  |  |
| Hartmann, Gaddy, Ballew, and Frosch |  | Procedure writers and editors |  | February 22, 2018 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | March 26, 2018 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | April 27, 218 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | August 24, 2018 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | September 27, 2018 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | October 29, 2018 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | December 21, 2018 |  |  |
| Hartmann, Gaddy, and Ballew |  | Procedure writers and editors |  | January 25, 2019 |  |  |
| Hartmann, Gaddy, and Luker |  | Procedure writers and editors |  | April 26, 2019 |  |  |
| Hartmann, Gaddy, and Pence |  | Procedure writers and editors |  | May 13, 2019 |  |  |
| Hartmann, Gaddy, and Pence |  | Procedure writers and editors |  | May 28, 2019 |  |  |
| Hartmann, Gaddy, and Pence |  | Procedure writers and editors |  | July 29, 2019 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | October 29, 2019 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | December 20, 2019 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | January 27, 2020 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | May 26, 2020 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | June 25, 2020 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | September 23, 2020 |  |  |
| Hartmann, Gaddy, Cyphers, and Sheets |  | Procedure writers and editors |  | December 23, 2020 |  |  |
| Hartmann, Gaddy, Cyphers, and Sheets |  | Procedure writers and editors |  | March 26, 2021 |  |  |
| Hartmann, Gaddy, Cyphers, and Sheets |  | Procedure writers and editors |  | July 28, 2021 |  |  |
| Hartmann, Gaddy, Cyphers and Sheets |  | Procedure writers and editors |  | August 27, 2021 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | November 29, 2021 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | December 1, 2021 |  |  |
| Hartmann, Gaddy, Cyphers, and Frosch |  | Procedure writers and editors |  | December 17, 2021 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | January 27, 2022 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | May 20, 2022 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | May 20, 2022 |  |  |
| Hartmann, Gaddy, Cyphers, and Frosch |  | Procedure writers and editors |  | July 25, 2022 |  |  |
| Hartmann, Gaddy, Cyphers, and Frosch |  | Procedure writers and editors |  | December 22, 2022 |  |  |
| Hartmann, Gaddy, and Cyphers |  | Procedure writers and editors |  | January 26, 2023 |  |  |
| Hartmann, Gaddy, Cyphers, and Frosch |  | Procedure writers and editors |  | March 27, 2023 |  |  |
| Hartmann, Gaddy, Cyphers, and Luker |  | Procedure writers and editors |  | April 25, 2023 |  |  |
| Hartmann, Gaddy, Cyphers, and Luker |  | Procedure writers and editors |  | June 5, 2023 |  |  |
| Hartmann, Gaddy, Cyphers, and Luker |  | Procedure writers and editors |  | June 26, 2023 |  |  |
| Hartmann, Gaddy, Cyphers, and Luker |  | Procedure writers and editors |  | August 29, 2023 |  |  |
| Hartmann, Cyphers, and Luker |  | Procedure writers and editors |  | September 28, 2023 |  |  |
| Hartmann, Cyphers, and Luker |  | Procedure writers and editors |  | October 26, 2023 |  |  |
|  | Hartmann, Cyphers, and Luker |  | Procedure writers and editors |  | November 28, 2023 |  |

Manual Change History

| Procedure |  | Ver/Rev |  | Reason for Issue |  | Effective Date |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| All Sections |  | 1.0 / 0 |  | New script document |  | May 1, 2015 |  |  |
| All Sections 1 |  | 1.0 / 1 1.0 / 1 |  | Added a “Q” for QSE scripts and a “T” for TO scripts Updated Scripts Q62, Q63, Q64 |  | July 15, 2015 |  |  |
| 3 |  | 1.0 / 2 |  | Updated Script T#8 Content Updated Script T#29 Content and Script Title Corrected Script T#71 Content and Script titles |  | October 1,2015 |  |  |
| 2 3 |  | 1.0 / 2 1.0 / 3 |  | Updated QSE script titles Q#1, Q#2, Q#3, Q#4, Q#5, Q#6, Q#7, Q#8, Q#9, Q#12, Q#14, Q#15, Q#16, Q#22, Q#23, Q#26, Q#27, Q#28, Q#29, Q#30, Q#31, Q#32, Q#33, Q#34, Q#35, Q#36, Q#38, Q#39, Q#40, Q#41, Q#42, Q#43, Q#44, Q#46, Q#47, Q#48, Q#49, Q#50, Q#51, Q#52, Q#53, Q#54, Q#55, Q#56, Q#57, Q#61, Q#65, Q#69, Q#70, Q#71, Q#72, Q#73, Q#74, Q#75, Q#78, Q#79, Q#80, Q#81, Q#82, Q#84, Q#86, Q#87, Q#88, Q#91, Q#92, Q#94, Q#95, Q#96, Q#97, Q#99, Q#100, & Q#101 Deleted scripts Q#71 & Q#72 Updated Transmission script titles T#2, T#4, T#9, T#10, T#13, T#14, T#18, T#19, T#20, T#21, T#22, T#23, T#24, T#25, T#26, T#27, T#28, T#29, T#30, T#31, T#32, T#33, T#34, T#35, T#36, T#37, T#38, T#39, T#40, T#41, T#42, T#43, T#44, T#45, T#46, T#47, T#48, T#51, T#52, T#53, T#54, T#55, T#56, T#57, T#58, T#59, T#60, T#61, T#62, T#63, T#64, T#65, T#66, T#67, T#68, T#69, T#70, T#71, T#75, T#76, T#77, T#78, T#79, T#80, T#81, T#82, T#83, T#84, & T#85 Updated script content T#7, T#15, T#22, & T#24 |  | December 31, 2015 |  |  |
| 2 3 |  | 1.0 / 3 1.0 / 4 |  | Added Script Q#72 Updated Script Titles Q#75, Q#77, Q#78, Q#81, Q#83, & Q#84 Updated Script T#52 & T#85 Added Script T#86 |  | February 10, 2016 |  |  |
| 2 3 |  | 1.0 / 4 - / 5 |  | Updated Script Q#24, Q#25 and Q#75 Updated Script Title Q#72 Updated Script T#85 Updated Script Title T#86 |  | March 1, 2016 |  |  |
| 2 3 |  | 1.0 / 5 1.0 / 6 |  | Updated Script Q#19 and Q#21 Updated Script Title Q#21 Updated Script T#16 and T#18 Updated Script Title T#18 |  | April 29, 2016 |  |  |
| 1 2 3 |  | 1.0 / 2 1.0 / 6 1.0 / 7 |  | Updated 1.2 Updated Scripts Q#40, Q#41, Q#52, Q#53, Q#59, Q#68, Q#69 & added Script Q#102 Updated Scripts T#8, T#9, T#10, T#28, T#79, T#82, T#83 & added Script T#87 |  | June 30, 2016 |  |  |
| 2 3 |  | 1.0 / 7 1.0 / 8 |  | Updated scripts Q#20, Q#32, Q#33, Q#34, Q#35, & Q#69 Updated scripts T#21, T#23, T#41, T#43 T#44, T#61, & T#62 |  | September 30, 2016 |  |  |
| 2 |  | 1.0 / 8 |  | Added script Q#71 |  | November 2, 2016 |  |  |
|  |  |  |  | Updated Table of Contents Links |  | December 30, 2016 |  |  |
| 2 3 |  | 1.0 / 9 1.0 / 9 |  | Updated script Q#11 and Q#71 Added script Q#103 Updated scripts T#8, T#25, T#26 and T#29 Added script T#88 |  | March 31, 2017 |  |  |
| 2 3 |  | 1.0 / 10 1.0 / 10 |  | Added scripts Q#104, Q#105, Q#106, Q#107, Q#108 and Q#109 Added scripts T#89, T#90, T#91, T#92, T#93, T#94, T#95, T#96, T#97 and T#98 |  | April 6, 2017 |  |  |
| 2 3 |  | 1.0 / 11 1.0 / 11 |  | Updated script Q#106 Updated script T#91 |  | June 1, 2017 |  |  |
| 2 3 |  | 1.0 / 12 1.0 / 12 |  | Deleted script Q#102 Deleted script T#87 Updated script T#91 |  | June 30, 2017 |  |  |
| 2 3 |  | 1.0 / 13 1.0 / 13 |  | Added scripts Q#110 and Q#111 Updated script T#63 and T#92 |  | August 31, 2017 |  |  |
| 2 3 |  | 1.0 / 14 1.0 / 14 |  | Updated script Q#22, Q#50, Q#89, Q#91, Q#93, Q#94, Q#95, & Q#107 Updated script T#23 |  | September 29, 2017 |  |  |
| 2 3 |  | 1.0 / 15 1.0 / 15 |  | Updated script Q108 & 109 Updated script T6, T97 & T98 |  | February 28, 2018 |  |  |
| 3 |  | 1.0 / 16 |  | Updated scripts T25 and T26 |  | March 30, 2018 |  |  |
| 2 3 |  | 1.0 / 16 1.0 / 17 |  | Added scripts Q112 through Q119 Updated script T17 Added scripts T99 & T100 |  | May 1, 2018 |  |  |
| 2 |  | 1.0 / 17 |  | Added scripts Q#120 & Q#121 |  | August 31, 2018 |  |  |
| 2 3 |  | 1.0 / 18 1.0 / 18 |  | Deleted script #Q106 & Q#107 for NPRR 825 Deleted script #T91 & T#92 for NPRR 825 |  | October 1, 2018 |  |  |
| 2 3 |  | 1.0 / 19 1.0 / 19 |  | Updated script Q#18 & Q#21 Updated script T#18 |  | November 1, 2018 |  |  |
| 2 3 |  | 1.0 / 20 1.0 / 20 |  | Update scripts Q#32, Q#48, Q#49 & Q#71 Updated script T#22 & T#29 |  | December 28, 2018 |  |  |
| 2 |  | 1.0 / 21 |  | Updated script Q#100 |  | January 31, 2019 |  |  |
| 2 |  | 1.0 / 22 |  | Updated scripts Q#6, Q#7, Q#9 & Q#12 |  | May 1, 2019 |  |  |
| 2 |  | 1.0 / 23 |  | Added scripts Q#122, Q#123, and Q#124 |  | May 16, 2019 |  |  |
| 2 3 |  | 1.0 / 24 1.0 / 21 |  | Updated script Q#124 Updated script title T#6 |  | May 31, 2019 |  |  |
| 2 3 |  | 1.0 / 25 1.0 / 22 |  | Deleted Script Q#26 Added Scripts Q#106 & Q#107 Deleted Scripts T#39 & T#40 Added Scripts T#91 & T#92 |  | August 1, 2019 |  |  |
| 2 3 |  | 1.0 / 25 1.0 / 23 |  | Updated scripts Q#6, Q#7, Q#8, Q#9, Q#26, Q#58, Q#59, Q#62, Q#63, Q#66, Q#67, Q#75, Q#122, Q#123 & Q#124 and added scripts Q#26 & Q#125 Added script T#39 and updated scripts T#72, T#73 & T#85 |  | November 1, 2019 |  |  |
| 2 3 |  | 1.0 / 27 1.0 / 24 |  | Updated script Q#103, Q#117 & Q#122 Updated script T#88 |  | January 1, 2019 |  |  |
| 2 3 |  | 1.0 / 28 1.0 / 25 |  | Updated script Q#89 & Q#110 Updated Script T#63 |  | January 31, 2020 |  |  |
| 3 |  | 1.0 / 26 |  | Updated Script T#53 |  | May 29, 2020 |  |  |
| 2 3 |  | 1.0 / 29 1.0 / 27 |  | Added Scripts Q#126, Q#127 & Q#128 per NPRR930 Added Scripts T#101, T#102 & T#103 per NPRR930 |  | July 1, 2020 |  |  |
| 2 |  | 1.0 / 30 |  | Updated script Q#123 & Q#124 |  | October 1, 2020 |  |  |
| 2 3 |  | 1.0 / 31 1.0 / 28 |  | Updated Scripts Q#108 & Q#109 Updated Scripts T#97 & T#98 |  | December 31, 2020 |  |  |
| 2 |  | 1.0 / 32 |  | Updated Script Q#13 |  | April 1, 2021 |  |  |
| 2 3 |  | 1.0 / 33 1.0 / 29 |  | Deleted Q#110 & Q#111 Deleted T#63 & T#64 |  | July 31, 2021 |  |  |
| 2 3 |  | 1.0 / 34 1.0 / 30 |  | Updated Script Q#75 Updated Script T#85 |  | September 1, 2021 |  |  |
| 2 3 |  | 1.0 / 35 1.0 / 31 |  | Updated Script Q#126 Added Scripts Q#102, Q#109, Q#110,Q#129 & Q#130 Added Script T#40 |  | December 1, 2021 |  |  |
| 3 |  | 1.0 / 32 |  | Updated Script T#40 |  | December 17, 2021 |  |  |
| 2 3 |  | 1.0 / 36 1.0 / 33 |  | Updated Scripts Q#15, Q#62, Q#63, Q#64, Q#102 & Q#111 Updated Script T#12 All scripts in this manual have been reviewed |  | December 31, 2021 |  |  |
| 3 |  | 1.0 / 34 |  | Updated Scripts T#1, T#7, T#76, T#77, T#78 & deleted script T#40 |  | February 1, 2022 |  |  |
| 2 3 |  | 1.0 / 37 1.0 / 35 |  | Updated Script Q#8 Added Scrip Q#131 Added Script T#40 |  | May 26, 2022 |  |  |
| 2 3 |  | 1.0 / 38 1.0 / 36 |  | Updated Script Q#1, Q#2, Q#21, Q#110, & Q#111 Updated Script T#2 |  | July 29, 2022 |  |  |
| 2 3 |  | 1.0 / 39 1.0 / 36 |  | Added and updated scripts Q#5, Q#6, Q#7, Q#9, Q#64, Q#110, Q#111, Q132, & Q133 Added and updated scripts T#63, T#64, T#78, & T#87 All scripts in this manual have been reviewed |  | December 30, 2022 |  |  |
| 2 3 |  | 1.0 / 40 1.0 / 37 |  | Updated script Q#11 Updated script T#8 |  | February 1, 2023 |  |  |
| 2 3 |  | 1.0 / 41 1.0 / 38 |  | Q#62, Q#63, Q#64, Q#65, Q#66, Q#67, Q#68, Q#69, & Q#70 T#84 |  | March 31, 2023 |  |  |
| 2 |  | 1.0 / 42 |  | Updated script Q#126 |  | April 28, 2023 |  |  |
| 2 |  | 1.0 / 43 |  | Updated scripts Q#8, Q#26, Q#39, Q#42, Q#130, & Q#131 |  | June 9, 2023 |  |  |
| 2 3 |  | - / 44 1.0 / 39 |  | Updated scripts Q#5, Q#83 Updated scripts T#67, T#87 |  | June 30, 2023 |  |  |
| 2 3 |  | 1.0 / 45 1.0 / 40 |  | Updated script Q#10, Q#55 Updated Script T#34, T#39 |  | September 1, 2023 |  |  |
| 2 3 |  | 1.0 / 46 1.0 / 41 |  | Updated Script Q#7 Updated Script Q#55 Updated Script Q#56 Updated Scrpt T#34 Updated Script T#35 |  | October 4, 2023 |  |  |
| 2 3 |  | 1.0 / 47 1.0 / 42 |  | Updated Script Q#1, Q#2, Q#9, Q#11, Q#17, Removed Q# 3, Q# 4, Q# 12, Q# 103 Updated Script T#1, T#2, T#5, T#7, T#8, T#14, Removed T# 3, T# 4, T#6, T#88 |  | November 1, 2023 |  |  |
|  | 2 3 |  | - / 48 1.0 / 42 |  | Updated Header Q#1, Q#2, Q#3, Q#4 Updated Header T#1, T#2, T3, T#4 Added Script T#88 and Updated Header |  | December 1, 2023 |  |