	ERCOT Operating Procedure Manual

	Real Time Desk



Power Operations Bulletin # 1199
ERCOT has posted/revised the Real Time manual.

The Various Changes are shown below.
A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html
4.1
Managing SCED

Procedure Purpose: To ensure that a SCED solution has solved, and that the solution is reasonable.  
	Protocol Reference
	3.8.3
	3.9.1(10)
	3.10.7.5.1(5)
	8.1.1.2(16)

	Guide Reference
	7.3.3
	
	
	

	NERC Standard
	TOP-003-5

R5, R5.2
	TOP-010-1(i) 

R1, R1.3, R2, R2.3
	
	


	Version: 1 
	Revision: 24
	Effective Date:  October 31, 2025


	Step
	Action

	Workflow Controller Messages

	Note
	The SCED Workflow Controller provides three color coded messages as indicated in the following:

· GREEN – Informational (i) and Success (s)

· BLUE – Warning (w)

· RED – Error (e) and Fatal Error (f)

	1
	REVIEW REFERENCE DISPLAY:

Market Operation>Real-Time Market>SCED Displays>Workflow>SCED Workflow Messages

Monitor SCED Workflow Controller logs for “Warning” and “Error” messages.

	2
	IF:

· The log indicates an “Error” or “Fatal Error”;

THEN:

· Contact the Service Desk and notify the Control Room staff,

· Attempt to resolve the issue, refer to Desktop Guide Real Time Desk Section 2.5,

· Refer to Section 3.3 “Managing SCED Failures” in this procedure.

	SCED Solution Time Parameter 

	Note
	Typically, SCED should produce a solution within 20 seconds.  It is highly desirable to have at least 3 executions of SCED in any 15-minute period.

	Automatic

Trigger
	Verify that SCED is automatically triggered:

· Periodically every 5 minutes

· About 60 seconds after ECRS is automatically released by LFC

· Frequency is < 59.955 Hz for > two consecutive minutes
IF:

· SCED is not automatically executed (but has not failed);

THEN:

· Manually execute SCED,

· Immediately notify the Shift Supervisor and Operations Support Engineer,

· Continue to manually execute SCED approximately every 5 minutes until the condition is corrected.

	Manual

Trigger
	SCED may be manually triggered when the following is identified:

· Frequency deviates  +/-0.05 Hz for more than 5 minutes

· Generation Resource trips and Frequency is > 59.91 Hz

· When approximately 50% of Regulation has been deployed

· Approximately 60 seconds after Generation Resources providing ECRS or RRS have been released.

· As frequently as needed after Load Resources providing ECRS or RRS have been deployed.

	Log
	Log all actions.

	Quick Start Generation Resource

	QSGR
	A Generation Resource that in its cold-temperature state can come On-Line within ten minutes of receiving ERCOT notice and has passed an ERCOT Quick Start Generation Resource test that establishes an amount of capacity that can be deployed within a ten-minute period.  

· These Resources can be viewed at ERCOT SharePoint > System Operations – Control Center > Quick Links > Approved Quick Start (QSGR) Resources

	COP
	The QSE for a QSGR that is available for deployment by SCED shall set the COP Resource Status ON, the COP LSL and HSL values to the expected sustainable LSL and HSL for the QSGR for the hour.  If the QSGR is providing Non-Spin, then the A/S Resource Responsibility for Non-Spin shall be set to the Resource’s Non-Spin responsibility in the COP.  If the Resource’s Non-Spin responsibility is greater than the difference between HSL and LSL, then the QSGR that is available for deployment by SCED shall set the COP LSL to zero. If the QSGR is providing ECRS, then the A/S Resource Responsibility for ECRS shall be set to the Resource’s ECRS responsibility in the COP.  If the Resource’s ECRS responsibility is greater than the difference between HSL and LSL, then the QSGR that is available to be released by SCED shall set the COP LSL to zero.

	Telemeter
	The QSGR that is available to be released by SCED and awarded ECRS and Non-Spin shall telemeter a Resource Status of OFFQS and an LSL of zero prior to receiving a release instruction from SCED.  This status is necessary for SCED to recognize that the Resource can be Dispatched.  The status of the breaker shall be open, and the output of the Resource shall be zero in order for the State Estimator to correctly assess the state of the system.  After being released for energy by SCED, the Resource shall telemeter an LSL equal to or less than the Resource’s actual output until the Resource has Ramped to its physical LSL.  After reaching its physical LSL, the QSGR shall telemeter an LSL that reflects its physical LSL. The QSGR that is providing ECRS shall telemeter Ancillary Service Resource Responsibility and Ancillary Service Schedule to reflect the Resource’s ECRS obligation. For the QSGR providing (online) Non-Spin shall telemeter Ancillary Service Resource Responsibility to reflect the Resource’s Non-Spin obligation and telemeter Ancillary Service Schedule of zero to make the capacity available for SCED. The QSGR that is providing Off-Line Non-Spin shall always telemeter OFFNS Resource Status and telemeter an Ancillary Service Resource Responsibility and Ancillary Service Schedule for Non-Spin to reflect the Resource’s Non-Spin obligation A QSGR with a telemeter breaker status of open and a telemeter Resource Status of OFFQS shall not provide Regulation or Responsive Reserve Service.

	QSGR

Decommitment
	Please refer to Desktop Guide Common to Multiple Desks for the QSGR decommitment process.

	QSGR

Qualification

Test
	WHEN:

· Conducting a QSGR qualification test for Operations Analysis;

THEN:

· Issue a VDI confirmation

· Choose “OTHER_RES” as the Instruction Type from Resource level

· Enter MW amount that the QSE is requesting to qualify its QSGR to provide.  

· Enter “QSGR Qualification Test” in “Other Information”

· . 

When issuing a VDI or the confirmation ensure the use of three-part communication:

· Issue the Operating Instruction

· Receive a correct repeat back

·  Give an acknowledgement

	Generation Resource Shut-down/Start-up Process

	Shutdown/

Startup
	Shut-down:

· A QSE representing a Generation Resource that is not actively providing A/S (except for Off-line Non-Spin) may only use a Resource Status of SHUTDOWN through telemetry that the Resource is operating in a shutdown sequence requiring manual control and is not available for Dispatch.

Start-up:

· A QSE representing a Generation Resource that is not actively providing A/S may only use a Resource Status of STARTUP through telemetry that the Resource is operating in a start-up sequence requiring manual control and is not available for Dispatch.

	Note
	QSEs can manage basepoint deviations by adjusting their telemetered Ramp Rate.

	Note
	When a Resource is carrying “Off-Line” Non-spin and that Non-Spin is being recalled, the QSE would continue to show the Non-Spin responsibility on the Resource that is shutting down.

	Combine Cycle Generation Resources

	Note
	WHEN:

· Combine Cycle Generation Resources are changing configuration creating basepoint deviations

THEN:
· QSEs will need to manage their telemetered HSL for proper basepoints.

	Telemetry Issues that could affect SCED and/or LMPs

	Not Dispatchable to SCED
	REVIEW REFERENCE DISPLAY:

EMS Applications>Generation Control>Resource Limit Calculation>RLC Unit Input Data and RLC Unit Output Data

WHEN:

· A QSE has telemetered more A/S on a specific Resource that is greater than their HSL, OR

· A Resource is generating more than their telemetered HSL; 

THEN:

· SCED will set the HDL=LDL=MW making the Resource undispatchable,

· Request the QSE to make corrections to their telemetry (Resource status, Resource limits, A/S responsibilities, etc.)

	Real-Time Data Issues known by the QSE

	Note
	Manually replaced telemetry data is data entered by a QSE on their systems that is transmitted to ERCOT via ICCP in place of the normal points experiencing an issue.  If Reliability issues can’t be resolved in a timely manner, ERCOT reserves the right to order the Resource off-line until the problem is resolved.   

	Notification of Telemetry 

Data

Issue
	IF:

· Notified of a telemetry data issue (telemetry data will not be available or is unreliable for operational purposes;

THEN:
· The QSE should correct of the telemetry data as soon as practicable, or,

· Manually replace the data, if available.

	Cannot

Resolve
	IF:

· The QSE cannot resolve the telemetry data issue within two Business Day, fix the issue in a timely manner;

THEN:

· The QSE shall provide an estimated time of resolution.


Document Control

Preparation

	Prepared by
	Role
	Date Completed

	Frosch, Hartmann, Stone, and Barcalow
	Prepares
	November 10 , 2010

	Frosch and Hartmann
	Procedure writers and editors
	November 29, 2010

	Frosch and Hartmann
	Procedure writers and editors
	December 13, 2010

	Frosch, Foster, and Hartmann
	Procedure writers and editors
	January 3, 2011

	Frosch and Hartmann
	Procedure writers and editors
	January 26, 2011

	Frosch and Hartmann
	Procedure writers and editors
	March 23, 2011

	Frosch and Hartmann
	Procedure writers and editors
	April 20, 2011

	Frosch and Hartmann
	Procedure writers and editors
	June 6, 2011

	Frosch and Hartmann
	Procedure writers and editors
	July 18, 2011

	Frosch and Hartmann
	Procedure writers and editors
	August 1, 2011

	Frosch and Hartmann
	Procedure writers and editors
	August 30, 2011

	Frosch and Hartmann
	Procedure writers and editors
	September 28, 2011

	Frosch and Hartmann
	Procedure writers and editors
	October 28, 2011

	Frosch and Hartmann
	Procedure writers and editors
	December 13, 2011

	Frosch and Hartmann
	Procedure writers and editors
	January 16, 2012

	Frosch and Hartmann
	Procedure writers and editors
	February 27, 2012

	Frosch and Hartmann
	Procedure writers and editors
	April 25, 2012

	Frosch and Hartmann
	Procedure writers and editors
	May 10, 2012

	Frosch and Hartmann
	Procedure writers and editors
	May 30, 2012

	Barcalow, Frosch, and Hartmann
	Procedure writers and editors
	July 10, 2012

	Frosch and Hartmann
	Procedure writers and editors
	August 27, 2012

	Frosch and Hartmann
	Procedure writers and editors 
	October 26, 2012

	Frosch and Hartmann
	Procedure writers and editors
	February 26, 2013

	Frosch and Hartmann
	Procedure writers and editors
	May 28, 2013

	Frosch and Hartmann
	 Procedure writers and editors
	July 8, 2013

	Frosch and Hartmann
	Procedure writers and editors 
	August 7, 2013

	Frosch and Hartmann
	Procedure writers and editors
	September 25, 2013

	Frosch and Hartmann
	Procedure writers and editors
	December 11, 2013

	Frosch and Hartmann
	Procedure writers and editors
	December 20, 2013

	Frosch, Gaddy, Hartmann, and Solis
	Procedure writers and editors
	April 1, 2014

	Frosch, Gaddy, and Hartmann
	Procedure writers and editors
	May 27, 2014

	Frosch and Hartmann
	Procedure writers and editors
	July 29, 2014

	Frosch and Hartmann
	Procedure writers and editors
	September 29, 2014

	Drummond, Frosch, and Hartmann
	Procedure writers and editors
	December 10, 2014

	Frosch and Thompson
	Procedure writers and editors
	December 19, 2014

	Frosch and Hartmann
	Procedure writers and editors
	February 25, 2015

	Frosch and Hartmann
	Procedure writers and editors
	March 25, 2015

	Frosch and Hartmann
	Procedure writers and editors
	April 29, 2015

	Frosch, Hartmann, and Gaddy
	Procedure writers and editors
	July 13, 2015

	Hartmann and Gaddy
	Procedure writers and editors
	December 22, 2015

	Hartmann, Gaddy, and Frosch
	Procedure writers and editors
	February 23, 2016

	Hartmann and Gaddy
	Procedure writers and editors
	April 22, 2016

	Hartmann, Gaddy, and Frosch
	Procedure writers and editors
	June 24, 2016

	Hartmann and Gaddy
	Procedure writers and editors
	July 15, 2016

	Hartmann, Gaddy, and Frosch
	Procedure writers and editors
	September 26, 2016

	Hartmann and Gaddy
	Procedure writers and editors
	October 31, 2016

	Hartmann, Gaddy, and Frosch
	Procedure writers and editors
	December 23, 2016

	Hartmann, Gaddy, and Frosch
	Procedure writers and editors
	March 24, 2017

	Hartmann and Gaddy
	Procedure writers and editors
	April 5, 2017

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	May 26, 2017

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	June 23, 2017

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	July 24, 2017

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	September 27, 2017

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	October 27, 2017

	Hartmann, Gaddy, Ballew ,and Frosch
	Procedure writers and editors
	December 22, 2017

	Hartmann, Gaddy, Ballew ,and Frosch
	Procedure writers and editors
	February 22, 2018

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	April 2, 2018

	Hartmann, Gaddy, Ballew ,and Frosch
	Procedure writers and editors
	April 27, 2018

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	August 24, 2018

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	September 27, 2018

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	December 21, 2018

	Hartmann, Gaddy, and Ballew
	Procedure writers and editors
	January 25, 2019

	Hartmann, Gaddy, and Frosch
	Procedure writers and editors
	March 26, 2019

	Hartmann, Gaddy, and Pence
	Procedure writers and editors
	July 29, 2019

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	October 29, 2019

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	December 20, 2019

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	January 27, 2020

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	February 24, 2020

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	June 25, 2020

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	December 23, 2020

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	March 26, 2021

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	April 29, 2021

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	June 11, 2021

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	July 8, 2021

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	July 28, 2021

	Hartmann, Gaddy, Cyphers, and Sheets
	Procedure writers and editors
	August 27, 2021

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	November 29, 2021

	Hartmann, Gaddy, Cyphers, and Frosch
	Procedure writers and editors
	December 17, 2021

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	January 27, 2022

	Hartmann, Gaddy, Cyphers, and Frosch
	Procedure writers and editors
	February 24, 2022

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	May 20, 2022

	Hartmann, Gaddy, Cyphers, and Frosch
	Procedure writers and editors
	July 25, 2022

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	October 3, 2022

	Hartmann, Gaddy, and Cyphers
	Procedure writers and editors
	October 12, 2022

	Hartmann, Gaddy, Cyphers, and Frosch
	Procedure writers and editors
	December 22, 2022

	Hartmann, Gaddy, Cyphers, and Frosch
	Procedure writers and editors
	March 28, 2023

	Hartmann, Gaddy, Cyphers, and Luker
	Procedure writers and editors
	June 5, 2023 

	Hartmann, Gaddy, Cyphers, and Luker
	Procedure writers and editors
	June 26, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	September 28, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	October 27, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	November 2, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	November 28, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	December 20, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	January 30, 2023

	Hartmann, Cyphers, and Luker
	Procedure writers and editors
	February 27, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	April 29, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	June 25, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	July 29, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	August 28, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	October 29, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	November 22, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	December 20, 2024

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	January 28, 2025

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	August 27, 2025

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	September 12, 2025

	Hartmann, Cyphers, Luker and Smith
	Procedure writers and editors
	October 30, 2025


Manual Change History

	Procedure
	Ver/Rev
	Reason for Issue
	Effective Date

	All Sections
	1.0 / 0
	New procedures for all sections for Nodal implementation
	November 28, 2010

	2.4

3.1

3.2

3.4

3.5

3.6

4.2

5.3
	1.0 / 1

1.0 / 1 

1.0 / 1

1.0 / 1

1.0 / 1

1.0 / 1

1.0 / 1

1.0 / 1
	Updated Categories and Priorities

Updated Response to High Frequency steps 15, 20 and 25 minutes and Response to Low Frequency step 15

Updated steps Failure Indication/Issues and QSE Capacity Issues

Updated steps AGC/RLC Issues, System Wide Capacity Issue and AGC/RLC Issues Resolved 

Updated step 1

Updated step Capacity Surplus

Updated step 2, 3, 4 and 5

Updated all steps of “Implement Level 2B” 
	December 1, 2010

	4.1

4.2

5.2


	1.0 / 1

1.0 / 2

1.0 / 1


	Updated step “MP unable to Override”

Updated step 1 & 2

Updated step 1 in sections WATCH and Advisory
	December 15, 2010

	3.1

3.2

3.3

3.4

4.1

5.1

5.4


	1.0 / 2

1.0 / 2

1.0 / 1

1.0 / 2

1.0 / 2

1.0 / 1

1.0 / 1


	Updated step “BAAL”

Updated step “AGC Issues Resolved”

Updated step “Hotline”

Updated step “Failure Indications, AGC/RLC Issues, System Wide Capacity Issue, AGC/RLC Issues Resolved”

Updated step 2 in “Workflow Controller Messages”, added new procedure “Exceeding West – North Stability Limit”, updated Note in “Generation Resource Shut-down/Start-up Process” 

Updated step 1 in “Watch” and step Hotline in “Scripts”

Updated step 1 in “Move from EEA level 3 to EEA lever 2B”
	January 5, 2011

	2.4

2.5

2.6

2.7

3.1

3.2

3.3

3.4

3.5

4.1

4.2

5.1

5.2

5.3

5.4

5.5

6.1

6.2

6.3
	1.0 / 0

1.0 / 2

1.0 / 0

1.0 / 0

1.0 / 3

1.0 / 3

1.0 / 2

1.0 / 2

1.0 / 1

1.0 / 3

1.0 / 3

1.0 / 2

1.0 / 2

1.0 / 2

1.0 / 2

1.0 / 1

1.0 / 1

1.0 / 1

1.0 / 1
	Added new procedure

Changed procedure number

Added new procedure

Added new procedure

Updated sections “Maintain System Frequency”, “Response to High Frequency”, “Response to Low Frequency” and “Actions when Frequency Telemetry in Incorrect.

Combined sections 3.3, 3.4 & 4.2 into 3.2

Changed 3.5 “Potential DCS Event” to 3.3 & updated whole procedure  

 Changed 3.6 “Monitor Capacity Reserves & Respond to Capacity Issues to 3.4

Changed 3.7 “Monitor and Control Time Error Correction to 3.5 & updated script

Deleted Exceeding West-North Stability Limit

Deleted Procedure

Updated script

Updated step 1 in “Advisory” and “Watch”

Updated all steps

Updated all steps

Updated all steps

Updated all steps

Updated all steps

Updated OCN
	January 31, 2011

	2.6

3.2

3.3

3.4

3.6

5.1

5.2
	1.0 / 1

1.0 / 4

1.0 / 3

1.0 / 3

1.0 / 0

1.0 / 3

1.0 / 3
	Updated step Site Failovers

Updated step 3 in SCED Failure, step 4 in RLC Failure, Note in LFC (AGC) Failure and step 2 in EMS (LFC and RLC/SCED Failure

Updated step 3

Updated step Capacity Shortage

Added new procedure

Updated Watch and Emergency Notice

All step 1’s
	March 25, 2011

	2.6

3.1

3.2

3.3

3.6

5.1

5.4

5.5
	1.0 / 2

1.0 / 4

1.0 / 5

1.0 / 4

1.0 / 1

1.0 / 4

1.0 / 3

1.0 / 2
	Added steps and updated whole procedure 

Added new step to Maintain System Frequency and updated Response to High Frequency & Response to Low Frequency

Updated steps 2, 3, 5 in SCED Failure; steps 2, 3, 4, 6 in RLC Failure; steps 1, 3 in LFC (AGC) Failure; steps 2, 5 in EMS (LFC and RLC/SCED) Failure

Updated NERC Recovery Criteria, step 1 & 4

Updated 1st script

Updated step 1 in Watch and Emergency Notice and step Post

Updated 1st and 2nd script in Restore Firm Load, Updated 1st in Move From EEA Level 3 to EEA Level 2B

Updated step 3
	April 22, 2011

	3.3

5.1

5.3

5.4

6.1

6.2

6.3

6.4
	1.0 / 5

1.0 / 5

1.0 / 3

1.0 / 4

1.0 / 2

1.0 / 0

1.0 / 2

1.0 / 2
	Updated step NERC Recovery Criteria

Updated all step 1’s

Updated step 1 in Implement EEA Level 1, step 1 in Implement EEA Level 2A, added note and updated step 2 in Implement EEA Level 2B, step 1 in Implement EEA Level 3

Updated all step 1’s

Updated all steps 

Added new procedure

Updated section number and all steps

Updated section number and all steps
	June 8, 2011

	2.6

3.1

5.1

5.2

5.3

5.4

8.1


	1.0 / 3

1.0 / 5

1.0 / 6

1.0 / 4

1.0 / 4

1.0 / 5

1.0 / 1


	Added step If EBPs are needed”, updated step IF EBPs are needed and W-N was Active before site failover started

Added step Hydro, updated step Frequency Deviations 

Updated step Watch

Updated all steps 

Updated 1st note, step 1 in EEA level 1 & 2A

Updated step 1 in Move for EEA level 1 to 0

Added Market Participant Backup Control Center Transfer procedure
	July 20, 2011

	3.1

3.2

3.4

4.1

6.4

6.5
	1.0 / 6

1.0 / 6

1.0 / 4

1.0 / 4

1.0 / 0

1.0 / 3
	Updated step Monitor, 15 minutes, 20 minutes, and 25 minutes in Response to High Frequency 

Updated step 2 in LFC Failure, step 4 & 5in EMS Failure

Updated step Capacity Surplus

Updated step 2 in Workflow Controller Messages

Added new procedure “Extreme Hot Weather”

Changed section number
	August 3, 2011

	2.7

3.1

5.1

5.2

5.3

5.4

6.4

7.1
	1.0 / 1

1.0/ 7

1.0 / 7

1.0 / 5

1.0 / 5

1.0 / 6

1.0 / 1

1.0 / 1
	Updated step Hotline Call

Updated NERC Standard reference table

Added projected reserve capacity shortage and Extreme Hot Weather in Watch

Updated step 1 in Advisory & Watch

Updated 2nd Note, step 1 in Implement EEA 1, step Media Appeal & 1 in Implement EEA 2A, 1st Note & step 2 in Implement EEA 2B

Added Note to Move From EEA 3 to EEA 2B and Move From EEA 2A to EEA 1

Updated temperature from 102 to 103

Updated 4th note and step 1
	September 1, 2011

	3.2

5.3

5.4
	1.0 / 7

1.0 / 6

1.0 / 7
	Updated SCED Failure step 2 and 3, RLC Failure step 3 and LFC (AGC) Failure step 3

Combined EEA 2A & B per NPRR 379

Combined EEA 2 A & B per NPRR 379
	October 1, 2011

	3.2
	1.0 / 8
	Updated script for LFC and EMS Failure
	November 1, 2011

	2.4

2.6

4.1

5.1

6.3


	1.0 / 1

1.0 / 4

1.0 / 5

1.0 / 8

1.0 / 3


	Added step Review, Updated “Site Failover with W-N Active”

Added Note to Large Resource Trips or Runbacks

Updated Post in “Scripts” Updated “OCN” and “Advisory” 

All procedures in this manual have been reviewed.
	December 15, 2011

	1.2

3.1

4.1

8.1


	1.0 / 1

1.0 / 7

1.0 / 6

1.0 / 2


	Updated Scope

Updated Response to High Frequency & Response to Low Frequency

Updated Large Resource Trips or Runbacks, Quick Start Generation Resource

Updated Market Participant Backup Control Center Transfer 
	January 19, 2012

	2.1

3.1

5.1

5.3

7.1

8.1


	1.0 / 1

1.0 / 8

1.0 / 7

1.0 / 9

1.0 / 7

1.0 / 2

1.0 / 3


	Updated paragraph 4

Updated BAAL

Updated Desktop Guide reference & step QSE Override & QSE unable to Override

Updated step 1 in Watch

Updated Step 1 in Implement EEA Level 1

Updated Desktop Guide references

Changed title names, updated steps 1 & 3 & step Power System Stabilizers (PSS) & Automatic Voltage Regulators (AVR)
	March 1, 2012

	2.1

3.1

3.2

3.3

3.5

4.1

5.1

6.2

6.3

6.4

8.1


	1.0 / 2

1.0 / 9

1.0 / 9

1.0 / 6

1.0 / 2

1.0 / 8

1.0 / 10

1.0 / 4

1.0 / 2

1.0 / 4

1.0 / 4


	Changed TSO, DSP to TO

Changed Shift Engineer to Operations Support Engineer, removed Automatic SCED Runs & Hydro Generation in Fast Response Mode, updated Note, Monitor/Deploy, 15 minutes, 20 minutes in Response to Low Frequency 

Updated step 2, 4 & 5, added SCED Data Input Failure, updated RLC Failure, LFC Failure, & EMMS Failure sections

Updated NERC Recovery Criteria step & step 3

Updated Requirements and Notes

Changed Shift Engineer to Operations Support Engineer, deleted Large Resource Trips or Runbacks section

Updated OCN, Advisory, Watch, Emergency Notice sections

Deleted Cold Weather, replaced with Extreme Cold Weather

Section changed to Extreme Hot Weather, added OCN and Emergency Notice steps

Section number changed

Changed Shift Engineer to Operations Support Engineer
	May 1, 2012

	3.1

3.4

5.2
	1.0 / 10

1.0 / 5

1.0 / 6
	Added back step Hydro Generation Operating in Synchronous Condenser Fast Response Mode

Updated to reflect changes in the TAC approved Non-Spin document

Updated to reflect changes in the TAC approved Non-Spin document
	May 14, 2012

	2.6

5.3

5.4

6.3
	1.0 / 5

1.0 / 8

1.0 / 8

1.0 / 3
	Updated Site Failover step

Updated EILS to ERS per NPRR 451

Updated EILS to ERS per NPRR 451

Updated EILS to ERS per NPRR 451
	June 1, 2012

	1.3

2.6

5.1

5.3

5.4

6.2

6.3

7.1
	1.0 / 1

1.0 / 6

1.0 / 11

1.0 / 9

1.0 / 9

1.0 / 5

1.0 / 4

1.0 / 3
	Removed ERCOT Shift Supervisor paragraph

Updated all steps

Updated all step 1’s

Updated 2nd note, added TCEQ, & XML for ERS

Clarified LR and ERS recalls

Updated script for Emergency Notice

Updated script for Emergency Notice

Updated 4th note
	July 16, 2012

	2.6

3.1

4.1

5.3


	1.0 / 7

1.0 / 11

1.0 / 9

1.0 / 10


	Added note to step Database Load

Updated Frequency Deviations and Monitor Frequency for the Loss of EMS or Site Failover

Incorporated NPRR348

Added 30 MIN ERS and updated steps 1, 2 & 3 on Implement EEA Level 1
	August 29, 2012

	2.2

2.5

3.5

4.1

5.3


	1.0 / 1

1.0 / 3

1.0 / 3

1.0 / 10

1.0 / 11


	Added Hotline Call Communication 

Updated step 3

Updated per NOGRR100

Added Note to Shut-down/Start-up Process and new Combine Cycle Generation Resources section

Updated ERS scripts

All procedures in this manual have been reviewed.
	November 1, 2012

	2.5

3.1

3.2

3.3

3.4

3.5

3.6

3.7

5.4


	1.0 / 4

1.0 / 12

1.0 / 0

1.0 / 10

1.0 / 7

1.0 / 6

1.0 / 4

1.0 / 2

1.0 / 10


	Updated step 3

Updated BAAL 

New procedure, Monitor Large Ramp Events

Updated section # & SCED failure step 2

Updated section #

Updated section #

Updated section #

Updated section #

Updated Cancel Watch

All procedures in this manual have been reviewed.
	March 1, 2013

	2.6

2.7

3.1

3.2
3.3

3.4

3.7

4.1

5.1

5.2

5.3

5.4

5.5

6.1

6.2

6.3

6.4
	1.0 / 8

1.0 / 2

1.0 / 13

1.0 / 1

1.0 / 11

1.0 / 8

1.0 / 3

1.0 / 11

1.0 / 12

1.0 / 8

1.0 / 12

1.0 / 11

1.0 / 3

1.0 / 3

1.0 / 6

1.0 / 5

1.0 /5
	Updated scripts

Updated scripts

Updated Monitor Frequency for the Loss of EMS or Site Failover & Actions when Frequency Telemetry is Incorrect 

Updated scripts

Updated scripts

Updated script

Updated scripts

Added QSGR Decommitment step to QSGR

Added Generic and Specific scripts

Updated Note and scripts

Updated TCEQ section and scripts

Updated scripts

Updated scripts

Updated scripts

Updated scripts

Updated scripts

Correct spelling and updated script
	June 1, 2013

	2.6

3.1

3.2

3.8

5.1

5.3

5.4
	1.0 / 9

1.0 / 14

1.0 / 2

1.0 / 0

1.0 / 13

1.0 / 13

1.0 / 12
	Changed title name & updated step EMS Changes & added MMS Changes

Updated steps Base Point Deviation & 10 Minutes 

Updated 1st note

Moved procedures from Resource desk 

Updated step 1 in Watch & Emergency Notice

Updated step Pilot Project WS ERS

Updated step Reserves
	July 15, 2013

	2.6

3.2

3.8

4.1
	1.0 / 10

1.0 / 3

1.0 / 1

1.0 / 12
	Updated MMS Changes

Updated 1st Note

Updated Unit & Load RRS Shortage & Not Dispatchable to SCED

Updated Shutdown/Startup
	August 9, 2013

	3.8


	1.0 / 2


	Updated Unit RRS Shortage, Load RRS Shortage, REG Shortage, & added Real-Time Non-Spin Shortage
	September 27, 2013

	2.4

3.1

3.2

3.3

3.4

3.5

3.7

4.1

5.1

5.2

5.3

5.4

5.5

6.1

6.2

6.3

6.4

7.1

8.1


	1.0 / 2

1.0 / 15

1.0 / 4

1.0 / 12

1.0 / 9

1.0 / 7

1.0 / 4

1.0 / 13

1.0 / 14

1.0 / 9

1.0 / 14

1.0 / 13

1.0 / 4

1.0 / 4

1.0 / 7

1.0 / 6

1.0 / 6

1.0 / 4

1.0 / 5


	Updated step Log

Updated step Frequency Deviations & step Log

Updated step Log

Updated step Log

Updated step Log

Added step RMR & updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated step Log

Updated note and step Log

Updated step Log

Added & updated step Log

All procedures in this manual have been reviewed
	December 13, 2013

	2.6

3.3

5.1


	1.0 / 11

1.0 / 13

1.0 / 15


	Updated for NPRR542

Updated for NPRR542

Updated for NPRR542, deleted West to North GTL and updated procedure for North to Houston to a new GTL
	January 1, 2014

	2.6

3.1

3.3

3.5

3.6

4.1

5.3

5.4

6.4

8.1


	1.0 / 12 1.0 / 16

1.0 / 14

1.0 / 8

1.0 / 5

1.0 / 14

1.0 / 15

1.0 / 14

1.0 / 7

1.0 / 6


	Updated Site Failover Complete

Updated VDI information, step Monitor/Deploy & step 10 Minutes in Response to Low Frequency

Updated VDI information

Updated VDI information

Updated step Terminating Time Error Correction

Updated VDI information

Updated ERS, Media appeal, TCEQ and VDI information

Updated steps Reserves and 1 in Restore firm load and step 2 in Move From EEA Level 2 to EEA Level 1  

Updated Note

Updated Requests to Decommit Self-committed Resource in Operating Period
	April 4, 2014

	2.2

3.1

3.3

4.1

5.1

5.2

6.2

6.3
	1.0 / 2

1.0 / 17

1.0 / 15

1.0 / 15

1.0 / 16

1.0 / 10

1.0 / 8

1.0 / 7
	Added VDIs to Master QSEs

Updated step BAAL

Updated SCED Failure & SCED Data Input Failure steps

Updated QSGR in Quick Start Generation Resource

Added Note, updated Market Notices Advisory & Watch

Updated Watch steps

Updated Emergency Notice step

Updated Emergency Notice step
	June 1, 2014

	3.5

5.3
	1.0 /9

1.0 / 16
	Updated Deploying Non-Spin, added HASL Release & Recall

Added Media Appeal
	August 1, 2014

	4.1

5.1

5.3
	1.0 / 16

1.0 / 17

1.0 / 17
	Updated Reference section step 2

Updated Generic Script

Added HASL Release step
	October 1, 2014

	2.3

2.4

2.6

3.3

3.5

5.1

5.3


	1.0 / 1

1.0 / 3

1.0 / 13

1.0 / 16

1.0 / 10

1.0 / 18

1.0 / 18


	Updated all steps

Updated step Send E-mail

Deleted Site Failover with W-N Active & updated step If EBPs are Needed 

Updated 1st note & updated scripts

Added new procedure, “Valley Generation”

Updated GMD scripts

Updated scripts to consolidate

All procedures in this manual have been reviewed
	December 15, 2014

	6.2
	1.0 / 9
	Updated Note and scripts
	December 22, 2014

	2.2

3.1

3.2

3.5

3.9

6.2
	1.0 / 3

1.0 / 18

1.0 / 5

1.0 / 11

1.0 / 0

1.0 / 10
	Added Dispatch and VDI definitions

Updated Objective and BAAL Updated procedure

Updated step 1 and added Log on Valley Generation

Added new procedure for NOGRR136

Updated scripts
	March 1, 2015

	3.1

3.3

3.5

3.10

4.1

5.1
	1.0 / 19

1.0 / 17

1.0 / 12

1.0 / 0

1.0 / 17

1.0 / 19
	Clarification to step Frequency Deviation & Hydro Operating in Synch. Condenser Mode 

Updated Dispatch Instruction scripts

Clarification to step HASL Release Manually Deploy RRS

New GMD procedure

Updated Dispatch Instruction scripts

Deleted script for GMD
	March 30, 2015

	2.6

2.7

3.2

3.3

3.4

3.63.7

3.10

5.1

5.2

5.3

5.4

5.5

6.1

6.2

6.3

6.4
	1.0 / 14

1.0 / 3

1.0 / 6

1.0 / 18

1.0 / 10

1.0 / 6

1.0 / 5

1.0 / 1

1.0 / 20

1.0 / 11

1.0 / 19

1.0 / 15

1.0 / 5

1.0 / 5

1.0 / 11

1.0 / 8

1.0 / 8
	Moved scripts to new script procedure

Moved scripts to new script procedure

Updated 1st note and moved scripts to new script procedure

Updated step 2 on SCED Data Input Failure & moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Updated 4th bullet on Emergency Notice & moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure

Moved scripts to new script procedure
	May 1, 2015

	All Sections

2.6

3.5

3.9

3.10 

5.1

5.2

6.3
	1.0 / 1

1.0 / 15

1.0 / 13

1.0 / 1

1.0 / 2 

1.0 / 21

1.0 / 12

1.0 / 9
	Added a “Q” for numbered QSE scripts

Renamed section to Site Failovers and Database Loads

Updated link for Monitor in the Valley Generation 

Updated 1st Note

Updated Procedure Purpose and removed script 

Updated Specific Scripts, New GTC 

Updated Q#1, Q#2, Q#3, & Q#4 Script titles

Removed Watch script 
	July 15, 2015

	2.6

3.2

3.3

3.4

3.6

3.7

3.9

3.10

5.1

5.2

5.3

5.4

5.5

6.1

6.2

6.3

6.4
	1.0 / 16

1.0 / 7

1.0 / 19

1.0 / 11

1.0 / 7

1.0 / 6

1.0 /2

1.0 / 3

1.0 / 21

1.0 / 13

1.0 / 20

1.0 / 16

1.0 / 6

1.0 / 6

1.0 / 12

1.0 / 10

1.0 / 9
	Updated step MMS Changes Typical Script Q#19 Updated step Site Failover Q#20

Updated step Site Failover Complete Q#21

Updated Step If EBP’s are needed Q#22

Updated step Site Failover Complete If EBP’s were needed Q#23

Updated step 2 Q#26

Updated SCED Failure step 2 Q#27 & step 4 Q#28

Updated SCED Data Input Failure step 1 Q#29

Updated RLC Failure step 2 Q#30 & step 4 Q#31

Updated LFC (AGC) Failure step 1 Typical Script step 2 Q#32, step 4 Typical script & Q#33

Updated EMMS (LFC and RLC/SCED) Failure step 1 Typical Script, step 2 Q#34, step 5 Typical Script  & Q#35

Updated step 3 Q#36

Updated step Initiating Time Error Correction Q#37

Updated step Terminating Time Error Correction Q#38

Updated step Issue Watch and Deploy Non-Spin Q#39

Updated step Issue Emergency Notice & Deploy Load Resources Q#40

Updated step Recall Load Resources Q#41

Updated step Recall Non-Spin Q#42

Updated step Start CFC Test & End CFC Test Typical Scripts

Updated step 1 Q#43

Updated step K Level Increases/Decreases Q#44

Updated step Cancel Q#45

Updated Title Operating Condition Script

Updated step Hotline Q#46

Updated step Hotline Cancellation Q#47

Updated Title Specific Scripts for Transmission Operator [State Estimator/RTCA/VSAT]

Updated step State Estimator/RTCA Not Solved In 30 MIN Q#48 & Q#49

Updated step VSAT Not Solved In 30 MIN Q#50 & Q#51

Updated step Qualifying Facility Directed to Operate Below LSL Q#52 & Q#53

Updated step New GTC Q#54

Updated step Transmission Watch Q#55 & Q#56

Updated Advisory step Issue Advisory Q#1

Updated Advisory step Cancel Advisory Q#2

Updated Watch step Issue Watch Q#3

Updated Watch step Cancel Watch Q#4

First Note, Updated Implement EEA Level 1 step EEA 1 PRC <2300 Q#5 & Q#6

Updated Implement EEA Level 2 step ERS Resources Q#7

Updated Implement EEA Level 2 step Load Resources Q#8

Updated Implement EEA Level 2 step When ERS Business Hours Change Q#9

Updated Implement EEA Level 3 step When ERS Business Hours Change Q#12, and 

Implement NPRR708 for EEA, Updated Restore Firm Load step 1 Q#13

Updated Move From EEA Level 3 to EEA Level 2 step 1 Q#14

Updated Move From EEA Level 2 to EEA Level 1 step 1 Q#15

Updated Move From EEA Level 1 to EEA Level 0 step 1 Q#16

Updated Cancel Watch step 1 Q#17

Updated step Return to Normal QSE Notification Q#57

Updated step Emergency Notice Q#61

Updated step Emergency Notice Q#65

Updated step Emergency Notice Q#69

Updated step OCN/Advisory/Watch Q#70

All procedures in this manual have been reviewed
	December 31, 2015

	1.3

2.1

3.3

5.1


	1.0 / 2

1.0 / 3

1.0 / 20

1.0 / 22


	Removed Interchange Coordinator

Updated System Operator Responsibility and Authority

Updated SCED Failure Note

Corrected spelling Qualifying Facility Directed to Operate below LSL Q#52
	March 1, 2016

	2.4

3.1

3.2

4.1
	1.0 / 4

1.0 / 20

1.0 / 8

1.0 / 18
	Added 2nd Send E-Mail

Updated Frequency bias and BAAL step

Updated Down Ramp Event step 2

Updated QSGR Qualification Test
	April 29, 2016

	2.1

2.2

3.1

3.3

3.5

3.9

4.1

5.1

5.5
	1.0 / 4

1.0 / 4

1.0 / 21

1.0 / 21

1.0 / 14

1.0 / 3

1.0 / 19

1.0 / 23

1.0 / 7
	Updated for COM-002-4

Updated for COM-002-4

Updated for BAL-001-2 and COM-002-4

Updated for COM-002-4

Updated Deploying Non-Spin step

Updated for COM-002-4

Updated for COM-002-4

Updated for COM-002-4

Updated for COM-002-4
	June 30, 2016

	5.3
	1.0 / 21
	Changed Business Hour to Time Period
	July 15, 2016

	2.2

3.3


	1.0 / 5

1.0 / 22


	Added Hotline Call Communication Note

Added SCED Failure Frequency Guidelines

Updated LFC Failure Step 2 Q#32 Script Title

Updated LFC Failure Step 4 Q#33 Script Title

Updated EMMS Failure step 2 Q#34 Script Title

Updated EMMS Failure step 5 Q#35 Script Title
	September 30, 2016

	3.5

5.1


	1.0 / 15

1.0 / 24


	Updated Valley Generation step 1

Added  Specific Scripts for Transmission Operator step Transmission Emergency script Q#71
	November 2, 2016

	4.1


	1.0 / 20


	 Added Real-Time Data Issues known by the QSE

All procedures in this manual have been reviewed
	December 30, 2016

	1.3

2.1

2.5

2.6

2.7

3.2

3.10

5.1

5.3

5.5

6.1

6.2

6.3

8.1
	1.0 / 3

1.0 / 5

1.0 / 5

1.0 / 17

1.0 / 4

1.0 / 9

1.0 / 4

1.0 / 25

1.0 / 22

1.0 / 8

1.0 / 7

1.0 / 13

1.0 / 11

1.0 / 7
	Updated Roles/Responsibilities section

Updated for IRO-001-4

Updated categories to show RAS

Updated procedure purpose 

Updated procedure purpose

Deleted ELRAS and held location open

Updated procedure purpose

Updated title and all 1st steps

Removed step WS ERS

Added Implement EEA Level 3 step EEA3 PRC <1000 MW

Updated first note

Updated procedure purpose

Updated procedure purpose

Updated procedure purpose

Updated procedure purpose
	March 31, 2017

	3.1
	1.0 / 22
	Updated Frequency bias
	April 4, 2017

	3.3

5.1
	1.0 / 23

1.0 / 26
	Added section on ICCP Outages

Updated Transmission Watch
	April 6, 2017

	3.1

3.5


	1.0 / 23

1.0 / 16


	Updated Response to Low Frequency step Monitor/Deploy

Updated Insufficient Generation step Deploying Non-Spin
	June 1, 2017

	3.1

5.3


	1.0 / 24

1.0 / 23


	Updated Response to Low Frequency step 25 Minutes

Updated 1st note, step EEA Level 2 and EEA Level 3
	June 30, 2017

	2.4

3.1

5.3
	1.0 / 5

1.0 / 25

1.0 / 24
	Updated steps

Added note Response to Low Frequency

Updated step 20 Minutes and added scripts

Added note Implement EEA Level 2 and Level 3
	July 28, 2017

	3.1

3.3


	1.0 / 26

1.0 / 24


	Updated Response to Low Frequency step 10 Minutes

Updated LFC (AGC) Failure steps 1 & 3

Updated EMMS (LFC and RLC/SCED) Failure steps 1,3, &4
	September 29, 2017

	3.9
	1.0 / 4
	Updated note
	October 31, 2017

	2.4

3.4

7.1
	1.0 / 6

1.0 / 12

1.0 / 5
	All procedures in this manual have been reviewed

Updated steps

Updated procedure for BAL-002-2

Updated Primary Control Center 4th note
	December 28, 2017

	3.3

3.5

3.9
	1.0 / 25

1.0 / 17

1.0 / 5
	Updated ICCP Ouages to include MIS and outage scheduler

Added Note

Updated Start CFC Test & End CFC Test
	February 28, 2018

	3.1
	1.0 / 27
	Updated Maintain System Frequency step Objective
	April 5, 2018

	2.2

2.7

3.3

3.9
	1.0 / 6

1.0 / 5

1.0 / 26

1.0 / 6
	Updated procedure purpose

Updated steps

Updated steps LFC (AGC) Failure and EMMS (LFC and RLC/SCED) 

Updated steps
	May 1, 2018

	3.1

3.3

3.9

5.3
	1.0 / 28

1.0 / 27

1.0 / 7

1.0 / 25
	Updated Response to High Frequency & Response to Low Frequency steps Monitor

Updated SCED Failure step3

Updated SCED Data Input Failure step 2

Updated RLC Failure step NOTE and step 3

Updated LFC (AGC) Failure NOTE, step 1 & 5 Added step 4.  Moved step 4 to step 5 

Updated EMMS (LFC and RLC/SCED) Failure step 1, 3, & 5

Updated Note

Added Implement EEA Level 3 step
	August 31, 2018

	3.1

5.1
	1.0 / 29

1.0 / 27
	Updated Monitor Frequency for the Loss of EMS or Site Failover

Updated for NPRR 825
	October 1, 2018

	3.3

5.3


	1.0 / 28

1.0 / 26


	Added STATE ESTIMATOR (SE)/Real-Time Contingency Analysis (RTCA)

Deleted duplicate Log step

All procedures in this manual have been reviewed
	December 28, 2018

	2.4
	1.0 / 7
	Updated steps
	January 31, 2019

	3.1
	1.0 / 30
	Updated Maintain System Frequency step Objective
	April 1, 2019

	3.1

4.1


	1.0 / 31

1.0 / 21


	Updated Response to High Frequency step Monitor & Response to Low Frequency steps

Updated SCED Solution Time Parameter step Automatic Trigger
	August 1, 2019

	3.5

5.3
	1.0 / 18

1.0 / 27
	Updated Manually Deploy RRS and Recall steps

Added Implement EEA Level 1 step 
	November 1, 2019

	5.3

5.4


	1.0 / 28

1.0 / 17


	Updated MSSC

Updated MSSC

All procedures in this manual have been reviewed
	January 1, 2020

	3.1

3.3

3.5

5.4

7.1
	1.0 / 32

1.0 / 29

1.0 / 19

1.0 / 18

1.0 / 6
	Clarified RUC commits/decommits

Clarified RUC commits/decommits

Clarified RUC commits/decommits

Clarified RUC commits/decommits

Updated Primary Control Center steps 1 & 3
	January 31, 2020

	3.1

3.3

7.1
	1.0 / 33

1.0 / 30

1.0 / 7
	Updated Response to Low Frequency

Added Note to LFC (AGC) Failure & EMMS (LFC and RLC/SCED) Failure

Updated Title and removed Alternate Control Center
	February 28, 2020

	2.1

5.1

5.4
	1.0 / 6

1.0 / 28

1.0/19
	Added Advance Action Notice per NPRR930

Added Advance Action Notice section per NPRR930

Updated Cancel Watch
	July 1, 2020

	2.6

2.7

3.3

3.9

5.1

5.2

6.1

6.2

6.3

6.4

8.1


	1.0 / 18

1.0 / 6

1.0 / 31

1.0 / 8

1.0 / 29

1.0 / 14

1.0 / 8

1.0 / 14

1.0 / 12

1.0 / 10

1.0 / 8


	Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039 & added Note

Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039

Updated for NPRR1039

All procedures in this manual have been reviewed
	December 31, 2020

	2.3

3.1

3.9
	1.0 / 2

1.0 / 34

1.0 / 9
	Organization change

Organization change

Organization change
	April 1, 2021

	2.6

5.1
	1.0 / 19 

1.0 / 30
	Changed Notice Builder to Grid Conditions Communications (GCC) Notices

Added information on AAN information 
	May 6, 2021

	2.3

2.4

5.3

5.4
	1.0 / 3

1.0 / 8

1.0 / 29

1.0 / 20
	Updated email

Updated email

Added Note

Added Note
	June 16, 2021

	3.5

5.1

5.2

5.4
	1.0 / 20

1.0 / 31

1.0 / 15

1.0 / 21
	Updated for OBDRR031

Updated for OBDRR031

Updated for OBDRR031

Updated for OBDRR031
	July 12, 2021

	3.5

5.2
	1.0 / 21

1.0 / 16
	Updated for OBDRR031

Updated Cancel Watch
	July 31, 2021

	5.3
	1.0 / 30
	Updated 1st Note
	September 1, 2021

	5.2 

5.3
	1.0 / 17

1.0 / 31
	Updated for NPRR1106

Updated for NPRR1106
	December 1, 2021

	2.2

3.1

5.1

5.2

5.4

6.1

6.2

6.3

6.4


	1.0 / 7

1.0 / 35

1.0 / 32

1.0 / 18

1.0 / 22

1.0 / 9

1.0 / 15

1.0 / 13

1.0 / 11


	Updated step 1

Updated instruct to coordinate

Updated all steps

Updated for clarification

Updated Move From EEA Level 2 to EEA Level 1

Updated all steps

Updated all steps

Updated all steps 

Updated all steps

All procedures in this manual have been reviewed
	December 31, 2021

	6.4
	1.0 / 12
	Updated Note
	February 1, 2022

	2.8
	1.0 / 0
	New procedure section
	March 1, 2022

	3.1

3.5

3.7

5.3
	1.0 / 36

1.0 / 22

1.0 / 7

1.0 / 32
	Updated for NPRR939 & NOGRR191

Updated for NPRR939, NPRR1093 & NOGRR191

Updated for NPRR939

Updated for NPRR939 & NOGRR191
	May 26, 2022

	5.2
	1.0 / 19
	Updated Steps
	July 29, 2022

	5.3
	1.0 / 33
	Added ESR
	October 7, 2022

	3.1

5.2

5.3
	1.0 / 38

1.0 / 20

1.0 / 34
	Updated Response to Low Frequency steps

Updated Advisory

Updated RRS Release to HASL
	October 14, 2022

	3.5

5.2

5.3

5.4


	1.0 / 23

1.0 / 21

1.0 / 35

1.0 / 23


	Updated Deploying Non-Spin

Updated Media Appeal and TCEQ

Added Large Load Curtailment Program step and Watch

Updated Media Appeal, TCEQ and EEA 1

Added Cancel Advisory and Log

All procedures in this manual have been reviewed
	December 30, 2022

	3.1

5.3

6.4
	1.0 / 39

1.0 / 36

1.0 / 13
	Added Note Response to Low Frequency

Added Note

Updated procedure title and note
	March 31, 2023

	3.1

3.3

3.5

3.7

3.8

4.1

5.3

5.4
	1.0 / 40

1.0 / 32

1.0 / 24

1.0 / 8

1.0 / 3

1.0 / 22

1.0 / 37

1.0 / 24
	Updated for NPRR863

Updated for NPRR863

Updated for NPRR863

Updated for NPRR863

Updated for NPRR863

Updated for NPRR863

Updated for NPRR863

Updated for NPRR863
	June 9, 2023


	3.1

3.3

3.5

3.7

4.1

5.3
	1.0 / 41

1.0 / 33

1.0 / 25

1.0 / 9

1.0 / 23

1.0 / 38
	Updated Deploy to Release

Updated Deployments to Instructions

Updated Deploy to Release

Updated Note

Updated Deploy to Release

Updated Deploy to Release
	June 30, 2023

	5.3
	1.0 / 39
	Updated Q#7 Script Name
	October 4, 

2023

	5.2

5.3

5.4
	1.0 / 22

1.0 / 40

1.0 / 25
	Updated for NPRR1176

Updated for NPRR1176

Updated for NPRR1176
	November 1, 2023

	3.1

3.5
	1.0 / 42

1.0 / 26
	Updated for NPRR1176

Added Valley Units
	November 7, 2023

	3.4
	1.0 / 13
	Updated for NPRR1176
	December 1, 2023

	3.1

3.9

5.2

5.3

6.4

8.1


	1.0 / 43

1.0 / 10

1.0 / 23

1.0 / 41

1.0 / 14

1.0 / 9


	Updated For NPRR1176

Updated step Log

Updated Scripts

Removed ERS Resources in EEA2, Updated Scripts

Updated first Note

Updated step 1

All procedures in this manual have been reviewed
	December 29, 2023

	5.3
	1.0 / 42
	Updated step to ESR’s Charging during EEA 3
	February 2, 2024

	3.4

3.7


	1.0 / 14

1.0 / 10


	Updates step BAAL or near the 10-minute recovery time
Updated North to Houston IROL, added South Texas Export IROL and South Texas Import IROL.
	March 1, 2024

	3.8

5.4
	1.0 / 4

1.0 / 26
	Upated steps for clarification

Added step to ESR’s Charging, EEA 3 to EEA 2
	May 1, 2024

	3.3
	1.0 / 34
	Updated Step 4, Changed from TO to QSE
	June 28, 2024

	3.5
	1.0 / 27
	Added SCED Capacity Tool
	August 1, 2024

	3.5
	1.0 / 28
	Updated SCED Capacity Tool, Added back Trigger 2
	August 30, 2024

	5.1
	1.0 / 33
	Updated Q#50, Q#51 script
	November 1, 2024

	5.2

5.3

5.4
	1.0 / 24

1.0 / 43

1.0 / 27
	Removed ERS/Load Resources Hotline call 

Removed ERS/Load Resources Hotline call 

Removed ERS/Load Resources Hotline call
	December 1, 2024

	5.1


	1.0 / 34


	Updated script header Q#50, Q#51

All procedures in this manual have been reviewed
	December 31, 2024

	3.1
	1.0 / 44
	Removed Q#9 Script, Updated Q#8 script name, and updated Note
	January 31, 2025

	3.1

3.4

3.9
	1.0 / 45

1.0 / 15

1.0 / 11
	Updated Objective to align with NERC Standard 

Updated Reportable Balancing Contingency Event

Updated Note to align with NERC Standard
	August 30, 2025

	3.7
	1.0 / 11
	Added North Far West Texas Export IROL and South Far West Texas Import IROL
	September 15, 2025

	4.1
	1.0 / 24
	Updated Automatic trigger
	October 31, 2025


PAGE  

