Power Operations Bulletin # 2004
ERCOT has posted/revised the Resource Desk manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html
1.1
Purpose

This procedure provides the System Operator assigned to the Resource Desk with detailed Procedures required for performing duties assigned to that position.

The Resource Desk Operator shall  deploy/recall A/S (Non-Spin, Load Resources providing RRS or ECRS, etc.) as system conditions require or as instructed by the Shift Supervisor.  The Resource Desk Operator will also be responsible for various communication testing (Hotline, Satellite Phone, etc.), issuing market notifications and ERCOT Website postings using Grid Conditions Communications (GCC) Notices, compliance monitoring, Forced Outage Detection (Resources), monitoring and responding to telemetry issues, resolving Market Participant issues and questions, and assisting other desk Operators in the Control Room as needed.

1.2
Scope

The instructions contained in these procedures are limited to those required for the Resource Desk Operator.  Instructions for other ERCOT Control Room Positions are contained in separate procedures, one for each position.  These Procedures do not imply that the duties contained herein are the only duties to be performed by this position.  The individual assigned to this position will be required to follow any other instructions and to perform any other duties as required or requested by appropriate ERCOT Supervision.  

Although the steps within the procedures are numbered, the numbering is for indexing purposes and are not sequential in nature.  The System Operator will determine the sequence of steps, exclude steps, or take any additional actions required to ensure system security based on the information and situational awareness available during both normal and emergency conditions. 

2.1
System Operator Responsibility and Authority

Procedure Purpose: To ensure the System Operators know their roles, responsibility, and authority.

	Protocol Reference
	6.5.1.1
	6.5.1.2(3)
	6.5.2
	6.5.3(1)

	Guide Reference
	4.5.2(1)
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


ERCOT ISO as a Transmission Operator (TOP), the single Balancing Authority (BA), and only Reliability Coordinator (RC) registered within the ERCOT Interconnection shares all information between these roles simultaneously and acts concurrently as a single entity, satisfying coordination between the TOP, BA, and RC.

The System Operator (SO) shall, in accordance with NERC Reliability Standards and ERCOT Protocols, have clear decision-making authority to act to address the reliability of its RC Area by direct actions or issuing Dispatch Instructions / Operating Instructions during both normal and emergency conditions.  These actions shall be taken without delay and may include the shedding of firm load without obtaining approval from higher-level personnel.  

The SO on duty is, in accordance with the ERCOT Protocols, Operating Guides, and NERC Reliability Standards, and acting as the A, TOP, and RC shall request and receive information required to continually monitor the operating conditions and request that individual TOs and QSEs make changes, which will assure the security and reliability of the ERCOT System.

The SO issues Dispatch Instructions / Operating Instructions for the Real-Time Operation of Transmission Facilities to a TO, and a QSE for the Real-Time operation of a Resource. 

The SO shall, on an ERCOT-wide basis, coordinate the ERCOT System Restoration (Black Start) Plan.  The SO shall implement the Black Start Plan and shall direct the reconnection efforts of the islands, established by restoration activities.  The SO shall coordinate the mutual assistance activities of the ERCOT Participants during system restoration activities.

The SO shall consider all equipment operating limits when issuing Dispatch Instructions except as stated in Protocol Section 6.5.9, Emergency Operations, if a Dispatch Instruction conflicts with a restriction that may be placed on equipment from time to time by a TO or a Generation Resource’s QSE to protect the integrity of equipment, ERCOT shall honor the restriction.

The SO performs security analyses on a Day Ahead and Real-Time basis and ensures that all Forced Outages are entered into the Outage Scheduler. The SO shall obtain or arrange to provide Emergency Energy over the DC Tie(s) on behalf of ERCOT.

The SO shall issue appropriate OCN’s, AAN’s, Advisories, Watches, and Emergency Notices, and coordinate the reduction or cancellation of clearances, re-dispatch of generation, and request, order, or take other action(s) that the SO determines necessary to maintain safe and reliable operating conditions on the ERCOT System in accordance with ERCOT Protocols, Operating Guides, and NERC Reliability Standards.  The SO will implement and terminate ERCOT Time Corrections and will determine the need for and implement the operation of a QSE on Constant Frequency Control for loss of ERCOT’s Load Frequency Control System.

3.1
Compliance Monitoring

Procedure Purpose: To monitor QSE performance and shortages due to Resource status change to verify that there is enough dispatchable capacity to SCED, in addition to the automatic notifications sent to QSEs via the MIS Certified Area.

	Protocol Reference
	3.10.7.5.2(5)
	3.9
	3.9.1
	3.9.2 

	
	6.5.5.1(2)
	
	6.4.6 (2)(b)
	

	
	
	
	
	

	Guide Reference
	2.1(1)(h)
	2.2.1(3)(c)
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Monitor Resource Status for Discrepancies

	Telemetered Status
	REVIEW REFERENCE DISPLAY:

Market Participation>Physical Market>Market Operator Data>Consistency Checks

IF:

· Discrepancy is identified between a COP and telemetered Resource Status;
THEN:

· If time permits, call the QSE representing Resource to determine the correct resource status and have them make the necessary correction.

NOTE:  It is not necessary to make calls for inconsistent telemetry/COP for quick start units.  

	Log
	Log all actions.

	ON

TEST
	Review the list of “Approved Unit Tests” on the System Operations SharePoint; compare this list to the units showing a unit status of ONTEST.

WHEN:

· A unit with a status of ONTEST without an approved unit test exists; 

THEN:

· Notify the QSE that they do not have an approved unit test and cannot use the ONTEST status.

	Log
	Log all actions.

	

	
	

	
	


· 

· 

· 

· 

	
	
· 

· 

	
	

	

	


	



· 

· 

· 
· 

· 

· 

· 

· 
· 
· 

	
	

	




	





· 

· 
· 
· 
· 

· 

· 

· 

· 

	
	

	
	


3.2
Hold

	

	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


	
	
	


	
	

	
	· 
· 
· 

	

	
· 

· 
· 
· 

	
	
· 

· 

	



	
· 

· 
· 



3.3
Notifications for Diminishing Reserves, Deploying Non-Spin and ERS

Procedure Purpose:  Monitor the Physical Responsive Capability (PRC) for issuing advance notice of diminishing Responsive Reserve.  This also includes the deployment of Non-Spin when PRC drops below 3200 MW and deployment of Emergency Response Service (ERS) when PRC drops below 3000 MW.
	Protocol Reference
	3.17.3(2)
	6.5.7.6.2.2(13)
	6.5.7.6.2.3
	6.5.9.4.1

	Guide Reference
	4.5.3.1(1)(d)
	4.5.3.1(1)(e)
	
	

	NERC Standard
	EOP-011-2

R2, R2.1, R2.2, R2.2.3, R2.2.3.1
	IRO-001-4

R1
	TOP-001-6

R2
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Media

Appeal
	When an ERCOT-wide appeal through the public news media for voluntary energy conservation is made, make posting:

Typical ERCOT Website posting for media appeal: 

ERCOT has issued an appeal through the public news media for voluntary energy conservation for [Day, Date, HE XX:XX through XX:XX]. 

	PRC < 3200 MW
	IF:

· Notified by the Real-Time Desk Operator of the need to deploy Non-Spin due to PRC < 3200 MW.
THEN:

· Coordinate with the Real-Time Desk Operator and Shift Supervisor,

· Coordinate with the Transmission and Security Desk Operator to verify the Non-Spin does not create congestion,

· Deploy Non-Spin.
· Entering “Target MW”; The Target MW can be increased as needed. OR
· Selecting “Weather Zone” and deploy “Target MW” OR 
· Selecting “Deploy All”
(Refer to Desktop Guide Resource Desk Section 2.1.1)

· Post message on the ERCOT Website for Non-Spin deployment.
Typical ERCOT Website Posting for Non-Spin deployment: 
“At [xx:xx] approximately [xx] MW of Non-Spin has been deployed, anticipated duration is [xx].”

	Note
	The Projected Ramp Available in 30min represents the calculation HSL – (Regulation-Up Award + RRS Award + ECRS Award + Non-Spin Award(Online Resources)) – (GTBD + GTBD offset) – (IRR Curtailment) – (30-minute Net Load Ramp)

	Projected Ramp Available in 30min
	IF:
· Notified by the Real-Time Desk Operator of the need to deploy partial or All Non-Spin due to the Projected Ramp Available in 30min < -300;

THEN:

· Coordinate with the Real-Time Desk Operator and Shift Supervisor,

· Coordinate with the Transmission and Security Desk Operator to verify the Non-Spin does not create congestion,

· Deploy Non-Spin, if not already deployed by,
· Entering “Target MW”; The Target MW can be increased as needed OR
· Selecting “Weather Zone” OR
· Selecting “Deploy All”
(Refer to Desktop Guide Resource Desk Section 2.1.1)

· Post message on the ERCOT Website for Non-Spin deployment.
IF:

· Notified by the Real-Time Desk Operator of the need to deploy Non-Spin due to the Projected Ramp Available in 30min < -600;

THEN:

· Coordinate with the Real-Time Desk Operator and Shift Supervisor,
· Coordinate with the Transmission and Security Desk Operator to verify the Non-Spin does not create congestion,
· Deploy the available Non-Spin, as needed, if not already deployed by,
· Entering “Target MW”; The Target MW can be increased as needed OR
· Selecting “Weather Zone” OR
· Selecting “Deploy All”
(Refer to Desktop Guide Resource Desk Section 2.1.1)

· Post message on the ERCOT Website for Non-Spin deployment.

	Note
	If Non-Spin is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.

	Request

Resource

Stay Online
	IF:

· Notified by a QSE that their Off-line Non-Spin obligation has ended, AND

· The Resources is still needed; 

THEN:

· Request the RUC Desk Operator to issue an electronic Dispatch Instruction to RUC commit.

	

	
· 

· 
· 


	LOG
	Log all actions

	Note
	All Non-Spin must be deployed before requesting Large Load Curtailment participants to curtail consumption and deploying ERS.

	Request Large Load Curtailment Program
	WHEN:

· Notified by the ERCOT Shift Supervisor that the Large Load Voluntary Curtailment Program Participants were requested to curtail consumption;
THEN:
· Post message that Large Load Voluntary Curtailment Program Participants were requested to curtail consumption on the ERCOT Website.
Typical ERCOT Website Posting for Large Load Curtailment Program Participants:
ERCOT has requested the ERCOT Large Load Voluntary Curtailment Program Participants to curtail consumption.   ERCOT will send another notification when curtailment is no longer requested.

	Large Load Curtailment Program Ended
	WHEN:

· Notified by the ERCOT Shift Supervisor that the Large Load Voluntary Curtailment Program Participants requested to curtail consumption ended;

THEN:
· Post message that Large Load Voluntary Curtailment Program Participants requested to curtail consumption ended on the ERCOT Website.
Typical ERCOT Website Posting for Large Load Curtailment Program Participants Ended:
ERCOT has ended the request for ERCOT Large Load Voluntary Curtailment Program Participants to curtail consumption.

	Watch

	Note
	XML messages are required for all deployments of Load Resources and ERS Resources

	ERS-30
	ERS with a thirty-minute ramp period.

	ERS-10
	ERS with a ten-minute ramp period.

	WS-ERS
	Each Standard Contract Term(SCT) Request for Proposal (RFP) will state what time periods in that SCT weather sensitive can provide offers for.

	Issue

Watch, ERS Deployments & DVR
	WHEN:

· PRC falls < 3000 MW and is not projected to recover above 3000 MW within 30 minutes, AND all Non-Spin has been deployed;

THEN:

· Coordinate with the Real-Time Desk Operator, Transmission and Security Desk Operator and Shift Supervisor, 

· Post message for Watch on the ERCOT Website, AND
· Determine whether system conditions warrant the deployment of ERS-30 / ERS-10 / both ERS-30 and ERS-10 / Weather Sensitive,/ Distribution Voltage Reduction.  Refer to the ERS tab on the Real-Time Values Spreadsheet for amounts in each time period and number of times deployed:

· Consider the peak hour, deploy all ERS-30 / ERS-10 / both ERS-30 and ERS-10 / Weather Sensitive /  Distribution Voltage Reduction where available to prevent PRC from falling < 3000 MW,

· When deploying the ERS, always deploy the weather-sensitive ERS if available for the current time period. 

· Post message for deploying ERS-30/10/WS on the ERCOT Website.

· Coordinate with the Transmission and Security Desk Operator that ERCOT is requesting TOs to implement distribution voltage reduction measures if available.
· Post message for requesting Distribution Voltage Reduction on the ERCOT Website
Typical ERCOT Website Posting a Watch for PRC: 

“Use preformatted notice “PRC Watch <3000”

Typical ERCOT Website Posting for Non-Spin deployment: 
“At [xx:xx] approximately [xx] MW of Non-Spin has been deployed, anticipated duration is [xx].”

Typical ERCOT Website Posting for requesting distribution voltage reduction:
Reserves are below 3,000 MW. ERCOT is requesting TOs to implement distribution voltage reduction measures if available.

	Note
	All Non-Spin must be deployed before requesting Large Load Curtailment participants to curtail consumption and deploying ERS.

	ERS

Time Period

Changes
	IF:

· ERS Resources are deployed, and the Time Period is changing and if ERS is still needed; 

THEN:

· Deploy next Time Period

· Take into consideration the time requirement for the ERS-10  and ERS-30

	Cancel

Watch, Recall ERS & DVR
	WHEN:

· PRC > 3000 MW or greater;

THEN:

· Coordinate with Real-Time Desk Operator and Shift Supervisor, AND

· Send XML message to recall ERS, including Weather Sensitive

· ERS must be recalled first before hotline call is made (see Desktop Guide Resource Desk Section 2.3.3)

· Coordinate with the Transmission and Security Desk Operator to ensure TOs have been requested to return Distribution Voltage Reduction to normal operation.
· Cancel message(s) on ERCOT Website.

	Off-Line

Non-Spin Termination
	IF:
· Notified by the Real-Time Desk Operator that Non-Spin is no longer needed;

THEN:
· Recall the Non-Spin, by sending a Zero MW XML 
(Refer to Desktop Guide Resource Desk Section 2.1.4).
· Post message on the ERCOT Website to recall the Non-Spin
Typical ERCOT Website Posting for Non-Spin Recall: 

      “At [xx:xx], All Non-Spin has been recalled.”

	Log
	Log all actions.

	

	
· 

· 
· 

	Request

Resource

Stay Online
	IF:

· Notified by a QSE that their Off-line Non-Spin obligation has ended, AND

· PRC < 3000 MW;

THEN:

· Request that the Resource stay On-line,

· Request the RUC Desk Operator to issue an electronic Dispatch Instruction to RUC commit 

	Note
	If Non-Spin is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.  

	Cancel Watch
	WHEN:

· PRC > 3000 MW;

 THEN:

· Coordinate with the Real-Time Desk Operator and Shift Supervisor

· Cancel message for Watch on the ERCOT Website

	Log
	Log all actions.


3.4
System Failures

Procedure Purpose: To ensure Market Participants are notified via ERCOT Website using Grid Conditions Communications (GCC) Notices of any SCED/RLC/LFC (AGC) failures on the ERCOT systems.

	Protocol Reference
	6.5.9.2(2)
	6.5.9.3.3
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	TOP-001-6 R9
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	SCED/RLC/LFC (AGC) Failures

	1
	WHEN:

· Notified by the Real-Time Desk Operator of a SCED/RLC/LFC(AGC) failure;

THEN:
· Post the appropriate message on the ERCOT Website
· WATCH for SCED failure

· Emergency Notice if both MMS and EMS have failed

Typical ERCOT Website posting a Watch / Emergency Notice for SCED/RLC/LFC (AGC) Failure:
“ERCOT has issued an [Watch or Emergency Notice] due to the failure of [SCED/RLC Failure], and/or [LFC].”

	2
	WHEN:

· Notified by the Real-Time Desk Operator that SCED/RLC/LFC(AGC) has been restored;

THEN:

· Cancel message on the ERCOT Website

	Log
	Log all actions.

	ICCP, ERCOT Website, and Outage Scheduler Outages

	1
	WHEN:

· Notified by the Real-Time Desk Operator of an ICCP, ERCOT Website or Outage Scheduler failure;

THEN:
· Post an OCN on ERCOT Website
Typical OCN ERCOT Website posting ICCP, ERCOT Website and Outage Scheduler Outage:
“ERCOT has issued an OCN for the [planned / unplanned outage] of ERCOT’s [ICCP, ERCOT Website, and/or Outage Scheduler] outage.”

	2
	WHEN:

· Notified by the Real-Time Desk Operator that the ICCP, ERCOT Website and/or Outage Scheduler has been restored;

THEN:

· Cancel message on ERCOT Website

	Log
	Log all actions.


3.5
Responding to IROL/GTCs 

Procedure Purpose:  Deployment/Termination of Non-Spin Reserve Service and/or Load Resources for Congestion Management as requested by the Transmission and Security Desk Operator.

	Protocol Reference
	6.5.7.6.2.2(12)
	6.5.7.6.2.3(10)
	
	

	Guide Reference 
	
	
	
	

	NERC Standard
	EOP-011-2

R1, R1.1, R1.2, R1.2.4
	IRO-001-4

R1
	TOP-001-6

R1
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	North to Houston Interface

	Deploy

Non-Spin


	WHEN:

· Notified by the Transmission and Security Operator to deploy Non-Spin in the Houston area for the North-Houston Interface;

THEN:

· Deploy Non-Spin in the Houston area using the N_TO_H constraint or the Coast Weather Zone WZ_COAST (Refer to Desktop Guide Resource Desk Section 2.1.1 and 2.1.3)

	
	

	Note
	If Non-Spin is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.

	Deploy Load

Resources


	WHEN:

· Notified by the Transmission and Security Desk Operator to deploy Load Resources in the Houston area for the North-Houston Interface;

THEN:

· Deploy Load Resources in the Houston area (Coast Weather Zone WZ_COAST) by XML (Refer to Desktop Guide Resource Desk Section 2.2.1),
· Call appropriate QSE to notify them their LR was deployed.

	Recall

Load

Resources
	WHEN:

· Notified by the Transmission and Security Desk Operator to recall Load Resources in the Houston area for the North-Houston Interface;

THEN:

· Recall Load Resources in the Houston area (Coast Weather Zone WZ_COAST) by sending a Zero MW XML (Refer to Desktop Guide Resource Desk Section 2.2.2),
· Call appropriate QSE to notify them their LR was recalled. 

	Recall

Non-Spin
	WHEN:

· Notified by the Transmission and Security Desk Operator to recall Non-Spin in the Houston area for the North-Houston Interface;

THEN:

· Recall Non-Spin in the Houston area using the N_TO_H constraint or Coast Weather Zone WZ_COAST by sending a Zero MW XML, (Refer to Desktop Guide Resource Desk Section 2.1.4). 

	Log
	Log all actions.

	Rio Grande Valley Interface

	Deploy Load

Resources


	WHEN:

· Notified by the Transmission and Security Desk Operator to deploy Load Resources in the Rio Grande Valley;

THEN:

· Deploy Load Resources (Refer to Desktop Guide Resource Desk Section 2.2.1),

· Call appropriate QSE to notify them their LR was deployed.

	Recall

Load

Resources
	WHEN:

· Notified by the Transmission and Security Desk Operator to recall Load Resources in the Rio Grande Valley;

THEN:

· Recall Load Resources in the Rio Grande Valley (Refer to Desktop Guide Resource Desk Section 2.2.2),

· Call appropriate QSE to notify them their LR was recalled. 

	Log
	Log all actions.

	South Texas Export Interface

	Transmission Watch for South Texas Export Interface


	WHEN:

· Notified by the Shift Supervisor or Transmission and Security Desk Operator that ERCOT is issuing a Transmission watch for the South Texas Export Interface;

THEN:

· Verify GCC posting has been made from Transmission security.
· Coordinate with the Real Time desk to Remove A/S adversely impacting the South Texas Export.
IF:

· GCC post has not been posted;

THEN:

· Coordinate with the Transmission and Security Desk Operator to Post.

Typical GCC Posting:
· ERCOT is issuing a Transmission Watch for the South Texas Export interface. ERCOT will be utilizing A/S services and taking manual actions on specific resources to alleviate the condition.

	Note
	If Non-Spin is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.

	Deploy

Non-Spin


	WHEN:

· Notified by the Shift Supervisor or Transmission and Security Desk Operator to deploy Non-Spin due to the South Texas Export Interface;

THEN:

· Deploy Non-Spin as needed in partially or All.


	Note 
	Continue to Monitor PRC and System Conditions. There is a Potential risk of EEA.

	Note
	XML messages and Hotline calls are required for all deployments of Load Resources.

	Load

Resources
	WHEN:

· Notified by the Shift Supervisor or Transmission and Security Desk Operator 

THEN:

· Deploy Load resources as needed, Guide Resource Desk Section 2.2.1),

· Coordinate with Real-Time Desk to make QSE Hotline call.

	Transmission Emergency
	WHEN:

· Notified by the Shift Supervisor or Transmission and Security Desk Operator ERCOT is issuing a Transmission Emergency for the South Texas Export Interface;

THEN:

· Assist the Real-Time desk with System conditions and calls.
· Verify all GCC posting are made.
IF:

· Posting has not been made;
THEN:

· Post to GCC and notify the control room that the posting has been made.
Typical GCC Posting:
ERCOT is issuing a Transmission Emergency Notice for the South Texas Export interface. Load Resources are being deployed to help mitigate the issue.

	Note
	Verify all GCC posting have been made by the Transmission Desk if load shed has been implemented.
Typical GCC Posting:

ERCOT has shed *** MW’s of firm load due to the South Texas Export Interface.

	Recall

Load

Resources
	WHEN:

· Notified by the Transmission and Security Desk Operator to recall Load Resources;

THEN:

· Recall Load Resources.



	Cancel
	Make appropriate cancellations when back to normal operations.



	Log
	Log all actions.

	South Texas Import Interface

	Deploy Load

Resources


	WHEN:

· Notified by the Transmission and Security Desk Operator to deploy Load Resources in the South Texas area;

THEN:

· Deploy Load Resources (Refer to Desktop Guide Resource Desk Section 2.2.1),

· Call appropriate QSE to notify them their LR was deployed.

	Recall

Load

Resources
	WHEN:

· Notified by the Transmission and Security Desk Operator to recall Load Resources in the South Texas area;

THEN:

· Recall Load Resources in the South Texas area (Refer to Desktop Guide Resource Desk Section 2.2.2),

· Call appropriate QSE to notify them their LR was recalled.

	Log
	Log all actions.


3.6
Deploying Non-Spin for Local Congestion

Procedure Purpose:  Mitigating local congestion.

	Protocol Reference
	6.5.7.6.2.3(1)
	
	
	

	Guide Reference 
	
	
	
	

	NERC Standard
	EOP-011-2

R1, R1.1, R1.2, R1.2.4
	IRO-001-4

R1
	TOP-001-6

R1
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	1
	IF:

· Notified by the ERCOT Transmission and Security Desk Operator that specific Resources awarded Non-Spin are needed for local congestion; 

THEN:

· Deploy specific Resources

	Note
	If Non-Spin is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.

	2
	IF:

· The Non-Spin obligation ends for the Resource deployed, AND

· The Resource is still needed; 

THEN:

· Request the RUC Desk Operator to issue an electronic Dispatch Instruction to RUC commit

	3
	IF:

· An additional Resource is needed to be deployed; 

THEN:

· The previous Resource deployed will need to be deployed again, along with the additional Resource.

	Termination
	IF:
· Notified by the Transmission and Security Desk Operator that Non-Spin is no longer needed;

THEN:
· Recall the Non-Spin, by sending a Zero MW XML (Refer to Desktop Guide Resource Desk Section 2.1.4).

	Log
	Log all actions.


3.7
Deploying Non-Spin for Critical Inertia Level

Procedure Purpose:  Monitor and detect possible time periods when Critical Inertia Level may be inadequate based on expected online inertia with recommended actions.

	Protocol Reference
	6.5.7.6.2.3(10)
	
	
	

	Guide Reference 
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025

	Step
	Action

	Deploy

Off-Line

Non-Spin
	IF:

·  Notified by the ERCOT Reliability Risk Desk Operator of the need to deploy partially or All Non-Spin due to Critical Inertia Level.
THEN:

· Coordinate with the Reliability Risk Desk Operator and Shift Supervisor,

· Coordinate with the Transmission and Security Desk Operator to verify the Non-Spin does not create congestion,

· Deploy the desired partially or All  Non-Spin, as needed,

(Refer to Desktop Guide Resource Desk Section 2.1.1)

· Post message on the ERCOT Website for Non-Spin deployment.
Typical ERCOT Website Posting for Non-Spin deployment: 
“At [xx:xx] approximately [xx] MW of Non-Spin has been deployed, anticipated duration is [xx].”

	Note
	If Non-Spin is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.

	Request

Resource

Stay Online
	IF:

· Notified by a QSE that their Off-line Non-Spin obligation has ended, AND

· The Resources is still needed; 

THEN:

· Request the RUC Desk Operator to issue an electronic Dispatch Instruction to RUC commit.

	Note

	If “auto deployment” is enabled for Non-Spin deployment, any new Resources Awarded Non-Spin in the future SCED runs will also be automatically deployed by AS manager


· 

· 
· 


	Termination
	IF:
· Notified by the ERCOT Reliability Risk Desk Operator that Non-Spin is no longer needed;

THEN:
· Recall the Non-Spin, by sending a Zero MW XML 
(Refer to Desktop Guide Resource Desk Section 2.1.4).
· Post message on the ERCOT Website to recall the Non-Spin
Typical ERCOT Website Posting for Non-Spin Recall: 

“At [xx:xx], All Non-Spin has been recalled.”

	Log
	Log all actions.


3.8
Deployment of Load Resources to Maintain a Minimum 500 MW of  RRS from Primary Frequency Response Resources (PFR)

Procedure Purpose: Manually deploy Load Resources other than Controllable Load Resources providing ECRS or RRS before an Energy Emergency Alert (EEA), to maintain a minimum 500 MWs of Physical Responsive Capability (PRC) reserves on Generation Resources. 

	Protocol Reference
	
	
	
	

	Guide Reference 
	
	
	
	

	NERC Standard
	EOP-011-2

R2, R2.1, R2.2, R2.2.7
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025

	Step
	Action

	Maintain a Minimum 500 MW of Generation RRS
	IF:

· Notified by the Real Time Desk Operator of the need to deploy groups of Load Resources to maintain a minimum 500 MWs of Physical Responsive Capability (PRC) reserves on RRS-PFR.
THEN:

· Coordinate with the Real Time Desk Operator and Shift Supervisor,
· Coordinate with the Transmission and Security Desk Operator to verify the Load Resources does not create congestion,
· Deploy Load Resources,

· From UFR/ECRS display by entering “Target MW”, which will select resources in the following order

· Load Resources with ECRS Awards and relay disarmed

· Load Resources with ECRS Awards and relay armed 

· Load Resources with ECRS and RRS Awards and relay armed 

· Load Resources with RRS Awards and relay armed 

· From FFR display, deploy Load Resources with FFR Awards by entering “Target MW” 

· If needed, selecting “Deploy All” from UFR/ECRS and FFR displays will deploy all Load Resources with ECRS,UFR and FFR Awards. 

· Notify the Real-Time Desk Operator when XML message has been completed to make hotline call. Load Resources must be deployed first before hotline call is made,

(Refer to Desktop Guide Resource Desk Section 2.2.1)
· Post message on the ERCOT Website for Load Resource deployment.
Typical ERCOT Website Posting for Load Resource deployment: 
“At [xx:xx] Load Resources have been deployed to maintain a minimum 500 MWs of Physical Responsive Capability (PRC) reserves on Generation Resources.”

	Log
	Log all actions.


3.9
Deploying Fast Frequency Response (FFR) 

Procedure Purpose: To control frequency within defined limits.

	Protocol Reference
	6.5.7.6.2.2
	
	
	

	Guide Reference 
	
	
	
	

	NERC Standard
	IRO-001-4

R1
	TOP-001-6

R2
	
	


	Version: 2 
	Revision: 0
	Effective Date: December 5, 2025


	Step
	Action

	Note
	For Resources providing RRS with FFR, ERCOT may manually deploy the RRS_FFR in an attempt to recover frequency to meet NERC Performance Control Standards after utilizing Reg-Up and the SCED process which includes off-cycle SCED executions.

	1
	IF:

· Notified by the Real Time Desk Operator that Non-Controllable Load Resources (NCLR) carrying FFR are needed; 

THEN:

· Deploy from FFR display, deploy Load Resources with FFR Awards by entering “Target MW” or by selecting “Deploy All”
(Refer to Desktop Guide Resource Desk Section 2.4.1)
· Post message on the ERCOT Website for FFR deployment.
Typical ERCOT Website Posting for FFR NCLR deployment: 
“At [xx:xx] approximately [xx] MW of FFR NCLR has been deployed, anticipated duration is [xx].”

	Note
	If FFR NCLR is deployed from one operating day to the next operating day, new deployments will need to be sent for the new day.

	Note
	If “auto deployment” is enabled for FFR deployment, any new NCLRs swarded FFR in the future SCED runs will also be automatically deployed


· 

· 

	Termination
	IF:
· Notified by the Real Time Desk Operator that FFR NCLR is no longer needed;

THEN:
· Recall the FFR NCLR, by sending a Zero MW XML.
(Refer to Desktop Guide Resource Desk Section 2.4.2)
· Post message on the ERCOT Website to recall the FFR NCLR
Typical ERCOT Website Posting for FFR Recall: 

“At [xx:xx], All FFR NCLR has been recalled.”

	Log
	Log all actions.


4.1
Approve/Reject Resource Decommitment Request

Procedure Purpose:  Review and approve / reject Resource decommitments in the Operating Period (two-hour period comprised of the Operating Hour and the clock hour preceding the Operating Hour).  A QSE may verbally request to decommit a Resource provided the Resource has not been RUC-Committed and the Resource has no manual overrides for interval being requested.  ERCOT shall review the requests in order of receipt.

	Protocol Reference
	3.8.3.1
	6.4.7
	6.4.7.1(2)
	6.4.7(5)

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Approve/Reject Decommitment QSE Requests in Operating Period

	Exceptions
	No request necessary for:
· Combined Cycle Train (CCT) transitioning from one configuration to another
· Quick Start Generation Resources (QSGR’s)

	1
	IF:

· A QSE requests to decommit a Resource that has been Self-Committed;

THEN:

· Verify with the Transmission and Security Desk Operator that the decommitment will not adversely impact current transmission conditions

· If it does, deny the request

· Verify that if the Resource comes Off-Line, PRC will not drop below 2500 MW

· If it will, deny the request.

· If no PRC issue, grant the approval



	Log
	Log all actions.


5.
Hold
5.1
Hold

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	

	
	
	


	
	
	


	
	

	
	· 
· 
· 

	

	
· 

· 
· 
· 
· 
· 

· 

· 

	

	

	






	
	
· 

· 
· 

	
	
· 

· 

	
	
· 
· 
· 
· 
· 
· 
· 
· 
· 

· 
· 

	

	
	

	

	






	







	
· 
· 

· 
· 

· 
· 
· 
· 




	
	
· 

· 

· 
· 
· 



	
	
· 
· 
· 
· 
· 
· 
· 
· 
· 

· 
· 

	
	

	

	

	






	







	
· 

· 
· 
· 
· 




	
	
· 

· 

· 

· 
· 
· 



	
	
· 
· 
· 
· 
· 
· 
· 
· 
· 

· 
· 

	

	
	· 
· 

	
	
· 

· 


	

	






	
	
· 

· 
· 
· 

· 
· 
· 

	

	
· 

· 
· 

	
	
· 

· 

· 

· 


· 

· 
· 
· 




· 

	
	
· 

· 

	
	
· 

· 
· 

	
	

	
	
· 
· 
· 
· 
· 
· 
· 
· 
· 

· 
· 

	

	
	







	
	

· 

· 
· 
· 
· 



	
	
· 

· 
· 
· 



	
	
· 

· 

· 
· 
· 
· 
· 
· 
· 
· 
· 

· 
· 

	
	


6.1
Manage Resource Forced & Maintenance Outages

Procedure Purpose:  Monitor and respond to Resource Forced and Maintenance outages.
	Protocol Reference


	3.1.4.2
	3.1.4.4
	3.1.4.5
	3.1.4.6

	
	3.1.4.7
	3.1.6.4
	3.1.6.9
	3.1.6.10

	
	3.1.6.11
	6.5.7.1.6
	
	

	Guide Reference
	2.4
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Forced Outages

	Note
	The QSE must:

· Immediately notify ERCOT of a Forced Outage,

· Enter the Forced Outage in the Outage Scheduler as soon as practicable but no longer than 60 minutes after the beginning of the Outage,  
· Update the COP within 1 hour,
· Immediately update the telemetry.

	Note
	ERCOT Operators can only make the following changes in the Outage Scheduler:

· Remove actual start/end time if it is within 2 hours of the time the MP entered the outage,

· Change status,

· Add notes

If a MP needs assistance or is unable to enter their outages, instruct them to Outage Coordination.  Outage Coordination has an “Impersonation” certification that will allow them to make the needed changes.

	Maintenance Outages

	Definition
	· Level 1- Equipment that must be removed from service within 24 hours to prevent a potential Forced Outage;

· Level 2 - Equipment that must be removed from service within 7 days to prevent a potential Forced Outage; and

· Level 3 - Equipment that must be removed from service within 30 days to prevent a potential Forced Outage.

	Maintenance Outage with start time ≤ 24 Hours
	IF:

· A Maintenance Outage is received, review the outage if the scheduled start time is within the next 24 hours;

THEN:
· Discuss with the Transmission and Security Desk Operator to determine if the outage will cause any reliability issues.

	Accept

Maintenance Outage with start time ≤ 24 Hours
	IF:

· No reliability issues identified;

THEN:

· Accept the Maintenance Outage.

	Coordinate Maintenance Outage with start time ≤ 24 Hours
	IF:

· Reliability issues exist;

THEN:

· Coordinate the start of the outage with the QSE to ensure system reliability as long as the outage is allowed to start within 24 hours, AND

· Accept the Maintenance Outage.

	Coordinate

Maintenance Level 2 and 3  Outage ≤ 24 Hours
	REQUEST:

· Support from the Transmission Desk or Shift Supervisor,

IF: 

· Maintenance Level 2 and 3 outages are received with a start time of less than the next 24 hours, AND

· Reliability issues exist;

THEN:

· Coordinate the start of the outage with the QSE to ensure system reliability as long as the outage is within the allowed Maintenance Level 2 (7 Days) and 3 (30 Days) outage criteria,  

· ERCOT Outage Coordination group may help coordinate a new start time.
IF: 

· Reliability issues continue;
THEN:

· REQUEST the Operations Support Engineer investigate the development of a MP or TOAP (see section 4.6 Mitigation Plan) located in the Transmission Desk Procedure,
· Accept the Maintenance Outage after coordination.

	Maintenance Level 2 and 3 Outages
	IF:

· Maintenance Level 2 and 3 outages are received with a start time of greater than the next 24 hours;

THEN:

· The ERCOT Outage Coordination group has a process to review all Maintenance Level 2 and 3 outages without further action.

	Log
	Log all actions.

	Forced Derate

	
	IF:

· A Resource’s capability is reduced by 10 MW and 5% of its Seasonal net max sustainable rating and last longer than 30 minutes;

THEN:

· The QSE must do the following:
· Enter the Derate into the Outage Scheduler as soon as practicable but no longer than 60 minutes after the beginning of the Derate,
· Replace AS responsibility, if applicable,
· Update the COP within 1 hour,
· Immediately update the telemetry.

	Short-Notice Resource Outages

	
	IF:

· A newly proposed Resource Outage or proposed changes to a Planned Outage is submitted three days or less from the outage start date;

THEN:

· Notify Outage Coordination Group.

	Opportunity Outages

	Note
	Opportunity Outages for Resources are a special category of Planned Outages that may be approved by ERCOT when a specific Resource has been forced Off-Line due to a Forced Outage and the Resource has been previously accepted for a Planned Outage during the next eight days.  The QSE must give as much notice as practicable to ERCOT.

	1
	WHEN:

· A Forced Outage occurs on a Resource that has an accepted or approved Outage scheduled within the following eight days, AND
IF:

· Approved by ERCOT;
THEN:

· The Resource may remain Off-Line and start the accepted or approved Outage earlier than scheduled.
IF:

· Reliability issues exist;
THEN:

· Reject the outage to ensure system reliability,
IF:

· No issues identified;
THEN:

· Approve the Outage as received,

· Notify the QSE and Outage Coordination Group.

	Returning from Planned Outage Early

	Verify
	IF:

· A Resource returns from a Planned Outage early;
THEN:

· Coordinate with the Transmission and Security and RUC Desk Operators to determine if there is an associated transmission outage or any reliability issues exist.

	Approve
	IF:

· No issues identified;
THEN:

· Notify the QSE of approval and to update their COP and Telemetry, 
· Notify the Outage Coordination Group.

	Deny
	IF:

· Reliability issues, OR
· Transmission is not available;

THEN:

· Coordinate between the TO and QSE to schedule a time agreeable to both parties for all facilities to be restored to service,

· Notify the QSE within two hours, 
· Issue a VDI to stay Off-Line (see Desktop Guide Common to Multiple Desks Section 2.3)
· Choose “Can Not Return Early From Outage” as the Instruction Type from Resource level.

When issuing a VDI or confirmation, ensure the use of three-part communication:

· Issue the Operating Instruction

· Receive a correct repeat back

· Give an acknowledgement

	Log
	Log all actions.


	Advance Action Notice (AAN)

	Definition
	An Advance Action Notice (AAN) is a type of Operating Condition Notice (OCN) that identifies a possible future Emergency Condition and describes future action ERCOT expects to take to address that condition unless the need for ERCOT action is alleviated by Qualified Scheduling Entity (QSE) and/or Transmission Service Provider (TSP) actions or by other system developments.

	Note
	ERCOT may issue an (AAN) in anticipation of a possible Emergency Condition.  Any AAN will identify actions ERCOT expects to take to address the possible Emergency Condition unless the need for ERCOT action is alleviated by QSE and/or TSP actions taken, or by other system developments that occur before a time stated in the AAN.

	Time Periods
	ERCOT shall issue the AAN a minimum of 24 hours prior to performing an Outage Adjustment Evaluation (OAE).  Additionally, unless impracticable, the OAE should not be performed until eight Business Hours have elapsed following issuance of the AAN.  ERCOT shall not issue an Outage Scheduler Adjustment (OSA) under this Section unless it has first completed an OAE.

	1
	IF:

· ERCOT forecasts an inability to meet applicable transmission reliability standards and has exercised all other reasonable options

· There are Resources with approved or accepted Resource Outages, whose approval or acceptance could be withdrawn to meet the applicable transmission reliability standards

THEN:

· As instructed by the Shift Supervisor and in coordination with System Operations Management, Outage Coordination Management and Operations Support Management, issue an AAN.

	Hotline Issue AAN
	Hotline call will usually be made by the RUC Desk Operator, the script below is for reference if needed:

Q#126 - Typical Hotline Script for an AAN

	Post
	Coordinate with the Transmission and Security Desk Operator for the posting of the notice on the ERCOT Website
Typical Posting Script:
ERCOT issued an AAN due to a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] beginning [date HE XX] until [date HE XX].  [Summary of actions ERCOT may take].  ERCOT may seek [amount of capacity] from an OAE and then make the OSA.  On [date] at [xx:xx] ERCOT will execute an OAE if deemed necessary. Please notify ERCOT by email: aan@ercot.com of any Resources that cannot be considered in the OAE. 

	2
	IF:

· Conditions change
THEN:

· Update the AAN

	Hotline Update AAN
	Hotline call will usually be made by the RUC Desk Operator, the script below is for reference if needed:

Q#127 –Typical Hotline Script for an Update of an AAN

	Updated Post
	Coordinate with the Transmission and Security Desk Operator for the posting of the updated notice on the ERCOT Website
Typical Posting Script:
ERCOT has updated an AAN due to conditions changing and a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] beginning [date HE XX] until [date HE XX].  [Summary of actions ERCOT may take].  ERCOT may seek [amount of capacity] from an OAE and then make the OSA.  On [date] at [xx:xx] ERCOT will execute an OAE if deemed necessary. 

	Instructing Generation Resources Planned Outages Return Early
	Hotline call will usually be made by the RUC Desk Operator, the script below is for reference if needed:

Q#129 – Typical Hotline Script for Instructing Generation Resources Planned Outages Return Early

	OSA
	Hotline call will usually be made by the RUC Desk Operator, the script below is for reference if needed:

Q#130 – Typical Hotline Script for Outage Scheduler Adjustment (OSA)

	Post
	Coordinate with the Transmission and Security Desk Operator for the posting of the updated notice on the ERCOT Website
Typical Posting Script:
ERCOT has executed the OSA process due to a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] on [date] at [time].  Resource outages not moved voluntarily prior to [date] at [time] will be considered an OSA and individual notifications will be made to QSEs identifying each resource.

	Hotline Cancel AAN
	WHEN:
· ERCOT determines that the possible Emergency Condition has been alleviated by QSE or TSP action, by ERCOT action, or by other system developments;

THEN:
· Using the Hotline, cancel the  AAN.

Hotline call will usually be made by the RUC Desk Operator, the script below is for reference if needed:

Q#128 - Typical Hotline Script to cancel an AAN

	Cancel 

Posting
	WHEN:
· ERCOT determines that the possible Emergency Condition has been alleviated by QSE or TSP action, by ERCOT action, or by other system developments.
THEN:
· Coordinate with the Transmission and Security Desk Operator to cancel the ERCOT Website message(s).

	Log
	Log all actions.


6.2
Forced Outage Detection

Procedure Purpose:  To detect forced outages of Resources

	Protocol Reference
	3.1.4.4
	3.1.4.7
	6.4.8
	6.5.7.1.6

	Guide Reference
	3.2.2
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Resource Outages

	Note
	Work in conjunction with the appropriate desks in the Control Room for notification.

	Note
	Be aware that Resource outages detected in FOD will be based on the station model.  If the breaker is between the generator and step-up transformer, FOD will display this as a unit (UN).  If the breaker is on the “HIGH” side of the step-up transformer, FOD will display this as a transformer (XMR) and associated breakers (CB).

Be sure to look at all forced outages on transformers to determine if it is a generator trip.

	1
	IF FOD identifies a Resource Outage:

The QSE must:

· Immediately notify ERCOT of a Forced Outage/Derate,

· Enter the Forced Outage/Derate in the Outage Scheduler as soon as practicable but no longer than 60 minutes after the beginning of the Outage/Derate,  
· Update the COP within 1 hour,
· Immediately update the telemetry.


	2
	FOD can be used to detect telemetry oscillations.  Monitor the “OTs” column; this represents the number of times the Resource has been outaged in a 24-hour period.
IF:

· An unusually high value is detected;

THEN:

· Discuss with the Real-Time Desk Operator and contact the QSE to correct the issue.

	Log
	Log all actions.


7.1
Market Notifications

Procedure Purpose:  Guidelines for issuing Emergency Conditions and the four possible levels: Operating Condition Notices (OCN), Advisories, Watches, and Emergency Notices.

	Protocol Reference


	6.3.3
	6.5.9.3
	6.5.9.3.1
	6.5.9.3.2

	
	6.5.9.3.3
	6.5.9.3.4
	
	

	Guide Reference
	4.2.1
	4.2.2
	4.2.3
	4.2.4

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· ERCOT is in an Emergency Condition whenever ERCOT Transmission Grid status is such that a violation of security criteria presents the threat of uncontrolled separation or cascading Outages and/or large-scale service disruption to Load (other than Load being served from a radial transmission line) and/or overload of a Transmission Element, and no timely solution is obtainable through SCED or CMPs.

· Consider the severity of the potential Emergency Condition prior to the issuance of a notification.  The severity of the Emergency Condition could be limited to an isolated local area, or the condition might cover large areas affecting several entities, or the condition might be an ERCOT-wide condition potentially affecting the entire ERCOT System.

· The sequence of notifications issued may vary due to changing system conditions or other operational issues and it may be necessary to skip certain notifications due to the severity of the situation.

	Operating Condition Notice (OCN)

	Note
	OCN’s are used to inform Market Participants of a possible future need for more Resources due to conditions that could affect ERCOT System reliability.  OCNs are for informational purposes only and may solicit additional information to determine whether the issuance of an Advisory, Watch, or Emergency Notice is warranted. OCNs serve as a reminder to QSEs and TSPs that some attention to the changing conditions may be warranted.

	1
	As instructed by the Shift Supervisor or when appropriate, issue an (OCN.  The OCN can be issued for any of the following reasons:

· Insufficient Resources to meet forecasted conditions

· There is a projected reserve capacity shortage in DRUC that could affect reliability and may require more Resources

· When extreme cold weather is developing and forecasted to impact the ERCOT Region
· When extreme hot weather is forecasted to impact the ERCOT Region

· When a Hurricane or Tropical Storm is developing and forecasted to impact the ERCOT Region

· Unplanned transmission Outages that may impact reliability

When anticipated adverse weather conditions are forecasted, ERCOT may confer with TOs and QSEs regarding the potential for adverse reliability impacts and contingency preparedness.

	Advance Action Notice (AAN)

	Note
	Outage Schedule Adjustment (OSA)

Outage Adjustment Evaluation (OAE)

An AAN is a type of OCN, ERCOT may issue an AAN in anticipation of a possible Emergency Condition.  An AAN will identify actions ERCOT expects to take to address the condition unless the need for ERCOT action is alleviated by QSE and/or TSP actions or by other system developments.

	1
	As instructed by the Shift Supervisor and in coordination with Outage Coordination and Operations Support, issue an AAN.  The AAN can be issued for any of the following reasons:

· Insufficient Resources to meet forecasted conditions

· There is a projected reserve capacity shortage in DRUC that could affect reliability and may require more Resources

· When extreme cold weather is developing and forecasted to impact the ERCOT Region
· When extreme hot weather is forecasted to impact the ERCOT Region

· When a Hurricane or Tropical Storm is developing and forecasted to impact the ERCOT Region 

· Unplanned transmission Outages that may impact reliability

When anticipated adverse weather conditions are forecasted, ERCOT may confer with TOs and QSEs regarding the potential for adverse reliability impacts and contingency preparedness

	Advisory

	1
	As instructed by the Shift Supervisor or when appropriate, issue an Advisory.  The Advisory can be issued for any of the following reasons:

· When the probability of an approaching Hurricane or Tropical Storm impacting the ERCOT Region increases, and concerns exist to escalate awareness  

· When the probability of extreme cold weather impacting the ERCOT Region increases, and concerns exist to escalate awareness
· When the probability of extreme hot weather impacting the ERCOT Region increases, and concerns exist to escalate awareness

· When conditions are developing or have changed and more Ancillary Services will be needed to maintain current or near-term reliability

· ERCOT exercises its authority to increase Ancillary Service requirements above the quantities originally specified in the Day-Ahead Market in accordance with ERCOT procedures

· When extreme weather or ERCOT System conditions require more lead-time than the normal Day-Ahead Market allows

· Transmission system conditions are such that operations within security criteria are not likely or possible because of Forced Outages or other conditions unless a CMP exists

· Loss of communications or control condition is anticipated or significantly limited

· ERCOT may require information from QSEs representing Resources regarding the Resources’ fuel capabilities. Requests for this type of information shall be for a time of no more than seven days from the date of the request

	Watch

	1
	As instructed by the Shift Supervisor or when appropriate, issue a Watch.  The Watch can be issued for any of the following reasons:

· A reserve capacity shortage is projected with no market solution available that could affect reliability 

· When an approaching Hurricane or Tropical Storm is imminent and anticipated to have an adverse impact on the ERCOT Region  

· When impacts from extreme cold weather is imminent and anticipated to have an adverse impact on the ERCOT Region
· When impacts from extreme hot weather is imminent and anticipated to have an adverse impact on the ERCOT Region

· Conditions have developed such that additional Ancillary Services are needed in the Operating Period

· 
· Market-based congestion management techniques embedded in SCED will not be adequate to resolve transmission security violations

· Forced Outages or other abnormal operating conditions have occurred, or may occur that require operations  with active violations of security criteria as defined in the Operating Guides unless a CMP exists

· The SCED process fails to reach a solution, whether or not ERCOT is using one of the measures in Failure of the SCED Process.

· The need to immediately procure Ancillary Services from existing offers

· ERCOT may instruct TOs to reconfigure transmission elements as necessary to improve the reliability of the system

	Emergency Notice

	1
	As instructed by the Shift Supervisor or when appropriate, issue an Emergency Notice.  The Emergency Notice can be issued for any of the following reasons:

· Loss of Primary Control Center functionality

· Load Resource deployment for North-Houston voltage stability

· ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practically obtainable from the market

· Immediate action cannot be taken to avoid or relive a Transmission Element operating above its Emergency Rating

· ERCOT forecasts an inability to meet applicable reliability standards and it has exercised all other reasonable options

· A transmission condition has been identified that requires emergency energy from any of the DC-Ties or curtailment of schedules

· The Transmission Grid is such that a violation of security criteria as defined in the Operating Guides presents the threat of uncontrolled separation or cascading outages, large-scale service disruption to Load (other than Load being served from a radial transmission line) and/or overload of Transmission Elements, and no timely solution is obtainable through SCED or CMPs

· When extreme cold weather is beginning to have an adverse impact on the  ERCOT System
· When extreme hot weather is beginning to have an adverse impact on the ERCOT System
· When a Hurricane or Tropical Storm is beginning to have an adverse impact on the System

	 Operating Condition Script

	Hotline
	Hotline calls are usually made by Real-Time Desk Operator, the scripts below are for reference if needed:

Notify QSEs of Notice:

Q#46 - Typical Hotline Script for Operating Condition [OCN/Advisory/Watch/Emergency] 
Notify the Transmission and Security Desk Operator to make Hotline call to TOs



	Post
	· All notices must be posted on the ERCOT Website
· For “free form” messages, the “Notice priority” will be specified as follows:

· Operational Information/OCN type messages – low priority

· Advisory/Watch type messages – medium priority

· Emergency type messages – high priority

	Hotline Cancellation
	Q#47 - Typical Hotline Script to Cancel Operating Condition [OCN/Advisory/Watch/Emergency] 


	Log
	Log all actions.


7.2
Implement EEA Levels

Procedure Purpose:  To provide for maximum possible continuity of service while maintaining the integrity of the ERCOT system to reduce the chance of cascading outages.

	Protocol Reference
	6.5.7.6.2.2(1)(b) & (13)
	6.5.7.6.2.3(1)
	6.5.9.4
	6.5.9.4.1

	
	6.5.9.4.2
	
	
	

	Guide Reference


	4.5.3
	4.5.3.1
	4.5.3.2
	4.5.3.3

	
	4.5.3.4
	
	
	

	NERC Standard
	EOP-011-2

R2, R2.1, R2.2, R2.2.3, R2.2.3.1, R2.2.7
	IRO-001-4

R1
	TOP-001-6

R2
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· ERCOT MAY immediately implement EEA Level 2 when clock-minute average system frequency falls below 59.91 Hz for 15 consecutive minutes.  

· ERCOT MAY immediately implement EEA Level 3 any time the clock-minute average system frequency falls below 59.91 Hz for 20 consecutive minutes OR when steady-state frequency falls below 59.8 Hz for any duration of time.  

· ERCOT SHALL immediately implement EEA Level 3 any time the steady-state frequency is below 59.5 Hz for any duration.  

	Note
	ERCOT will declare an EEA Level 1 when PRC falls below 2,500 MW and is not projected to be recovered above 2,500 MW within 30 minutes without the use of the following actions that are prescribed for EEA Level 1

	Note
	Confidentiality requirements regarding Transmission Operations and System Capacity information will be lifted, as needed to restore reliability.

	Note
	Manually deploy Load Resources other than Controllable Load Resources providing ECRS or RRS before an Energy Emergency Alert (EEA), to maintain a minimum 500 MWs of Physical Responsive Capability (PRC) reserves on Generation Resources.

	Note
	XML messages are required for all deployments of Load Resources and ERS Resources

	ERS-30
	ERS with a thirty-minute ramp period.

	ERS-10
	ERS with a ten-minute ramp period.

	WS-ERS
	Each Standard Contract Term(SCT) Request for Proposal (RFP) will state what time periods in that SCT weather sensitive can provide offers for.

	TCEQ
	The Texas Commission on Environmental Quality (TCEQ) will exercise enforcement discretion for exceedances of emission limits and operational limits for Resources that exceed air permit limits in order to maximize generation for the duration of the EEA event.  A Market Notice will be sent to Market Participants and a Hotline call made

	Media

Appeal
	When an ERCOT-wide appeal through the public news media for voluntary energy conservation is made, make posting:

Typical ERCOT Website posting for media appeal: 

ERCOT has issued an appeal through the public news media for voluntary energy conservation for [Day, Date, HE XX:XX through XX:XX]. 

	ESR
	Instruct ESRs to suspend charging.  For ESRs, ERCOT shall issue the suspension instruction via a SCED Base Point instruction, or, if otherwise necessary, via a manual Dispatch Instruction.  An ESR shall suspend charging unless it is providing Primary Frequency Response, has received a charging instruction via SCED Base Point, or is carrying Reg-Down and has received a charging instruction from LFC.  However, an ESR co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System may continue to charge as long as maximum output to the ERCOT System is maintained.

	Implement EEA Level 1

	1


	IF:

· PRC < 2500 MW; 

THEN:

· Deploy all available Non-Spin (if not previously deployed) (see Desktop Guide Resource Desk Section 2.1.1). 

· Determine whether system conditions require the deployment of  ERS-30 (if not already deployed) (see Desktop Guide Resource Desk Section 2.3.2).

· Make EEA 1 posting to the ERCOT Website
· Use preformatted notice “EEA Level 1”  

	3
	Verify all measures have been implemented.   

	Log
	Log all actions.

	Implement EEA Level 2

	Note
	· ERCOT may immediately implement  EEA Level 2 when the clock-minute average system frequency falls below 59.91 Hz for 15 consecutive minutes.

· ERCOT will declare an EEA Level 2 when PRC falls below 2,000 MW and is not projected to be recovered above 2,000 MW within 30 minutes without the use of the following actions that are prescribed for EEA Level 2:

· ERCOT may immediately implement EEA Level 3 any time the clock-minute average system frequency falls below 59.91 Hz for 20 consecutive minutes or when steady-state frequency falls below 59.8 Hz for any duration of time. ERCOT shall immediately implement EEA Level 3 any time the steady-state frequency is below 59.5 Hz for any duration.

	1


	IF:

· PRC <  2000 MW or unable to maintain system frequency at 59.91 Hz and is not projected to be recovered above 2000 MW within 30 minutes without the use of EEA Level 2;

THEN:

· Determine when system conditions require the deployment of ERS-30 / ERS-10 (if not already deployed)/ Load Resources 

· (Do Not forget the WS ERS if available):

· Deploy ERS-30 if not already done in EEA1

· Deploy ERS-10

· Deploy Load Resources.

· From UFR/ECRS display by entering “Target MW”, which will select resources in the following order

· Load Resources with ECRS Awards and relay disarmed

· Load Resources with ECRS Awards and relay armed 

· Load Resources with ECRS and RRS Awards and relay armed 

· Load Resources with RRS Awards and relay armed 

· From FFR display, deploy Load Resources with FFR Awards by entering “Target MW” 

· If needed, selecting “Deploy All” from UFR/ECRS and FFR displays will deploy all Load Resources with ECRS,UFR and FFR Awards. 

· Notify the Real-Time Desk Operator when XML message has been completed,

· Desktop Guide Resource Desk (Section 2.2.1 for Load Resources; Section 2.3.2 for ERS).

· Make EEA 2 posting to the ERCOT Website

· Use preformatted notice “EEA Level 2” 

	ERS

Time Period

Changes
	IF:

· ERS Resources are deployed, and the Time Period is changing and if ERS is still needed; 

THEN:

· Deploy next Time Period

· Take into consideration the time requirement for the ERS-10  and ERS-30

· Notify the Real-Time Desk Operator when XML message has been completed. 

	2
	IF:

Went straight to EEA Level 2;

THEN:

· Ensure tasks in EEA Level 1 are complete.

	3
	Verify all measures have been implemented.

	Log
	Log all actions.

	Implement EEA Level 3

	Note
	ERCOT may declare an EEA Level 3 when the clock-minute average system frequency falls below 59.91 Hz for 20 consecutive minutes or when steady-state frequency falls below 59.8 Hz.  ERCOT will declare an EEA Level 3 when PRC cannot be maintained above 1,500 MW or when the clock-minute average system frequency falls below 59.91 Hz for 25 consecutive minutes.  Upon declaration of an EEA Level 3, ERCOT shall take any of the following measures as necessary to recover frequency or PRC to the minimum required levels:

	EEA3

Unable to 

Maintain

59.91 Hz or PRC <1500 MW 


	IF:

· PRC <1,500 MW and is not projected to be recovered above 1,500 MW within 30 minutes or unable to maintain system frequency at 59.91 Hz for 25 consecutive minutes;

THEN:

· Make EEA 3 posting to the ERCOT Website

· Use preformatted notice “EEA Level 3”

	1
	Verify all measures have been implemented.

	Log
	Log all actions.


7.3
Restore EEA Levels

Procedure Purpose:  To restore the ERCOT grid to normal state as system conditions warrant while recovering from an EEA event.

	Protocol Reference
	6.5.9.4.3
	
	
	

	Guide Reference
	4.5.3.5
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	XML messages are required for all recalls of Load Resources and ERS Resources

	Reserves
	1500 MW of PRC must be restored within 90 minutes.

	Restore Firm Load

	1
	IF:

· Sufficient Regulation Service exist to control to 60 Hz, AND
· PRC – Regulation Up Responsibility ≥ 1500 MW for the last 15 minutes;

THEN:

· Transmission and Security Desk Operator will restore firm load. 

	Move from EEA Level 3 to EEA Level 2

	1
	IF:

· Sufficient Regulation Service exist to control to 60 Hz, AND
· PRC is ≥ 2000 MW, AND

· All firm loads have been instructed to be restored;

THEN:

· When instructed by the Real-Time Desk Operator to recall  Load Resources 
· Send XML message to recall Load Resources, (see Desktop Guide Resource Desk Section 2.2.2)
· Make EEA 3 to EEA 2 posting to the ERCOT Website
· Use preformatted notice 

	Move from EEA Level 2 to EEA Level 1

	1
	· IF:

· The system can maintain PRC ≥ 2500 MW, AND
· All Load Resources have been instructed to be restored;

· THEN:
· Make EEA 2 to EEA 1 posting to the ERCOT Website

· Use preformatted notice

	Move from EEA Level 1 to EEA 0

	1
	IF:

· The system can maintain PRC ≥ 2500 MW, AND
· All RUC committed units secured in EEA 1 can be released, AND
· Emergency energy from the DC Ties is no longer needed;

THEN:

· Terminate EEA 1 by posting to the ERCOT Website

· Use preformatted notice “Return to Normal”

	Cancel Watch

	1
	WHEN:

· Projected Ramp Available in 30min > 1000, AND

· PRC is > 3000 MW;

THEN:

· Cancel Watch
· Cancel message for Watch on the ERCOT Website

	Log
	Log all actions.


7.4
Restoration of Primary Control Center Functionality

Procedure Purpose:  To be performed once the Resource Desk Operator has arrived at Alternate Control Center.

	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· Assist the Real-Time Desk Operator as needed

· Follow procedure manual as normal operation returns

	Log
	Log all actions.


8.2
Monthly Testing of Satellite Phone Conference Bridge

Procedure Purpose: To ensure ERCOT maintains communication capability via the Satellite Phone System.
	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Primary Control Center

	Note
	When a participant dials into the conference bridge before the moderator dials in, they will hear music and be placed on hold.

	Note
	On the first weekend of each month, between the hours of 0000 Saturday and 0500 Monday, the Satellite Phone System Conference Bridge will be tested with the TOs. As the Shift Supervisor makes the call to the individual TO, they will set a time that the ERCOT Operator will call the Satellite Phone System Conference Bridge and establish communication with the appropriate TO.

	Note
	Use the ERCOT Satellite Phone User Guide (See Desktop Guide Common to Multiple Desks Section 2.7) for a list of the TOs that will be contacted by the ERCOT Operator and instructions on how to place a Satellite Phone System Conference Bridge call.

	Note
	The numbers for the ERCOT Operator to call into the Conference Bridge are Desk specific. 

Select: 

SATELLITE directory or go to page 41 to view the programmed numbers on the Turret phone for each Bridge:

· BLACKSTRT RUC – RUC Desk

· BLACKSTRT RRD - Reliability Risk Desk

· BLACKSTRT RES – Resource Desk

· BLACKSTRT REAL – Real-Time Desk

· BLACKSTRT TS#1 – Transmission and Security Desk (Island Coordination)
· BLACKSTRT TS#2 – Transmission and Security Desk

	1
	IF:

· Open a Service Desk ticket and cc “shiftsupv”

· The preprogrammed number does not function correctly;

THEN:

· Refer to the ERCOT Satellite Phone User Guide (See Desktop Guide Common to Multiple Desks Section 2.7.2) for the appropriate conference number and continue with this procedure.

	2
	When prompted:

· Enter the Moderator Pass Code

· If necessary, allow five minutes for Participants to dial in

· As each Participant connects, record the following:

· Name of Participant

· Company Name

· Any problems identified with the connection process

	3
	IF:

· Follow up with the TO to determine the cause;

THEN:

· Investigate the cause and log the following:

· Reason for inability to connect

· Establish a time for a retest of the TOs not able to connect in the initial test.

	4
	Inform the Shift Supervisor when test is complete indicating any issues identified.

	Log
	Log all actions.



9.1
Respond to Miscellaneous Issues

Procedure Purpose: To provide a mutually agreed process for resolving Real-Time data issues between ERCOT and the Entities that provide data to ERCOT.  Also, to record when a QSE is operating from its backup Control Center and to notify the Transmission and Security Desk Operator when a QSE notifies ERCOT of a change in status with any PSS or AVR. 
	Protocol Reference
	
	
	
	

	
	
	
	
	

	Guide Reference
	7.3.3
	
	
	

	NERC Standard
	IRO-018-1(i)

R1.3
	TOP-003-5

R5, R5.2
	TOP-010-1(i) R1.3
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Real-Time Data Issues known by the QSE

	Note
	Manually replaced telemetry data is data entered by a QSE on their systems that is transmitted to ERCOT via ICCP in place of the normal points experiencing an issue.  If Reliability issues can’t be resolved in a timely manner, ERCOT reserves the right to order the Resource off-line until the problem is resolved.

	Notification of Telemetry 

Data

Issue
	IF:

· Notified of a telemetry data issue (telemetry data will not be available or is unreliable for operational purposes;

THEN:
· The QSE should correct the telemetry data as soon as practicable, or,

· Manually replace the data, if available.

	Cannot

Resolve
	IF:

· The QSE cannot resolve the telemetry data issue within two Business Day, fix the issue in a timely manner;

THEN:

· The QSE shall provide an estimated time of resolution.

	Backup/Alternate Control Center Transfer

	1
	When notified by a QSE that they will be transferring to or from their backup/alternate control center,  
· Identify the [QSE] in the email notification 

· Send e-mail to “1 ERCOT System Operators”

	Log
	Log all actions.

	QSE Issues

	1
	If a QSE is not satisfied with ERCOT Operations responses to their issues, refer them to their Wholesale Client Representative for clarification/resolution.

	2
	If the System Operator believes the issue is with ERCOT systems applications (ICCP down, etc.), notify the ERCOT Service Desk.

	3
	If a QSE is having an issue with ERCOT system applications (unable to access the portal, outage scheduler, etc.), instruct them to call the ERCOT Service Desk.

	4
	As time permits, notify the Shift Supervisor of any actions taken and unresolved issues.

	Log
	Log all actions.

	Missing Data from ERCOT Website Postings

	1
	IF:

· A call is received about data missing or data being incorrect,

THEN:

· Transfer call to the Service Desk, and

· Notify the Shift Supervisor and Operations Support Engineer.

	Log
	Log all actions.

	Courtesy Hotline calls for ERCOT Application Issues

	1
	WHEN:

· Notified from IT support of application(s) issues that are causing Market Participants an inability to submit data to ERCOT;

THEN:

· Make a courtesy hotline to inform them.

Q#76 - Typical Hotline script for Application Issues


	Power System Stabilizers (PSS) & Automatic Voltage Regulators (AVR)

	1
	WHEN:

· Notified by a QSE of a change in status with any PSS or AVR;

THEN:

· Transfer call to the Transmission and Security Desk Operator.




Document Control

Manual Change History

	Procedure
	Ver/Rev
	Reason for Issue
	Effective Date

	All Sections
	2.0 / 0
	RTC+B Implementation 

All procedures in this manual have been reviewed
	December 5, 2025


