	ERCOT Operating Procedure Manual

	Shift Supervisor Desk



Power Operations Bulletin # 2006
ERCOT has posted/revised the Shift Supervisor Desk manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html
1.1
Purpose

This procedure provides the ERCOT Shift Supervisor with information to assist in addressing technical and operational issues, disturbances, system performance, and reports.  This procedure guides the Shift Supervisor in addressing responsibilities to supervise ERCOT System Operators working on each of the desks in the control room:  Reliability Unit Commitment Desk, Reliability Risk Desk, Transmission and Security Desks, DC-Tie Desk, Real-Time Desk , and Resource Desk.

This procedure also instructs performance on several tasks specific to the Shift Supervisor.

1.2
Scope

This procedure governs tasks assigned to the Shift Supervisor.  These include oversight of control room operations, personnel, and response on grid issues.  It also includes specific guidance on processing dispatching complaints, creating, and reviewing NERC reports, and assessing Resource performance in relation to the provision of Ancillary Services.  

Although the steps within the procedures are numbered, the numbering is for indexing purposes and are not sequential in nature.  The System Operator will determine the sequence of steps, exclude steps, or take any additional actions required to ensure system security based on the information and situational awareness available during both normal and emergency conditions. 

1.3
Roles/Responsibilities

Shift Supervisor

The Shift Supervisor is responsible for carrying out the procedures contained in this manual and the supervision of all the Control Centers’ positions.

The Shift Supervisor’s primary responsibility will be to provide support to the System Operators in performing their daily tasks.  The Shift Supervisor is expected to understand the processes and procedures behind the Control Center to coordinate the efforts of the different desks and improve the quality of output produced each day by the System Operators.  Therefore, the Shift Supervisor will be responsible for understanding the roles, duties, and tasks performed at each of the System Operations’ desks.

For more information on these roles, duties, and tasks, please reference the Operating Procedure Manuals for each of the System Operator Desks:

· Reliability Unit Commitment (RUC)

· Reliability Risk

· Transmission and Security

· Real-Time

· Resource

· DC-Ti

2.1
System Operator Responsibility and Authority

Procedure Purpose: To ensure the System Operators know their roles, responsibility and authority.

	Protocol Reference
	6.5.1.1
	6.5.1.2(3)
	6.5.2
	6.5.3(1)

	
	6.5.9(3)
	
	
	

	Guide Reference
	4.5.2(1)
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


ERCOT ISO as a Transmission Operator (TOP), the single Balancing Authority (BA), and only Reliability Coordinator (RC) registered within the ERCOT Interconnection shares all information between these roles simultaneously and acts concurrently as a single entity, satisfying coordination between the TOP, BA, and RC.

The System Operator (SO) shall, in accordance with NERC Reliability Standards and ERCOT Protocols, have clear decision-making authority to act to address the reliability of its RC Area by direct actions or by issuing Dispatch Instructions / Operating Instructions during both normal and emergency conditions.  These actions shall be taken without delay and may include shedding of firm load without obtaining approval from higher-level personnel.  

The SO on duty is, in accordance with the ERCOT Protocols, Operating Guides, and NERC Reliability Standards, and acting as the BA, a TOP, and RC shall request and receive information required to continually monitor the operating conditions which will assure security and reliability of the ERCOT System.

The SO issues Dispatch Instructions / Operating Instructions for the Real-Time operation of Transmission Facilities to a TO, and a QSE for the Real-Time operation of a Resource. 

The SO shall, on an ERCOT-wide basis, coordinate the ERCOT System Restoration (Black Start) Plan.  The SO shall implement the Black Start Plan and shall direct the reconnection efforts of the islands, established by restoration activities.  

The SO shall consider all equipment operating limits when issuing Dispatch Instructions / Operating Instructions.  During Emergency Conditions, the SO may verbally request QSEs to operate its Resources outside normal operating parameters. If a Dispatch Instruction conflicts with a restriction placed on equipment by a TO or QSE to protect the integrity of equipment, ERCOT shall honor the restriction.

The SO performs security analyses on a Day Ahead and Real-Time basis and ensures all Forced Outages are entered into the Outage Scheduler. The SO shall obtain or arrange to provide emergency energy over the DC Tie(s) on behalf of ERCOT.

The SO shall issue appropriate OCNs, AAN’s, Advisories, Watches, and Emergency Notices, and coordinate the reduction or cancellation of clearances, re-dispatch of generation, and request, order, or take other action(s) that the SO determines is necessary to maintain safe and reliable operating conditions on the ERCOT system in accordance with ERCOT Protocols, Operating Guides, and NERC Reliability Standards.  The SO will implement and terminate ERCOT Time Corrections and will determine the need for and implement the operation of a QSE on Constant Frequency Control for loss of ERCOT’s load frequency control system.

The SPP DC-Tie processes, procedures, or plans that support or affect SPP shall be reviewed at least once every 3 years and updated if needed.  These would include any DC-Tie procedures, inadvertent energy procedures, and emergency procedures.

2.2
Communication

Procedure Purpose:  To ensure proper communication is used to reduce the possibility of miscommunications that could lead to action or inaction harmful to the reliability of the grid.

	Protocol Reference
	6.5.7.8
	
	
	

	Guide Reference
	3.1.3
	
	
	

	NERC Standard
	COM-002-4

R5, R7
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Three-Part Communication

	Note
	· Operating Instruction and Dispatch Instructions are synonymous

· Refer to the Communications Protocols document for requirements.

	1
	When issuing Operating Instructions, use three-part communication:

· Issue the Operating Instruction

· Receive a correct repeat back

· Give an acknowledgement



	2
	Many scripts have been placed throughout the procedures as a reminder for the three-part communication.  However, a script cannot be provided for every scenario.  Effective three-part communication skills are mandatory.

	Hotline Call Communication

	1
	When making Hotline calls, ensure one every repeats back the message.

IF:

· Time and circumstances allow;

THEN:

· Review the Consortium Hotline attendance report to verify all TOs or QSEs were in attendance

· Contact the TO or QSE using their OPX line or LD line to provide them with the message

· Inquire why they were not on the Hotline call

· Open a Help ticket if ERCOT’s Telecommunications department is needed to investigate.

	Master QSE

	1
	Issue the VDI to the Master QSE of a Generation Resource that has been split to function as two or more Split Generation Resources as deemed necessary by ERCOT to effectuate actions for the total Generation Resource for instances when electronic Dispatch Instructions are not feasible.

	Log
	Log all actions.


3.2
Capacity and Reserve Monitoring

Procedure Purpose:  To monitor capacity for SCED dispatch and total system capacity for providing Ancillary Services.

	Protocol Reference
	3.1.6.9(8)
	6.5.9.1(1)(a)
	6.5.7.6.2.3(1)
	

	Guide Reference
	2.2.1(3)(a)
	
	
	

	NERC Standard
	EOP-011-4 R2, R2.1
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Capacity Monitoring

	1
	Monitor the PUCT lookahead Margin:

IF:

· Load forecast is reasonable AND “Committed Capacity Margin” shows < 6,500MW Committed Capacity Margin;

THEN:

· Verify that HRUC has identified the insufficient capacity situation. 

	2
	Monitor the 7-Day Load and Capacity Outlook:

IF:

· Load forecast is reasonable AND Load Forecast exceeds Committed Capacity;

THEN:

· Verify that HRUC has identified the insufficient capacity situation.

	3
	IF:

· HRUC has not identified the insufficient capacity;

THEN:

· Discuss with the RUC Desk Operator and verify that HRUC is using a reasonable forecast AND update if necessary,

· Ensure Resource commitments are being made, if needed. 

	4
	Triggers to deploy Non-Spin

MONITOR:

The Generation Area Status Page and the Non-Spin Deployment Trigger display

WHEN:

· PRC < 3200 MW and not expected to recover within 30 minutes without deploying reserves

THEN:

· Verify that the Resource Desk Operator has deployed a group(s) or all of the available Non-Spin capacity.
IF:

· Projected Ramp Available in 30min < -300; 

THEN:

· Verify that the Resource Desk Operator has deployed half of the available groups of Non-Spin.

IF:

· Projected Ramp Available in 30min < -500, OR

· PRC is < 3000 MW; 

THEN:

· Verify that the Resource Operator has deployed the available groups of Non-Spin, as needed.

IF:

· Additional capacity is required, 

THEN:
· Verify the RUC Desk Operator is aware of the requirement to RUC commit additional Resources for the next hour.

	5
	During periods of low load and excess generation:

PERIODICALLY REVIEW:

· Splunk Dashboard Viewer under the MOS_Dev folder:

· “Last Approved HRUC Capacity” which is based on the last ran HRUC solution

IF:

· Load forecast is reasonable AND the decision needs to be made in the near future,

THEN:

· Decommit generation from the HRUC next study,

· Priority should be on Resources that resolve congestion;

IF:

· The decision needs to be made immediately,

THEN:

· Request RUC Desk Operator to issue electronic Dispatch Instruction confirmation.

	Log
	Log all actions.

	Large Load Curtailment Program

	ERCOT Large Load Curtailment Requested
	WHEN:

· PRC < 3200 MW and not expected to recover within 30 minutes without deploying reserves AND;

· All Non-Spin has been deployed AND;

· Available ERCOT Large Load Voluntary Curtailment Program Participants
THEN:
· Initiate X-Matters notification to all ERCOT Large Load Voluntary Curtailment Program Participants ERCOT is requesting to curtail consumption OR:
· Request Director Control Room Operations and/or Designee to make notification.
· Ensure Real Time Desk, Resource Desk, and Transmission & Security Desk make postings and Hotline Call Notifications.

	ERCOT Large Load Curtailment Request Ended
	WHEN:

· ERCOT Large Load Voluntary Curtailment Program Participants are no longer needed
THEN:
· Initiate X-Matters notification to all ERCOT Large Load Voluntary Curtailment Program Participants that request to curtail consumption ended OR:
· Request Director Control Room Operations and/or Designee to make notification.
· Ensure Real Time Desk, Resource Desk, and Transmission & Security Desk make postings and Hotline Call Notifications.

	Log
	Log all actions.

	Advance Action Notice (AAN)

	Definition
	An Advance Action Notice (AAN) is a type of Operating Condition Notice (OCN) that identifies a possible future Emergency Condition and describes future action ERCOT expects to take to address that condition unless the need for ERCOT action is alleviated by Qualified Scheduling Entity (QSE) and/or Transmission Service Provider (TSP) actions or by other system developments

	Note
	ERCOT may issue an (AAN) in anticipation of a possible Emergency Condition.  Any AAN will identify actions ERCOT expects to take to address the possible Emergency Condition unless the need for ERCOT action is alleviated by QSE and/or TSP actions taken, or by other system developments that occur, before a time stated in the AAN.

	Time Periods
	ERCOT shall issue the AAN a minimum of 24 hours prior to performing an Outage Adjustment Evaluation (OAE).  Additionally, unless impracticable, the OAE should not be performed until eight Business Hours have elapsed following issuance of the AAN.  ERCOT shall not issue an Outage Scheduler Adjustment (OSA) under this section unless it has first completed an OAE.

	1
	IF:

· While reviewing the 7-Day Load and Capacity Outlook or when notified by System Operations Management, Outage Coordination Management or Operations Support Management, ERCOT forecasts an inability to meet applicable transmission reliability standards and has exercised all other reasonable options AND;

· There are Resources with approved or accepted Resource Outages, whose approval or acceptance could be withdrawn to meet the applicable transmission reliability standards

THEN:

· In coordination with System Operations Management, Outage Coordination Management and Operations Support Management, issue an Advance Action Notice (AAN)

	2
	As conditions change, ERCOT shall, to the extent practicable, update the AAN in order to provide simultaneous notice to Market Participants.
IF:

· Conditions change;

THEN:

· In coordination with System Operations Management, Outage Coordination Management and Operations Support Management. Update the AAN.

	3
	IF:
· Planned Resource Outages which can feasibly be returned to service;

THEN:

· In coordination with System Operations Management, Outage Coordination Management and Operations Support Management. Instruct QSEs to restore Planned Resource Outages which can feasibly be returned to service.

	4
	IF:
· In coordination with System Operations Management, Outage Coordination Management and Operations Support Management, the OSA process has executed.  

THEN:

· Notify QSEs of executing the OSA process

	5
	WHEN:
· ERCOT determines that the possible Emergency Condition has been alleviated by QSE or TSP action, by ERCOT action, or by other system developments;
THEN:

· In coordination with System Operations Management, Outage Coordination Management and Operations Support Management, cancel the Advance Action Notice (AAN) AND;

· Cancel ERCOT Website message(s).

	Log
	Log all actions.


3.3
Disseminating Information to System Security Response Group (SSRG)

Procedure Purpose: To communicate information concerning disturbances or unusual occurrences to appropriate parties in the Interconnection.

	Protocol Reference
	
	
	
	

	Guide Reference
	3.8(4)
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	Threat alerts can be viewed at either of the following links: 

https://www.eisac.com/, OR

http://www.dhs.gov/files/programs/ntas.shtm
The definitions for the threat alert levels are listed in the Security Alert Plan which can be found in the Operating Procedure Manual.

Reference the ERCOT Cyber Response Plan and the Cyber Intrusion Guide for System Operators located in the System Operator Procedure manuals for additional information.

	Note
	· The SSRG e-mail exploder list is used to disseminate information to the SSRG members of the ERCOT Region when an SSRG conference call is not necessary.  

· This information is intended for use within the industry and not for public release.  

· At the beginning of each e-mail state the follow “This information is intended for use within the industry and not for public release”
· At the bottom of each e-mail, be sure to include a Confidentiality Notice and your signature.

· The Reliability Coordinator Information System (RCIS) is used to disseminate information to other RCs in other Interconnections.

· Do not list the entity name on the SSRG e-mails or on the RCIS.

	Events not Considered an Act of Suspected Sabotage

	1
	IF:

· A TO or QSE reports an event that is not considered an act of suspected sabotage, such as  the following:

· Copper thefts

· Substation break-in

· Vandalism

· Malicious mischief

· Suspicious photos

THEN:

· Disseminate this information using the ‘SSRG’ distribution list:

· State in the e-mail that the event is “currently not considered as an act of suspected sabotage”.

· State the county of the event

	2
	MONITOR:

· The RCIS (CIP Free Form) for ERCOT events which meet the criteria in step 1 that should be disseminated to SSRG;

THEN:

· Follow instructions in step 1 to disseminate the information

	Log
	Log all actions.

	Suspected Sabotage or Sabotage Events

	Physical
	When notified by Physical Security of an actual or suspected physical sabotage at the ERCOT facilities, refer to section 6.1 for reporting requirements. An RCIS posting and SSRG email may also be required.

	Cyber
	When notified by Cyber Security of an actual or suspected event at ERCOT, coordinate reporting responsibilities (Refer to section 6.1 for reporting requirements).  An RCIS posting (CIP Free Form) and SSRG email may also be required.  

	ERCOT

Event
	Refer to Cyber Intrusion Guide and Cyber Security Incident Response Plan located in procedure binder.

IF:

· Unusual system behavior is observed;

THEN:

· Contact Service Desk to notify Cyber Security team and follow their instructions.  When describing the issue, include details on the observed and potential impacts of the situation.

· If the Cyber Security Incident response plan has been initiated, the reporting instruction of the plan will be followed.
· Send an email to “SysOpsMgrs” when a NERC or DOE reporting event occurs or if suspected to occur and verify it was received due to potential time constraints on report submissions 

	Entity

Event
	IF:

· A TO or QSE reports an act of  suspected sabotage or a sabotage event, including cyber;

THEN:

· Verify that entity notified law enforcement and/or the FBI,  

· Disseminate the information using the ‘SSRG’ distribution list:

· State in the e-mail that the event is considered “an act of suspected sabotage OR further investigation/information is needed to determine if event is an act of suspected sabotage,”
· State the county the event occurred

ONCE:

· Enough information has been received;

NOTIFY:

· TOs and QSEs via Hotline with information you have,

· Post on the RCIS using “CIP Free Form”,

· Coordinate with the Director Control Room Operations and/or send an email to “SysOpsMgrs” when an event occurs or if suspected to occur and verify it was received due to potential time constraints on report submissions. Designee can help determine if procedure 3.4 SSRG Conference Calls is necessary and for any NERC and DOE reporting requirements.

Typical Hotline Script:  “This is ERCOT Operator [first and last name], ***This call contains Privileged Information and/or Critical Energy infrastructure Information and is Not to be released to the Public*** at [xx:xx], ERCOT notified the System Security Response Group (SSRG) of a suspected sabotage event [give information]. Please notify your SSRG representative.” 

[TO/QSE] please repeat this back to me.”

If repeat back is Correct, “That is correct, thank you”

If INCORRECT, repeat the process until the repeat back is correct.


	2
	WHEN:

· Updates are received;

THEN:
· Send an updated e-mail to the ‘SSRG’ distribution list, 

· Update RCIS posting as needed

	Log
	Log all actions.


3.5
Review Outage List

Procedure Purpose:  Verify known outages for the current day.

	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	1
	Navigate to the Outage Scheduler or associated RUC displays in the MMS.

Outage Scheduler>Outage Overview>OS Today’s Outages

Market Operation>Reliability Unit Commitment>*RUC Displays>NDP Displays>Outaged Equipment Summary

Alternatively, navigate to the Transmission Outages on the ERCOT Website.

· ERCOT Website; Data Products; Grid; Transmission; Transmission Outages; Consolidated Transmission Outage Report

	2
	Open OS Today’s Outages

	3
	Review the list of generation and transmission outages schedule for the current operating day.

	4
	Using the Outage Scheduler, verify if resources or facilities reported as Forced Outages are included in the outage list.

	5
	If Forced Outages are not listed, notify the Transmission and Security Desk Operator.

	6
	Verify with the Transmission and Security Desk and RUC Desk Operators the results of studies for the hours and nodes where these Resources and Facilities are scheduled to be out of service.

	7
	If errors or problems are detected, consult with the Outage Coordinator.


4.1
Resource Testing and In-Service Approvals

Procedure Purpose: This procedure provides direction and guidelines for conducting various testing and approval processes for resources and transmission elements. 
	Protocol Reference
	3.3.1
	6.5.7.8(1)
	8.5.1.1
	8.5.1.2

	Guide Reference
	3.3.2.2
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025

	
	
	
	

	Step
	Action

	Unit Testing

	Note
	QSEs will submit test requests through NDCRC.  As requests for unit tests are received, make every reasonable effort to accommodate testing.

ERCOT will communicate with the QSE if a request is rejected or canceled. All rejections will be coordinated with the Shift Supervisor.

	1
	As requests for unit tests are received, make every reasonable effort to accommodate testing.

Reasons for not accommodating testing:

· Unit has best shift factor to manage congestion for an outage (Planned or Forced). 

· If the Unit is creating unjustified congestion under normal conditions.

·  Without unit, contingency may reach max shadow price and become unsolvable,

· If a pattern of repeated requests for the same unit(s) indicate that abuse of the testing privilege may be taking place. Verify the rejection with the Shift Supervisor and if the rejection is approved, the Shift Supervisor will notify Control Room Operations management.

	Caution
	The rejection of a testing unit is necessary to maintain system security, instruct the test be canceled and deploy as needed. 

	Note
	The tests mentioned below are not an exhausted list, they are tests that required coordination with other ERCOT departments.

	Approved Resources to be ONTEST

	Approval


	· As Resource tests are submitted into NDCRC, Review the request and Approve the test if there are no reliability concerns.

· All ERCOT Operators will be able to view NDCRC to determine which Resources are approved to use the status of ONTEST. 

	In Service Approval (or Approval to Energize)

	1
	IF:

· A TO or QSE makes a request to energize new or relocated equipment;

THEN:

· Review notification provided by Operations Support Engineering,

· Approve the request if notification has been provided;

IF:

· The equipment has not been approved by Operations Support Engineering,

 THEN: 

· Delay the request and notify Operations Support Engineer.

	Ancillary Service Testing Coordination

	1
	Ancillary Service Qualification Testing will be done in coordination with Operations Analysis and GMS Support.

IF:

· A QSE requests an Ancillary Service Qualification Test;

VERIFY:

· A Wholesale Account Manager is in the notification or instruct the QSE representative to notify their Wholesale Account Manager to start the process.

	2
	The coordination of the testing times will be between System Operations, Operations Analysis and GMS Support. 

When contacted by Operations Analysis: 

· Wholesale Account Manager will notify QSE of scheduled test,

· Ensure reliable conditions exist at all times.

	Log
	Log all actions.

	Coordinated Reactive Tests

	Note
	The Resource Entity requesting to perform a Coordinated Test will provide ERCOT Operations and the TO with notice of the proposed test date before 1500 on the day prior to the day of the test.   Requests shall be made between 0800 and 1700 on Business Days. Upon receipt of a request for test, ERCOT Operations and the TO will evaluate the expected conditions and determine whether ERCOT System conditions are conducive to a valid test can be created through coordinated network switching, modification of the generation reactive dispatch of nearby Generation Resources, or by some other means.  Having established that suitable ERCOT System conditions exist or can be created, ERCOT Operations, and the TO shall confirm with the Resource Entity and the QSE the agreed upon test time and date or a rejection of the test time and date before 1700 on the day prior to the day of the test.

	1
	Coordinated Reactive Tests will be done in coordination with System Operations, the Resource Integration Department, the impacted TO, and the QSE.  

WHEN:

· A QSE makes a request for a Coordinate Reactive Test;

VERIFY:

· Date/Time of Testing

· MVAR Leading and/or Lagging expected during the test

· CURL/D-Curve is attached

· Estimated MW output 

If all information is included in the test request, proceed to step 2.  If not, reply to e-mail from QSE and request the missing information.



	2
	The coordination of the testing times will be between System Operations, the Resource Integration Department and the impacted TO. 

WHEN: 

· All information above is received;

 VERIFY:
· TO has approved the test,

· TO can approve verbally on a recorded line or by email

Once the TO has approved and all information is accurate, approve the QSE test request. There will be a email automatically generated with the approval to the following:

· Resource Integration Department

· 1Ercot System Operators

 

	Not OK 

to Test
	If the request cannot be accommodated, Instruct the Reliability Risk Desk Operator to reject the test with the reasons why and follow up a call with the QSE:

__________________    

     (Shift Supervisor)

	Approval
	· All ERCOT Operators will be able to view NDCRC to determine which Resources are approved to be ONTEST.

	Log
	Log all actions.


5.1
Providing Technical and Operational Support

Procedure Purpose: Technical and operational support duties for the Shift Supervisor

	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


The Shift Supervisor is responsible for ensuring operations are in compliance with ERCOT Protocols, NERC Reliability Standards, Operating Guides, and Operating Procedures.  The Shift Supervisor must have a very good understanding of the ERCOT Protocols, Operating Guides, and NERC Reliability Standards.

The Shift Supervisor may consult with Operations Support, Operations Analysis, Market Operations, or any resource he deems necessary to resolve and clarify market related issues.  She/he will assist the System Operators in resolving market issues.

The Shift Supervisor also monitors and ensures that adequate coordination between the ERCOT Region, MISO, SPP and CENACE is maintained.  To this effect the Shift Supervisor monitors the communications and coordination between the DC-Tie Desk Operator, MISO, SPP and CENACE.

The Shift Supervisor is responsible for running primary operations from the Alternate Control Center once per month.  This is to ensure all desks are functional in the case of an emergency.

The Shift Supervisor has the authority to coordinate additional support to assist during emergencies, system and weather related disturbances, and high demand periods as deemed necessary.  Support may be required from Operations Support, Operations Analysis, Market Operations, Outage Coordinators, and System Operators assigned to the Alternate Control Center.  The Shift Supervisor also has the authority to assign temporary duties to this additional support staff.

Finally, other Shift Supervisor duties may require the on-shift Shift Supervisor to leave the Control Center from time to time.  On these occasions, the Shift Supervisor may delegate its duties to another System Operator Desk on a temporary basis.  The Shift Supervisor shall remain in contact and accessible to the control center via available communication means.

5.2
Ancillary Service Requirements

Procedure Purpose:  To ensure A/S is posted by 0600.

	Protocol Reference
	4.2.1.1
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	The Shift Supervisor must verify the posted ancillary service requirements for the 1st day of the month are correct.  This should be verified before the Day-ahead Deak Operator posts the new requirements.

	1
	Market Participation>Physical Market>AS Market>AS Plan

Ensure the Ancillary Service Requirement and Load Forecast is posted prior to 0600.

	Last

Day of 

Month
	Before 04:00 on the last day of the month, ensure the A/S requirements for the next month have been updated into the AS Plan.


5.4
Outage Coordination

Procedure Purpose:  Ensure Protocols are followed for Outage Coordination.

	Protocol Reference
	3.1
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· Real-Time functional desks are not authorized to approve outages outside the timelines

· The Transmission Outage Approval process has been specifically designed to allow the market time to respond and achieve a market solution.  Therefore, outages cannot be moved forward from one day to the next out of the approved timeframe without impacting the market solution

· The ERCOT Protocols clearly define the timelines for outage approval.  At this time, no one (Outage Coordinator, System Operator, or Engineer) can approve a Planned Transmission Outage for the next day

· The only outages that are allowed for the next day are Level 1 outages and Remedial Switching Actions reported by the TO

	1
	Direct any questions about scheduling of transmission outages and generation outages to the Outage Coordination personnel.

	Note
	Under extreme emergencies the Shift Supervisor may enter a Forced Outage for a TO or QSE.

	2
	Navigate to the market Outage Scheduler on the ERCOT Website.

· ERCOT Website; Applications; Outage Scheduler

	3
	Open Outage Scheduler

	4
	Select a Category of outage:

· Transmission

· Generation

	5
	Select the TO or QSE Name:

	6
	Select Change User to access the TO or QSE data   

	7
	Select Create New Outage:

· Choose Forced

	8
	Select Actual Start:

· Enter Date and Time

	9
	Select Planned End:

· Enter Date and Time

	10
	Enter the Emergency Restoration  in HRS

· Must be = or < than outage duration

	11
	Select the Nature of work:

· Choose a description from the dropdown

	12
	Select a Station Name:

· Choose a station from the dropdown

	13
	Select the Equipment Type:

· Choose the Equipment Type from the dropdown

	14
	Select  the Equipment:

· Choose a piece of equipment from the dropdown

	15
	If known:

· Enter Supporting Information for outage

	16
	Select the Submit button.

	17
	If errors or problems are detected, consult with the Outage Coordinator.

	Log
	Log all actions.


5.9
Approval for Telecommunication and EMMS Outages and Maintenance

Procedure Purpose:  To provide ERCOT System Operators with the authority to approve planned outages and maintenance of its telecommunication, monitoring and analysis capabilities.
	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	IRO-002-7

R4
	TOP-001-6

R9, R16, R17
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	ERCOT System Operators have the authority to approve planned outages and maintenance of its telecommunication, monitoring and analysis capabilities.  This includes providing approval for planned maintenance such as database loads, site failovers, ICCP links, etc.  This authority applies to TOs and QSEs planned outages of telemetering, control equipment, and associated communication channels when reliability of the grid is in jeopardy. 
Market Participants must be notified of any planned outages, and unplanned outages of 30 minutes or more, of telemetering, monitoring and assessment capabilities, and associated communication channels between affected entities.

	1
	WHEN:

· Notified by the Telecommunication group or GMS Support to approve a planned outage or maintenance of any telecommunication, monitoring or analysis capability;

THEN:

· Provide approval only if it won’t impede with the reliability of the grid.

IF:

· It is anticipated that an outage will last at least 30 minutes, instruct Transmission and  Security Desk and Real-Time Desk Operators to notify MPs via Hotline call.  

· Approval cannot be granted at the time request, suggest another time that may be more suitable.



	Log
	Log all actions.


6.1
Reports

Procedure Purpose: Provide reporting criteria and instructions for the daily reports sent to the PUC, the process to report certain events to the Texas Reliability Entity, posting EEA notices to RCIS and the process for reporting system disturbances to NERC and DOE.

	Protocol Reference
	 22 (B)
	6.5.1.2 (4)
	
	

	Guide Reference
	3.2.3
	4.7
	
	

	NERC Standard
	EOP-004-4

R1, R2 


	EOP-010-1

R1, R1.1, R2


	EOP-011-4

R2, R2.1, R2.2, R2.2.3, R2.2.3.2, R2.2.3.3, R2.2.5
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	PUCT Daily Report

	Note
	The PUCT Daily Report is automatically sent at 0530 and again at 1430 each day during the summer.  During the Fall, Winter and Spring the PUCT Daily Report is automatically sent at 0230 and again at 1430 each day.  Notify Grid Applications Development if the report fails to automatically send. 

	Prepare Report
	During the Summer prepare the PUCT Daily Report between 0530 – 0600 and again between 1430 – 1500 each day.  During the Fall, Winter and Spring prepare the PUCT Daily Report between 0230 – 0300 and again between 1430 – 1500 each day.  Management will coordinate the transition of reports so that everyone knows the appropriate times that the report should be sent.

	Review Report
	Open up the PUCT Report site and review at any time.  If required to send out the report manually, Refer to Desktop Guide Shift Supervisor section 2.7.

	E-Mail

Report
	E-mail the report to the distribution list entitled “PUC-Available Generating Resources.”

Subject line example: 0600 PUCT Report June 1, 2019 

	Unit Trip Posting

	Report
	Complete the Unit Trip posting for the previous day between 0000 – 0800 each day of the week.

	Analyze
	Review:

· Any unit trips from the previous day,

· Post an Operational Information message, low priority, on the ERCOT Website

	<450 MW
	IF:

· No trips are greater than 450 MW,
· Post the following message example on the ERCOT Website

	Post
	No sudden loss of generation greater than 450 MW occurred on <Date>. 

	≥450 MW
	IF:

· A trip was 450 MW or more,

· Post the following message example on the ERCOT Website

	Post
	On <Date>, a sudden loss of generation occurred at <Time> totaling *** MW. Frequency declined to **.*** Hz, ERCOT load was **,*** MW.

	Multiple Trip Example
	On <Date>, a sudden loss of generation occurred at <Time> totaling *** MW. Frequency declined to **.*** Hz, ERCOT load was **,*** MW. Another sudden loss of generation occurred at <Time> totaling *** MW. Frequency declined to **.*** Hz, ERCOT load was **,*** MW.

	Load Curtailment due to Transmission Problem Posting

	Note
	If the Emergency Condition is the result of a transmission problem, ERCOT shall act immediately to return the ERCOT System to a reliable condition, including instructing any QSE representing a Resource to change the Resource’s output, curtailing any remaining DC Tie Load, and instructing TSPs or DSPs to drop Load. In addition, ERCOT may instruct any QSE representing an ESR to suspend ESR charging if ERCOT determines that a Load reduction by the ESR is capable of mitigating the transmission problem.  An ESR co-located behind a POI with onsite generation that is incapable of exporting additional power to the ERCOT System may continue to charge as long as maximum output to the ERCOT System is maintained

	Analyze
	REVIEW:

· Any instructed Load Curtailment, Load Resource Deployment, ERS Resource Deployment, or DC Tie curtailments from the current day;

IF:
· An event occurred during the current day;
THEN:

· Complete the Load Curtailment due to Transmission Problem posting prior to midnight on the day of the event if Resources output is curtailed, any remaining DC Tie load is curtailed, TSPs and DSPs instructed load is curtailed, ESR has been instructed to suspend charging, or Load Resource(s) or ERS Resource(s) are deployed due to a transmission problem;

POST:

· An Operational Information message, low priority, on the ERCOT Website.

	ERCOT Website Posting Example
	Typical ERCOT Website posting:
On <Date>, at <Time>, ERCOT instructed a(n) <Load Curtailment/Load Resource Deployment/ERS Resource Deployment/DC Tie Curtailment> totaling *** MW in the <substation(s) or geographic area>. All < Load/Load Resources/ERS Resources/DC Tie Curtailments> were restored at <Time>.

	Event Analysis Reporting

	1
	WHEN an event occurs that is listed on the “event list” below, before shift is over:

· E-mail information to Director Control Room Operations and Designee

· The subject line of the e-mail should read “TRE Event.”

	Event

List
	For purposes of the event analysis program, brief reports must be completed with 10 days (Responsibility of Grid Analysis group).  Most events listed are either DOE-417 or EOP-004 reportable, those timelines and forms will be used in place of the EA brief report.  

Category 1 Events:

a. An outage, contrary to design, of three or more BES Facilities caused by an event:

i. The outage of a combination of three or more BES Facilities (excluding successful automatic reclosing)

ii. The outage of an entire generation station of three or more generators (aggregate generation of 500 MW to 1,999 MW); each combined cycle unit is counted as one generator

b. Retired on January 1, 2024
c. Failure or misoperation of a BES RAS

d. Retired on January 1, 2024
e. BES system separation contrary to design results in an island of 100 MW to 999 MW. This excludes BES radial connections, and non-BES (distribution) level islanding

f. Retired on January 1, 2016

g. The loss of generation of 1,400 MW to 1,999 MW

h. Loss of monitoring and/or control, at a Control Center, such that it degrades the entity’s ability to make Real-Time operating decisions that are necessary to maintain reliability of the BES in the entity’s footprint for 30 continuous minutes or more 

Some examples that should be considered include, but are not limited to the following: 

i. Loss of operator ability to remotely monitor or control BES elements 

ii. Loss of communications from SCADA RTU 

iii. Unavailability of ICCP links reducing BES visibility 

iv. Loss of the ability to remotely monitor and control generating units via AGC 

v. Unacceptable state estimator or contingency analysis solutions 

i. A non-consequential interruption of inverter type resources aggregated to 500 MW or more not caused by a fault on its inverters, or its AC terminal equipment

j. A non-consequential interruption of a DC tie, between two separate asynchronous systems, loaded at 500 MW or more, when the outage is not caused by a fault on the DC tie, its inverters, or its AC terminal equipment. 

Category 2 Events:

a. Complete loss of Interpersonal Communication and Alternative Interpersonal Communication capability affecting its staffed BES control center for 30 continuous minutes or more 

b. Retired on January 1, 2016 refer to Category 1h

c. BES Emergency resulting in a voltage  deviation of equal to or greater than 10% difference of nominal voltage sustained for 15 continuous minutes

d. Complete loss of off-site power (LOOP) to a nuclear generating station per the Nuclear Plant Interface Requirement

e. System separation contrary to design, that results in an island of 1,000 MW to 4,999 MW

f. Simultaneous loss of 300 MW or more of firm load due to a BES event, contrary to design, for more than 15 minutes

g. IROL exceedance for greater than 30 minutes.

Category 3 Events:

a. Loss of firm load, contrary to design, of 2,000 MW or more

b. System separation contrary to design, that results in an island of 5,000 MW or more

c.  Not applicable to ERCOT

d.  Loss of 2,000 MW or more provided by DC ties(s) connected to asynchronous resources

·  Loss of generation (including inverter-based resources) of 2,000 MW or more. This excludes RAS action that performed as designed.

	NERC and DOE Reporting Operating Plan

	Note
	· Send an email to “SysOpsMgrs” when a NERC or DOE reporting event occurs or if suspected to occur and verify it was received due to potential time constraints on report submissions 

· Within 72 hours of incident a Final Report must be filed unless an interim update has been provided

	DOE-417

Reporting

Events
	DOE-417 forms can be downloaded at: https://doe417.pnnl.gov/report
The events listed below must be reported within 1 hour of the incident:  

· Physical attack that causes major interruptions or impacts to critical infrastructure facilities or to operations
· Reportable Cyber Security Incident
· Cyber event that is not a Reportable Cyber Security Incident that causes interruptions of electrical system operations

· Complete operational failure or shut-down of the transmission and/or distribution electrical system

· Electrical System separation (Islanding) where part or parts of a power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system

· Uncontrolled loss of 300 MW or more of firm system loads for more than 15 minutes from a single incident

· Firm Load shedding of 100 MW or more implemented under emergency operational policy 

· System-wide voltage reduction of 3% or more

· Public appeal to reduce the use of electricity for purpose of maintaining the continuity of the electric power system 
The events listed below must be reported within 6 hours of the incident:

· Physical attack that could potentially impact electric power system adequacy or reliability; or vandalism which target components of any security systems

· Cyber event that could potentially impact electric power system adequacy or reliability

· Loss of electric service to more than 50,000 customers for 1 hour or more

· Fuel supply emergencies that could impact electric power system adequacy or reliability

The events listed below must be reported by the later of 24 hours of recognition of meeting an event threshold for reporting or by the end of the next business day (4 p.m. local time will be considered the end of the business day):

· Damage or destruction of a Facility that results in action(s) to avoid a Bulk Electric System Emergency

· Damage or destruction of its Facility that results from actual or suspected intentional human action
· Physical threat to its Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility. Or suspicious device or activity at its Facility

· Physical threat to its Bulk Electric System control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center. Or suspicious device or activity at its Bulk Electric System control center

· Bulk Electric System Emergency resulting in voltage deviation on a Facility; A voltage deviation equal to or greater than 10% of nominal voltage sustained for greater than or equal to 15 continuous minutes

· Uncontrolled loss of 200 Megawatts or more of firm system loads for 15 minutes or more from a single incident for entities with previous year’s peak demand less than or equal to 3,000 Megawatts
· Total generation loss, within one minute of: greater than or equal to 1,400 Megawatts in the ERCOT Interconnection 

· Complete loss of off-site power (LOOP) affecting a nuclear generating station per the Nuclear Plant Interface Requirements

· Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing)

· Unplanned evacuation from its Bulk Electric System control center facility for 30 continuous minutes or more

· Complete loss of Interpersonal Communication and Alternative Interpersonal Communication capability affecting its staffed Bulk Electric System control center for 30 continuous minutes or more

· Complete loss of monitoring or control capability at its staffed Bulk Electric System control center for 30 continuous minutes or more

· Uncontrolled loss of a total of 500 MW or more from inverter-based resources(s) for greater than 30 minutes at a common point of interconnection to the bulk electric system

Attempted Cyber Compromise: Within 1 calendar day of determination of the attempted cyber compromise:

· Cyber Security Incident that was an attempt to compromise High or Medium Impact Bulk Electric System Cyber Systems or their associated Electronic Access Control or Monitoring Systems

	Event 

Reporting

EOP-004-4
	If an EOP-004 reportable event is also a reportable event under the DOE-417 requirements, the DOE-417 form can be used to report to NERC and DOE. 

The events listed below must be reported by the later of 24 hours of recognition of meeting an event threshold for reporting or by the end of the next business day (4 p.m. local time will be considered the end of the business day).

· Damage or destruction of a Facility that results in actions to avoid a BES Emergency

· Damage or destruction of a Facility that results from actual or suspected intentional human action

· Physical threats to a Facility excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the Facility or suspicious device or activity at a Facility

· Physical threats to its BES control center, excluding weather or natural disaster related threats, which has the potential to degrade the normal operation of the control center or suspicious device or activity at its BES control center

· Public appeal for load reduction to maintain continuity of the BES 

· System wide voltage reduction of 3% or more

· Firm load shedding ≥ 100 MW (manual or automatic)

· Voltage deviation of =/> 10% of nominal voltage sustained for ≥ 15 continuous minutes

· Uncontrolled loss of firm load for greater than 15 minutes from a single incident:

· ≥ 300 MW for entities with a previous year’s demand of ≥ 3,000 MW OR
· ≥ 200 MW for all other entities

· Each system separation resulting in an island ≥ 100 MW 

· Loss of generation of ≥ 1,400 MW 

· Complete loss of off-site power affecting a nuclear generating station per the Nuclear Plant Interface Requirement

· Unexpected loss within its area, contrary to design, of three or more BES Elements caused by a common disturbance (excluding successful automatic reclosing)

· Unplanned evacuation from BES control center facility for 30 continuous minutes or more

· Complete loss of Interpersonal Communication and Alternative Interpersonal Communication capability affecting its staffed BES control center for 30 continuous minutes or more

· Complete loss of monitoring or control capability at its staffed BES control center for 30 continuous minutes or more 

	Reporting

To

Entities
	When required to file or forward a report from other entities, the Director Control Room Operations or the Designee will be responsible.

File or forward the disturbance report to the following entities:

· NERC System Awareness (systemawareness@nerc.net)

· NERC (operations@eisac.com), requirement for cyber and courtesy copy for all other reports

· Fax (404) 446-9770, if internet down

· Phone (404) 446-9780 

· DOE when required above  (doehqeoc@hq.doe.gov)
· Fax (202) 586-8485, if internet down

· Phone (202) 586-8100

· NERC and DOE Disturbance Reporting distribution list

In the body of the e-mail, type the following:

· "Contains Privileged Information and/or Critical Energy Infrastructure Information - Do Not Release".

	Note
	· If adverse conditions prevent reporting the damage caused by an event and issuing a written Event Report within the timing of the Standard, notify NERC and Texas RE and provided as much information as is available at the time of the notification.
· Please be aware that for phone calls to NERC, you will be prompted by a computerized auto-attendant to press 1 for operational issues or 2 for cyber-security issues.

	RCIS Reporting

	EEA

Postings
	There are four levels of Emergency Energy Alert (EEA). As ERCOT enters each level, postings must be made on the RCIS under “Energy Emergency Alert”:

· “ERCOT is declaring EEA 1”

· “ERCOT is declaring EEA 2” 

· “ERCOT is declaring EEA 3”

· “ERCOT is in EEA 0 and back to normal operations.” 

	NXT Notification Requirements

	Beginning

of each

Shift
	Log into the NXT Communicator at the beginning of each shift in order to make the required notification quickly. 

· If issues arise and you are unable to log into the NXT Communicator with your user name, notify the helpdesk and request immediate assistance.

	Note
	NXT notification should be coordinated with the Shift Engineer.

	Watch
	IF:

· A Watch for Physical Responsive Capability is initiated,

THEN:

· Select the “SO Watch PRC below 3000” Scenario and activate notification,

WHEN:

· A Watch for Physical Responsive Capability has been cancelled,
THEN:

· Select the “SO Watch for PRC Cancelled” Scenario and activate notification.

	EEA

Implementation Levels
	IF:

· ERCOT initiates EEA Level 1,
THEN:

· Select the “SO EEA Level 1” Scenario and activate notification,
IF:

· ERCOT initiates EEA Level 2,
THEN:

· Select the “SO EEA Level 2” Scenario and activate notification,
IF:

· ERCOT initiates EEA Level 3 with Load Shed,
THEN:

· Select the “SO EEA Level 3, WITH Load Shed” Scenario and activate notification.

	EEA

Termination Levels
	WHEN:

· EEA Level 3 is terminated,
THEN:

· Select the “SO EEA Level 3 to EEA Level 2” Scenario and activate notification,
WHEN:

· EEA Level 2 is terminated,
THEN:

· Select the “SO EEA Level 2 to EEA Level 1” Scenario and activate notification,
WHEN:

· EEA Level 1 is terminated,
THEN:

· Select the “SO EEA Level 1 Cancellation” Scenario and activate notification.

	Loss of

Firm

Load
	IF:

· An Operator (ERCOT or TO) has issued a request for firm load shed of ≤ 100 MW,
THEN:

· Notify the Director Control Room Operations and/or Designee immediately.

WHEN:

· An Operator (ERCOT or TO) has issued a request for firm load shed of ≥ 100 MW,
THEN:

· Notify the Director Control Room Operations and/or Designee immediately,

· Select the “SO Request Firm Load Shed” Scenario and activate notification.

	NXT Testing
	WHEN:

· Performing Shift Supervisor Procedure 9.2 Monthly Testing of Non-Routinely used Telecommunications Facilities,
THEN:

· Select the “SO ENS Test” Scenario and activate notification.

	ERCOT Morning Report

	Note
	· This report is currently only required Monday – Friday.

· The Morning Report form is located on the _Operations Official Spreadsheets folder

	1
	Weather Information:

· The temperatures are automatically pulled from the EMS, however please verify temperatures from a National or Local Weather Service for each city listed and adjust as necessary.

· Enter the current day forecast conditions for each city listed.

	2
	Load Data:
· The All-Time Peak MW and Seasonal Peak MW will be provided as needed. 

· Verify the Projected Peak MW and peak hour for the current day.  Use the most reasonable forecast, which may not be the highest.

· Verify the Previous Day Actual MW.

	3
	Interchange: 

· Verify the net flow across the DC-Ties for the peak hour.  This can be obtained from the MOI under “DC Tie Scheduling” or from the Excel MAI.

	4
	Transmission Line Outages:

· Verify the number of 345 kV line segment outages for the peak hour.

	5
	Generation MW Totals:

· Verify the Generation scheduled outage MW total.

· Verify the Generation forced outage MW total.

	6
	Projected MW Reserves:

· Verify the Responsive Reserve requirement at the Project Peak.

· Verify the anticipated operating reserves available at time of peak.

· The anticipated operating reserves can be found by adding the “Max Cap. Room” and Responsive Reserve requirement.

	7
	Recent ERCOT Congestion Activity:

· No action needed

	8
	Comments:

· List any active OCNs, Advisories, Watches or Emergency notices.

	9
	Select:

· Create Report

	Email
	The file is transferred to P:\SYSTEM OPERATIONS drive in the NERC Morning Report Folder.   This report should be sent as an attachment by 0700 using the e-mail distribution list entitled “ERCOT Morning Report.”

The subject line of the e-mail should read “ERCOT Morning Report for <date>”

	RMR Unexcused Misconduct Events

	Note
	· For a RMR unit, a “Misconduct Event” means any hour or hours during which Participant is requested to, but does not; deliver the energy at a level of at least 98% on each hour of the level shown in the Availability Plan.

· For a Synchronous Condenser Unit, a “Misconduct Event” means any hour or hours during which Participant is requested to, but does not, synchronize the Unit to the ERCOT Transmission Grid during any hour in which the Unit is shown in the Availability Plan

	1
	IF:

· An RMR or Synchronous Condenser fail to deliver the energy when requested to;

THEN:

· Notify the Director Control Room Operations and/or Designee.

· The management will gather the detailed information and send an e-mail to “Nodal Settlements and Billing” with the subject line “Action Required – RMR Unexcused Misconduct Event”. 

	Shift Schedule

	Note
	· Operations Shift Schedules will be posted to the ERCOT Website under Data Products>Grid on the Transmission Page in the Reports & Extracts section.  

· The posting of the schedule will be current at all time to be compliant with the Protocols.

	Geomagnetic Disturbance (GMD)

	Note
	 Solar storms or Geomagnetic disturbances (GMDs) are caused by the interaction of coronal mass ejections (solar flares) with the Earth’s Ionosphere. This interaction produces ionospheric currents in the magnitude of millions of amperes which disturb Earth’s magnetic field. This disturbance induces voltage potential at Earth’s surface which results in geomagnetically induced currents (GICs) in conducting paths such as long transmission lines, pipelines, cables etc. GICs are low frequency or quasi-DC currents which enter and exit the power system at transformer groundings and grounded transmission lines. GICs of 100’s of amperes in magnitude have been recorded. Hence the GICs have the potential to disrupt the normal operation of power system and may damage transformers. GICs may also lead to the loss of reactive power support and hence may cause voltage instabilities.

	Monitor
	Monitor forecasted and current space weather:
Either via the Reliability Coordinator Information System (RCIS) at https://www.oatihub.oati.com/Hub/login, or
 NOAA’s Space Weather Prediction Center (SWPC) at 
http://www.swpc.noaa.gov/

	Warning

(Forecasted)
	WHEN:

· A forecasted GMD Warning is issued for K-7 and greater or G3 and greater;

THEN: 

· Post message on the ERCOT Website
· Notice Type: Operational Information

· Notice Priority: Low

Typical ERCOT Website Posting:
The Space Weather Prediction Center has issued a GMD Warning of [state level] until [date and time].

Notify Operations Support to run power flow studies to identify 345kV transformers loaded above 70% and develop a mitigation plan if needed.

	Extend
	IF:

· The Warning is extended or K level increases/decreases;

THEN: 

· Post new message on the ERCOT Website and
· Cancel the older message
Typical ERCOT Website Posting:
The Space Weather Prediction Center has extended the GMD Warning of [state level] until [date and time].

	Cancel
	WHEN:

· The Warning is no longer valid;

THEN: 

· Cancel the ERCOT Website posting.

	Alert

(Current)
	WHEN:

· An Alert for a GMD is issued for K-7 and greater or G3 and greater, or the K level increases/decreases;

THEN: 

· Instruct the Transmission and Security Desk and Real-Time Desk Operators to implement their GMD procedures to make additional postings and Hotline calls.

	Extend
	IF:

· The Alert is extended or the K level is increased/decreases;

THEN: 

· Instruct the Operators to extend the Alert and/or make notifications regarding storm severity.

	Cancel
	WHEN:

· K levels drop below K7 or when the Warning is no longer valid;

THEN: 

· Instruct the Operators to cancel the Advisory for the Alert.

	Issues
	IF:

· Any TO reports an issue due to the GMD event;

THEN: 

· Send e-mail to the following with the details
· Operations Analysis

· Operations Support

· Shiftsupv

	Gas Restrictions

	1
	Once notified by a QSE of gas restrictions

· Send an e-mail to “Gas Company Notifications”.  This will notify all appropriate ERCOT staff.

	2
	Determine:

· If the gas restriction could impact electric power system adequacy or reliability,

THEN:

· Proceed to “Reports” procedure for NERC/DOE reporting requirements, AND
· Consider discussing fuel switching with affected QSE for the generation that has this capability

This data can be viewed at ERCOT SharePoint > System Operations – Control Center > Quick Links > Fuel Oil Capability

	FFSSR Restocking Request

	Initial Request
	IF:

· During or following the deployment of FFSS, the QSE for an FFSSR may request an approval from ERCOT to restock their fuel reserve to restore their FFSS capability.

THEN:

· Request the QSE to submit a written request to the ERCOT Shift Supervisors email.

	Request Received
	IF:

· An email request is received;

THEN:

· Notify the Director Control Room Operations and/or Designee to help coordinate other departments with process.

	Review Request
	IF:

· A request has been received;

DETERMINE:

· If the entity can still meet their 48-hour FFSS capacity requirement,

· How long until the end of the Contract period,

· Risks of cold weather impacting the region, and
Any other conditions or impacts that need to be considered.

	Response

Provided
	THEN:

· Within 48 business hours an emailed response is required to the entity,
EXAMPLE:

· ERCOT confirms instructions have been made to [RESOURCE NAME(s)] to restore fuel reserves so [QSE] can meet their 48-hour obligation per the FFSS VDI dispatch instructions, OR

ERCOT denies the request to [RESOURCE NAME(s)] to restore fuel reserves.

	Log
	Log all actions.

	Remedial Action Schemes (RAS)

	1
	IF:
· A Monthly RAS report is received by e-mail;

THEN:

· Forward reports to:

· OPS Support Engineering
· Operations Analysis

· Shift Supervisors 


7.4
Hurricane/Tropical Storm

Procedure Purpose: To ensure Entities are prepared for a Hurricane or Tropical Storm that could impact system reliability.

	Protocol Reference
	6.3.2(3)(a)(ii)
	6.5.9.3.1
	6.5.9.3.2
	6.5.9.3.3

	
	6.5.9.3.4
	
	
	

	Guide Reference
	4.2.1
	4.2.2
	4.2.3
	4.2.4

	NERC Standard
	EOP-011-4

R1, R1.1, R1.2, R1.2.2, R1.2.6, R1.2.6.2, R2, R2.1, R2.2, R2.2.10, R2.2.10.2
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· Hurricane and Tropical Storm notifications can be called when there is a probability of landfall in the ERCOT Region (http://www.nhc.noaa.gov)

· The ERCOT Meteorologist may provide forecasts to supplement other Weather Service data information 

· The sequence of actions taken, or notifications issued may vary due to system conditions or other operational issues and it may be necessary to skip actions due to the severity of the situation. To the extent possible, and when prudent, actions that were skipped may be implemented at a later time or date

	Reporting
	As system conditions warrant, complete the following tasks:

· Refer to the “Abnormal Events” procedure (7.1) and take appropriate actions for “Gas Restrictions”

· Refer to the “Reports” procedure (6.1) and coordinate with the Director Control Room Operations or designee on reporting requirements for the conditions that exist

	OCN
	OCNs will be issued with as much lead time as possible to provide Market Participants with information and instructions about a developing Hurricane or Tropical Storm that is forecasted to potentially impact the ERCOT Region. As a guideline, review the bullets below and determine which steps are necessary:   

· Ensure OCN is issued

· Review the expected path of the hurricane/tropical storm and consult with the Operations Support Engineer to determine if multiple contingencies should be studied due to the possibility of transmission outages or loss of load

· Coordinate with Outage Coordination for the review of planned and existing transmission outages to be withdrawn, rejected, or restored. 

· Coordinate with Outage Coordination for the review of planned and existing Resource outages that could be asked to be delayed or returned early

· Report any fuel restrictions as per section 6.1 of this procedure
Outages that could be critical are:

· Getaways from power plants, in the affected areas, that need to remain on during the storm for reliability

· 345 KV transmission paths in the affected areas, OR
· 345 KV transmission paths that will significantly impact the flow of power to and from the affected area

	Advisory
	An Advisory can be issued as the probability of an approaching Hurricane or Tropical Storm impacting the ERCOT Region increases to escalate awareness and provide instructions to Market Participants. As a guideline, review the bullets below and determine which steps are necessary:   
· Ensure Advisory is issued

· If STP is in the path of the hurricane/tropical storm and the QSE is planning to take the unit offline,

· Contact Operations Support to run studies to determine the impact and evaluate system conditions.

· If necessary, determine the generation needed to replace the loss of capacity from STP
· Continue to coordinate with Outage Coordination for the review of planned and existing transmission outages to be withdrawn, rejected, or restored.

· Continue to coordinate with Outage Coordination for the review of planned and existing Resource outages that could be asked to be delayed or returned early
· Report any fuel restrictions as per section 6.1 of this procedure

	Watch
	A Watch notification can be issued to Market Participants when impacts to the ERCOT Region from an approaching Hurricane or Tropical Storm are imminent and anticipated to have an adverse impact on the ERCOT System. As a guideline, review the bullets below and determine which steps are necessary:

· Ensure Watch is issued

· If necessary, instruct the RUC Desk Operator to RUC commit additional Resources as per Operations Support recommendations

· Determine if the need to have a conference call bridge open with the most affected TOs

·  Determine if the need for additional support staff from GMS Support, ANA, Operations Support, and Operators
· Report any fuel restrictions as per section 6.1 of this procedure

	Emergency

Notice
	When a Hurricane or Tropical Storm is beginning to have an adverse impact on the ERCOT Region. 

· Ensure Emergency Notice is issued

· Implement emergency procedures as needed



	Issues
	Notify the ERCOT Director Control Room Operations or Designee of any issues.

	Log
	Log actions for each bullet above, including if no action was taken and why.


7.7
Significant Weather Events

Procedure Purpose:  Monitor severe weather conditions for the ERCOT Region and regions outside of ERCOT which can arise with little or no warning that could potentially impact the ERCOT Grid.
	Protocol Reference
	3.1.4.6
	6.3.2(3)(a)(ii)
	6.5.9.3.1
	6.5.9.3.2(4)

	
	6.5.9.3.4
	
	
	

	Guide Reference
	4.2.1
	4.2.2
	4.2.3
	4.2.4

	NERC Standard
	EOP-011-4

R1, R1.1, R1.2, R1.2.2, R1.2.6, R1.2.6.2, R2, R2.1, R2.2, R2.2.10, R2.2.10.1, R2.2.10.2
	TOP-001-6

R8
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· Significant weather events are those that do not meet the criteria of the extreme hot, extreme cold, hurricane, or tropical storm procedures

· Significant weather events can consist of, but are not limited to the following:

· Tornados

· Strong straight-line winds

· Flooding

· Freezing precipitation

· Wild Fires

· The ERCOT Meteorologist may provide forecasts to supplement other Weather Service data information

· The sequence of actions taken, or notifications issued may vary due to system conditions or other operational issues and it may be necessary to skip actions due to the severity of the situation. To the extent possible, and when prudent, actions that were skipped may be implemented at a later time or date

	OCN/

Advisory/

Watch
	When a significant weather event arises that could or does impact the ERCOT Region, ensure the proper notifications are issued.

	Post
	Coordinate with the Real-Time Desk Operator for the posting of the notices on the ERCOT Website.

	Issues
	Notify the Director Control Room Operations or Designee of any issues.

	Log
	Log all actions 


8.1
Under Performing QSE

Procedure Purpose: To remedy under-performance of one or more QSE to prevent adverse effects on ERCOT ACE performance.
	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	1
	IF:

· Under-performance by one or more QSEs is detected,

THEN:

· VERIFY the Resource Desk Operator has established communication with the QSE(s) to determine the cause.

· VERIFY that the Transmission and Security Desk and Real-Time Desk Operators are informed of the situation.

· ALLOW the Transmission and Security Desk and Real-Time Desk Operators to RESOLVE the problem to restore ERCOT ACE performance to normal.

	2
	IF:

· QSE continues to under-perform in real time, AND 

· ERCOT’s NERC performance requirements are not being met,

THEN:

· ASSIGN a System Operator to collect performance data on the QSE(s) affecting ERCOT’s NERC performance

· VERIFY data collected by System Operators from the EMMS 

	Note
	Step 3 may be done at any time.

	3
	RECORD the following information:

· QSE name 

· Date and Time period of non-performance

· Type(s) of AS not provided and nature of non-performance

· Perceived effect on ERCOT’s NERC performance requirements

· Description of remediation attempts and results

	Log
	Log all actions.


8.2
Dispatch Instruction Disputes

Procedure Purpose: The Shift Supervisor applies this procedure for resolving dispatch instruction disputes when the System Operator and the participant fail to resolve the issue raised by the participant.
	Protocol Reference
	6.5.7.8(3)
	6.5.7.9
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	Note
	· Each TO and QSE shall comply fully and promptly with Dispatch Instructions, unless in the sole and reasonable judgment of the TO or QSE, such compliance would create an undue threat to safety, undue risk of bodily harm or undue damage to equipment’s, or the Dispatch Instruction is otherwise not in compliance with the Protocols.

· An Intermittent Renewable Resource (IRR) must comply with Dispatch Instructions requiring it to reduce output two MW or more below the Resource’s latest HSL.

	1
	IF:

· A Resource has inadequately responded to a Dispatch Instruction,

THEN:

· Notify the QSE representing the Resource as soon as practicable.

	2
	IF: 

· The dispatch instruction is deemed to be invalid, 
THEN:

· Issue a new Valid Dispatch Instruction. THEN Go to STEP 4.
IF:

· The dispatch instruction is confirmed as a valid dispatch instruction,

THEN:

· Clarify the issue with the participant. 

	3
	IF:

· A participant(s) does not agree with the resolution:

THEN:

· Instruct the participant(s) to contact their ERCOT Wholesale Client Services representative for instructions on filing a formal dispute resolution request.

OTHERWISE, Go to next step

	4
	WHEN:

· The dispatch instruction dispute is resolved

THEN:

· Inform all participants involved in the dispute of the resolution of the dispute

	5
	RECORD the following information:

· Summary of communications with the participant

· Agreements reached

· Understood disagreements and,

· Reasons for proposed actions

	Log
	Log all actions.


8.3
Possible Protocol or Operating Guide Violations

Procedure Purpose: Provide instructions for reporting that a QSE or TO may have violated an ERCOT Protocol or Operating Guides requirement.

	Protocol Reference
	6.5.7.9
	
	
	

	Guide Reference
	3.1.2
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	1
	IF:
· It appears that a QSE or TO is in violation of the ERCOT Protocols or Operating Guides,

THEN:

· Confirm the System Operator’s finding of a possible violation and that an attempt was made to resolve issue with the QSE or TO personnel.

· Attempt to resolve the issue.  

· Obtain information from Market Operations Support and/or Operations Support personnel, as needed.

IF resolution is reached, then LOG the event and this procedure is complete.

	2
	IF:

· No agreement can be reached;

THEN:

· Review the incident to establish confidence that there has been a possible violation. 

Submit information to Director Control Room Operations and/or Designee

	3
	Log all actions.


8.4
Monitor Performance of On-Shift Operators, Coach or Assist System Operators as Required

Procedure Purpose:  High performance is important and expected.

	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	1
	SELECT at least one week per month to make observations and take notes on the performance of the System Operators.

	2
	OBSERVE and TAKE notes on the performance of the System Operators during special events and system emergency conditions.

	3
	KEEP observations and notes as supporting information for On-The-Job Performance Evaluation.

	4
	ADVISE, ASSIST, AND COACH System Operators when requested or as needed.


8.5
Ensure Compliance with ERCOT Protocols, Operating Guides, NERC Reliability Standards, and Operating Procedures

Procedure Purpose:  Culture of Compliance.

	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	
	
	
	


	Version: 2 
	Revision: 0
	Effective Date:  December 5, 2025


	Step
	Action

	1
	The Shift Supervisor is responsible for the day-to-day supervision of the RUC Desk Operator, Transmission and Security Desk Operators, Real-Time Desk Operator, Resource Desk Operator and the DC-Tie Desk Operator.

	2
	The Shift Supervisor shall PERIODICALLY CHECK the operations of each desk to ensure compliance with ERCOT Protocols, Operating Guides, NERC Reliability Standards, and Operating Procedures. The ERCOT Shift Supervisor is responsible for ensuring compliance.


Manual Change History

	Procedure
	Ver/Rev
	Reason for Issue
	Effective Date

	All Sections
	2.0 / 0
	RTC+B Implementation

All procedures in this manual have been reviewed
	December 5, 2025



