	ERCOT Operating Procedure Manual

Reliability Unit Commitment (RUC) Desk
	



Power Operations Bulletin # 2008
ERCOT has posted/revised the Reliability Unit Commitment manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html
3.8
Projected Reserve Capacity Shortage with no Market Solution  

Procedure Purpose:  To provide notice that all available Resources have been committed and no market solution exists to meet the project system demand.

	Protocol Reference
	3.1.6.9
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	EOP-011-4 R2, R2.1, R2.2, R2.2.3, R2.2.3.1
	
	
	


	Version: 2 
	Revision: 1
	Effective Date:  January 1, 2026


	Step
	Action

	Monitor
	PUCT Lookahead Margin

When the Available Capacity Margin column shows a negative 

	Watch
	WHEN:

· A reserve capacity shortage is projected, and no market solution is available to meet the projected system demand, and
·  There is a risk of an EEA event; 
THEN:

· Issue a Watch for projected reserve capacity shortage
· Notify the Transmission and Security Desk Operator to make Hotline call to TOs
· Post message on the ERCOT Website

	Hotline
	Q#83 - Typical Hotline Script for Watch for projected reserve capacity shortage with no market solution 



	Post
	Typical ERCOT Website posting: 

ERCOT issued a Watch for a projected reserve capacity shortage with no market solution available for [HE XX – XX], which causes a high risk for an EEA event. 

	Cancel
	Cancel Watch when projected reserve capacity shortage has ended by making hotline call to QSEs and cancelling the posting.  

Ask the Transmission and Security Desk Operator to make hotline call to TOs.

Q#84 - Typical Hotline Script to Cancel Watch for projected reserve capacity shortage with no market solution


	Log
	Log actions taken.

	Advance Action Notice (AAN)

	Definition
	An Advance Action Notice (AAN) is a type of Operating Condition Notice (OCN) that identifies a possible future Emergency Condition and describes future action ERCOT expects to take to address that condition unless the need for ERCOT action is alleviated by Qualified Scheduling Entity (QSE) and/or Transmission Service Provider (TSP) actions or by other system developments.

	Note
	ERCOT may issue an (AAN) in anticipation of a possible Emergency Condition.  Any AAN will identify actions ERCOT expects to take to address the possible Emergency Condition unless the need for ERCOT action is alleviated by QSE and/or TSP actions taken, or by other system developments that occur before a time stated in the AAN.

	Time Periods
	ERCOT shall issue the AAN a minimum of 24 hours prior to performing an Outage Adjustment Evaluation (OAE).  Additionally, unless impracticable, the OAE should not be performed until eight Business Hours have elapsed following issuance of the AAN.  ERCOT shall not issue an Outage Scheduler Adjustment (OSA) under this Section unless it has first completed an OAE.  

	1
	IF:

· ERCOT forecasts an inability to meet applicable transmission reliability standards and has exercised all other reasonable options

· There are Resources with approved or accepted Resource Outages, whose approval or acceptance could be withdrawn to meet the applicable transmission reliability standards

THEN:

· As instructed by the Shift Supervisor and in coordination with System Operations Management, Outage Coordination Management and Operations Support Management, issue an AAN.

	Hotline Issue AAN
	Notify QSEs of an AAN Notice.

Q#126 – Typical Hotline Script for an AAN

	Post
	ERCOT Website postings are usually made by the Resource Desk Operator, the Typical Posting Script below is for reference if needed:

Typical Posting Script:
ERCOT is issuing an AAN due to a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] beginning [date HE XX] until [date HE XX].  [Summary of actions ERCOT may take].  ERCOT may seek [amount of capacity] from an OAE and then make the OSA.  On [date] at [xx:xx] ERCOT will execute an OAE if deemed necessary. Please notify ERCOT by email, aan@ercot.com, with justification why a specific resource cannot be considered in the OAE.

	2
	IF:

· Conditions change
THEN:

· Update the AAN

	Hotline Update AAN
	Notify QSEs of an AAN Update Notice.

Q#127 –Typical Hotline Script for an Update of an AAN

	Updated Post
	ERCOT Website postings are usually made by the Resource Desk Operator, the Typical Posting Script below is for reference if needed:

Typical Posting Script:
ERCOT is updating an AAN due to conditions changing and a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] beginning [date HE XX] until [date HE XX].  [Summary of actions ERCOT may take].  ERCOT may seek [amount of capacity] from an OAE and then make the OSA.  On [date] at [xx:xx] ERCOT will execute an OAE if deemed necessary.

	Instructing Generation Resources Planned Outages Return Early
	IF:

· ERCOT forecasts an inability to meet applicable transmission reliability standards and has exercised all other reasonable options AND;

· There are Resources with planned Resource Outages, who may have the ability to return from their planned outage early;

THEN:

· As instructed by the Shift Supervisor and in coordination with System Operations Management, Outage Coordination Management and Operations Support Management;

· Instruct QSEs.
Q#129 – Typical Hotline Script for Instructing Generation Resources Planned Outages Return Early

	OSA
	WHEN:

· Notified by the Shift Supervisor the OSA has executed

THEN:

· Notify QSEs of executing the OSA process.

Q#130 – Typical Hotline Script for Outage Scheduler Adjustment (OSA)

	Post
	ERCOT Website postings are usually made by the Resource Desk Operator, the Typical Posting Script below is for reference if needed:
Typical Posting Script:
ERCOT has executed the OSA process due to a possible future Emergency Condition of [reserve capacity deficiency or reliability problem] projected for OSA Period [date HE XX] until [date HE XX]. Outages not moved voluntarily prior to [date] at [time] will be considered an OSA..


	Self-Scheduled Resources
	IF:

· A OSA Resource self-schedules their Resource during a OSA Period, 

THEN:

· A VDI RUC Instruction will be required for the hours they are self-scheduled.

	RUC Committed Resources
	IF:

· A OSA Resource is OFF during a OSA Period, 

THEN:

· A RUC Instruction will be required for the hours they are needed for Reliability.

	Hotline Cancel AAN
	WHEN:
· ERCOT determines that the possible Emergency Condition has been alleviated by QSE or TSP action, by ERCOT action, or by other system developments;

THEN:

· Using the Hotline, cancel the  AAN, 

Q#128 –Typical Hotline Script to cancel an AAN

	Cancel 

Posting
	WHEN:
· ERCOT determines that the possible Emergency Condition has been alleviated by QSE or TSP action, by ERCOT action, or by other system developments.
THEN:
· Coordinate with the Transmission and Security Desk Operator and Resource Desk Operator to cancel ERCOT Website message(s).

	Log
	Log all actions.


Document Control

Manual Change History

	Procedure
	Ver/Rev
	Reason for Issue
	Effective Date

	All Sections
	2.0 / 0
	RTC+B Implementation 

All procedures in this manual have been reviewed
	December 5, 2025

	3.8
	2.0 / 1
	Updated the Posting for AAN 
	January 1, 2026


