	ERCOT Operating Procedure Manual

	Shift Supervisor Desk



Power Operations Bulletin # 2015
ERCOT has posted/revised the Shift Supervisor Desk manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html
3.6
Monitoring IROL’s

Procedure Purpose: To collect data on the IROL’s stability limits for the NERC Reliability Metric. The actual flow should not be allowed to exceed the limit. If necessary, the System Operator has the authority to instruct load shedding or removing generation before this IROL has been exceeded.
	Protocol Reference
	
	
	
	

	Guide Reference
	
	
	
	

	NERC Standard
	IRO-002-7

R5
	TOP-001-6

R12
	
	


	Version: 2 
	Revision: 1
	Effective Date:  January 30, 2026


	Step
	Action

	IROL

Comms
	WHEN:

· A TOs ICCP status indicates both links are down.

ENSURE:

· All appropriate steps are being conducted for manual communications as required in T/S procedure, section 3.8, “SOL Exceedance Communications, TO ICCP Links Down”.

	North-Houston Import IROL

	IROL
	The North to Houston Import stability limit is an IROL; the actual flow MUST NOT be allowed to exceed its limit.  This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor  N-H voltage limits.

	2
	If the N-H Import voltage stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save theReal Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the N-H voltage stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis 


	Valley Import IROL

	IROL
	The Valley Import is an IROL; the actual flow MUST NOT be allowed to exceed its limit.  This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor Valley Import limits.

	2
	If the Valley Import stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save)

· Save the snapshot in the STNET directory.

If the Valley Import stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis


	West Texas Export IROL

	IROL
	The West Texas Export is an IROL; the actual flow MUST NOT be allowed to exceed its limit.  This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor West Texas Export limits.

	2
	If the West Texas Export stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the West Texas Export stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis


	Panhandle Export IROL

	IROL
	The Panhandle Export is an IROL; the actual flow MUST NOT be allowed to exceed its limit. This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor Panhandle Export limits.

	2
	If the Panhandle Export stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the Panhandle Export stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis

	McCamey Export IROL

	IROL
	The McCamey Export is an IROL; the actual flow MUST NOT be allowed to exceed its limit. This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor McCamey Export limits.

	2
	If the McCamey Export stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the McCamey Export stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis


	South Texas Export IROL

	IROL
	The South Texas Export is an IROL; the actual flow MUST NOT be allowed to exceed its limit. This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor South Texas Export limits.

	2
	If the South Texas Export stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the South Texas Export stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis

	South Texas Import IROL

	IROL
	The South Texas Import is an IROL; the actual flow MUST NOT be allowed to exceed its limit. This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor South Texas Import limits.

	2
	If the South Texas Import stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the South Texas Import stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis

	North Far West Texas Import IROL

	IROL
	The North Far West Texas Import is an IROL; the actual flow MUST NOT be allowed to exceed its limit. This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor North Far West Texas Import limits.

	2
	If the North Far West Texas Import stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the North Far West Texas Import stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis

	South Far West Texas Import IROL

	IROL
	The South Far West Texas Import is an IROL; the actual flow MUST NOT be allowed to exceed its limit. This is a violation of the NERC Reliability Standards.

	NERC
	Ensure that the transmission system is operated so that instability, uncontrolled separation, or cascading outages will not occur as a result of the most severe single Contingency and specified multiple Contingencies.

	1
	Monitor South Far West Texas Import limits.

	2
	If the South Far West Texas Import stability exceeds the limit at any time:

· Log it under log type “Exceeding Limits”.

· Include the date and time of the Exceedance
· The system conditions that caused the Exceedance.

· Select and save the Real Time Snapshot case near the highest exceedance percentage. (request the Operations Support Engineer to select and save the case)

· Save the snapshot in the STNET directory.

If the South Far West Texas Import stability limit is exceeded, notify the Director Control Room Operations and/or Designee immediately.

	3
	Notify by e-mail (including data from step 2)

· Shift Supervisors 

· Ops Support Engineering

· Operations Analysis


Manual Change History

	Procedure
	Ver/Rev
	Reason for Issue
	Effective Date

	All Sections
	2.0 / 0
	RTC+B Implementation

All procedures in this manual have been reviewed
	December 5, 2025

	3.6
	2.0 / 1
	Updated Log Instructions for IROLs 
	January 30, 2026


