	ERCOT Operating Procedure Manual

	DC Tie Desk



Power Operations Bulletin # 2017
ERCOT has posted/revised the DC Tie manual.

The Various Changes are shown below.

A copy of the procedure can be found at:

http://www.ercot.com/mktrules/guides/procedures/index.html 
3.3
Approve E-Tags for the CENACE DC Ties

Procedure Purpose: An E-Tag received in the OATI WebTrans regarding DC Tie flows into or out of ERCOT will be validated for accuracy.

	Protocol Reference
	4.4.4
	4.4.4.1
	4.4.4.2(1)
	

	Guide Reference
	2.1(4)(e)
	
	
	

	NERC Standard
	INT-006-5 R1, R1.1, R2, R4, R5, R5.1, R5.2, R5.3, R5.4, R5.5
	INT-009-3

R3
	
	


	Version: 2 
	Revision: 1
	Effective Date:  February 20, 2026


	Step
	Action

	NOTE
	· AEP TO is the DC Tie Operator (AEP TO) for the DC_L (Laredo VFT)

· ONCOR TO is the DC Tie Operator (ONCOR DC TIE) for the DC_R (Railroad DC Tie)

· All communications will be with the DC Tie Operator, and they will communicate with CENACE

	NOTE
	ERCOT will not allow an E-Tag to flow from CENACE to SPP or from SPP to CENACE.  This will require two separate E-Tags.  E-Tags are not calculated in the ACE equation, DC Tie schedules are seen by the EMMS as a generator (import) or load (export).

	NOTE
	· ERCOT has analyzed the Ramping capability of its Interconnection and is capable of Ramping at a greater rate than the maximum Ramp Rate schedule on any of the DC Ties

· The Railroad DC Tie has a 15 MW minimum flow requirement when E-Tags are scheduled

· Approximately one hour before start of schedule, notify the Transmission and Security Desk Operator with scheduled MW, Tie and direction of flow and duration.

	NOTE


	Timing requirements can be found in NERC Standard INT-006-5 Attachment 1, the OATI software incorporates these timing requirements into the tool and actions cannot be taken outside the timing requirements. 

	1 
	Automatic validation in WebTrans for each new or updated E-Tag will display ‘pass’ or ‘fail’.  The criteria ERCOT uses to validate E-Tags is:

· ERCOT Market Information fields must have QSE information

· TSP (Transmission Service Provider) must have ERCO, and CEN1 specified in the Physical Path

· E-Tag Transaction Type must not be a Dynamic Schedule

If either of the above validations fail, the E-Tag will be automatically denied. 

If you believe an E-Tag failed validation erroneously, the list of approved ERCOT Registered QSE’s can be found at the following website:

https://wiki.ercot.com/pages/viewpageattachments.action?pageId=186982491
Select “View” of the most recent post of “ERCOT QSE DC Tie Scheduling List” to view the ERCOT Registered QSE’s.  If the QSE name is on the list but was denied by WebTrans, approve the E-Tag, and inform the ERCOT Service desk and OATI Service desk if needed.

Another point of reference is to view the “QSE Contracts” in WebTrans.  Each QSE is associated with each DC Tie individually.

WebTrans Reference Display:

Tag Validation Summary

Data>QSE Contracts

	2
	When a New or Updated E-Tag is received in the WebTrans system:

Manually validate the following:

· PSE Contact Information must be the QSE information and not ERCOT

· “ERCO” must not be listed as a PSE in the E-Tag Information

· “ERCO” must not be listed as a PSE in the Physical Path

· Time Zone should be CS (central standard), CD (central daylight) or CP (central prevailing) during time change

· “Transaction type” must be “Energy or Normal”

· ERCO, AEPT and CEN1 must be included as the TSP (Transmission Service Provider) in the Physical Path and ERCO as a Scheduling Entity on the AEPT TSP row in the Physical Path for DC_L

· ERCO, ONC and CEN1 must be included as the TSP in the Physical Path and ERCO as a Scheduling Entity on the ONC TSP row in the Physical Path for the DC_R

· ERCO or CEN1 must be listed as the BA on the Source and the other entity listed as BA on the Sink row of the tag.

· There are no losses (MW) in the ERCOT Control Area.  This should be to or from AEPT or ONC as shown on the “Energy and Transmission Profiles” section, loss accounting may be blank, financial, or in-kind for ERCOT

· A separate E-Tag for each day must be submitted and the Start Time and Stop Time MUST NOT cross the midnight hour

· If the E-Tag comes in with a Late status, deny the E-Tag (unless it is a curtailment)

· The sum of E-Tags is submitted that will cause the DC Tie to exceed the physical capacity for the tie

· The Railroad DC Tie has a 15 MW minimum flow requirement.  Ensure the net of the E-Tags are not less than 15 MW

· Only ERCO and CEN1 are allowed as BA in the Physical Path, 

IF:
· Any of the above information is incorrect on the E-Tag; 

THEN:
· Deny the E-Tag.

IF:

· An E-Tag is denied due to another entity other than ERCO or CEN1 as BA in the Physical Path; 

THEN:

· Post the appropriate Preformatted DCTCN Notice to the ERCOT Website and

· Use the canned message,

· Send email to SysOpsMgrs to coordinate a Market Notice.

WebTrans Reference Displays:

Scheduling>Interchange>BTF Checkout

	3
	The Ramp Rate for DC_R will be 50 MW per minute due to reactive issues on the CENACE side.  DC_L has no Ramp limitations. 

· Ramp duration should be filled out on DC_R E-Tags only

· Deny any Railroad DC-Tie E-Tag that does not have a Ramp duration entered.

· DC_L Ramp duration can remain blank which is the default for a 10-minute Ramp.

	NOTE
	Webtrans and MMS (MOI) utilize a different sign convention (positive and negative numbers) between the two systems.

WebTrans:

· (-) Imports 

· (+) Exports

MMS: 

· (+) Imports 

· (-) Exports

	COP         E-Tags
	REVIEW REFERENCE DISPLAY:

Market Operation>Reliability Unit Commitment> HRUC Displays> DSI Displays> DSI Data Processes> DSI DC Tie Schedule 

Market Operation>Reliability Unit Commitment> HRUC Displays> DSI Displays> External Input Data> MI COP

· Verify that E-Tags are being imported into the MMS by going to the MI COP display and filter ‘ERCOT’ as the QSE name


Document Control

Manual Change History

	Procedure
	Ver/Rev
	Reason for Issue
	Effective Date

	All Sections
	2.0 / 0
	RTC+B Implementation 

All procedures in this manual have been reviewed
	December 5, 2025

	3.3
	2.0 / 1
	Updated new CENACE BA to CEN1
	February 20, 2026



